## CoQ10
2.52 | 0.144 | 0.162 | 0.134 | 0.146
1.349 | 0.177 | 0.146 | 0.145 | 0.149
0.846 | 0.155 | 0.154 | 0.16 | 0.168
0.371 | 0.141 | 0.163 | 0.156 | 0.151
0.257 | 0.146 | 0.175 | 0.162 | 0.133
0.076 | 0.149 | 0.132 | 0.168 | 0.139
0.165 | 0.151 | 0.154 | 0.137
0.143 | 0.146 | 0.151 | 0.141
| abs | abs-blank | expected | result
std1 | 2.52 | 2.444 | 100 | 100.2398
std2 | 1.349 | 1.273 | 50 | 48.0895
std3 | 0.846 | 0.77 | 25 | 28.0928
std4 | 0.371 | 0.295 | 12.5 | 10.5358
std5 | 0.257 | 0.181 | 6.25 | 6.5139
blank | 0.076 | 0 | 0 | 0.2806
concentration (ng/ml)
Numune | absorbans | blank | abs-blank | result(ng/ml)
KONTROL-GENÇ-4 | 0.165 | 0.076 | 0.089 | 3.3222
KONTROL-GENÇ-15 | 0.143 | 0.076 | 0.067 | 2.5661
KONTROL-GENÇ-16 | 0.144 | 0.076 | 0.068 | 2.6004
KONTROL-GENÇ-17 | 0.177 | 0.076 | 0.101 | 3.7357
KONTROL-GENÇ-18 | 0.155 | 0.076 | 0.079 | 2.9782
KONTROL-GENÇ-19 | 0.141 | 0.076 | 0.065 | 2.4975
KONTROL-GENÇ-29 | 0.146 | 0.076 | 0.07 | 2.6691
KONTROL-GENÇ-30 | 0.149 | 0.076 | 0.073 | 2.772
KONTROL-YAŞLI-5 | 0.151 | 0.076 | 0.075 | 2.8407
KONTROL-YAŞLI-20 | 0.146 | 0.076 | 0.07 | 2.6691
KONTROL-YAŞLI-21 | 0.162 | 0.076 | 0.086 | 3.2189
KONTROL-YAŞLI-22 | 0.146 | 0.076 | 0.07 | 2.6691
KONTROL-YAŞLI-23 | 0.154 | 0.076 | 0.078 | 2.9438
KONTROL-YAŞLI-24 | 0.163 | 0.076 | 0.087 | 3.2533
KONTROL-YAŞLI-31 | 0.175 | 0.076 | 0.099 | 3.6668
KONTROL-YAŞLI-32 | 0.132 | 0.076 | 0.056 | 2.1891
DENEY-GENÇ-3 | 0.154 | 0.076 | 0.078 | 2.9438
DENEY-GENÇ-10 | 0.151 | 0.076 | 0.075 | 2.8407
DENEY-GENÇ-11 | 0.134 | 0.076 | 0.058 | 2.2576
DENEY-GENÇ-12 | 0.145 | 0.076 | 0.069 | 2.6347
DENEY-GENÇ-13 | 0.16 | 0.076 | 0.084 | 3.1501
DENEY-GENÇ-14 | 0.156 | 0.076 | 0.08 | 3.0126
DENEY-GENÇ-25 | 0.162 | 0.076 | 0.086 | 3.2189
DENEY-GENÇ-26 | 0.168 | 0.076 | 0.092 | 3.4255
DENEY-YAŞLI-1 | 0.137 | 0.076 | 0.061 | 2.3604
DENEY-YAŞLI-2 | 0.141 | 0.076 | 0.065 | 2.4975
DENEY-YAŞLI-6 | 0.146 | 0.076 | 0.07 | 2.6691
DENEY-YAŞLI-7 | 0.149 | 0.076 | 0.073 | 2.772
DENEY-YAŞLI-8 | 0.168 | 0.076 | 0.092 | 3.4255
DENEY-YAŞLI-9 | 0.151 | 0.076 | 0.075 | 2.8407
DENEY-YAŞLI-27 | 0.133 | 0.076 | 0.057 | 2.2234
DENEY-YAŞLI-28 | 0.139 | 0.076 | 0.063 | 2.429

## FSH
0.146 | 1.616 | 1.534 | 1.266 | 1.313
0.593 | 1.178 | 1.226 | 1.273 | 1.264
0.903 | 1.865 | 1.365 | 2.078 | 1.281
1.24 | 2.389 | 1.388 | 1.861 | 1.186
1.616 | 1.495 | 1.537 | 1.342 | 1.301
0.099 | 1.307 | 1.287 | 1.554 | 1.477
1.388 | 2.449 | 1.321 | 1.588 | 0.039
1.268 | 1.724 | 1.432 | 1.764 | 0.04
| abs | abs-blank | expected | result
std1 | 0.146 | 0.047 | 12.8 | 12.7852
std2 | 0.593 | 0.494 | 6.4 | 6.3786
std3 | 0.903 | 0.804 | 3.2 | 3.3631
std4 | 1.24 | 1.141 | 1.6 | 1.4111
std5 | 1.616 | 1.517 | 0.8 | 0.86396
blank | 0.099 | 0 | 0 | 0
concentration (mlU/ml)
Numune | absorbans | blank | abs-blank | result(mlU/ml)
KONTROL-GENÇ-4 | 1.388 | 0.099 | 1.289 | 0.99049
KONTROL-GENÇ-15 | 1.268 | 0.099 | 1.169 | 1.3111
KONTROL-GENÇ-16 | 1.616 | 0.099 | 1.517 | 0.86396
KONTROL-GENÇ-17 | 1.178 | 0.099 | 1.079 | 1.6665
KONTROL-GENÇ-18 | 1.865 | 0.099 | 1.766 | 1.4482
KONTROL-GENÇ-19 | 2.389 | 0.099 | 2.29 | 5.1416
KONTROL-GENÇ-29 | 1.495 | 0.099 | 1.396 | 0.85236
KONTROL-GENÇ-30 | 1.307 | 0.099 | 1.208 | 1.1877
KONTROL-YAŞLI-5 | 2.449 | 0.099 | 2.35 | 5.7777
KONTROL-YAŞLI-20 | 1.724 | 0.099 | 1.625 | 1.0248
KONTROL-YAŞLI-21 | 1.534 | 0.099 | 1.435 | 0.83664
KONTROL-YAŞLI-22 | 1.226 | 0.099 | 1.127 | 1.4647
KONTROL-YAŞLI-23 | 1.365 | 0.099 | 1.266 | 1.0384
KONTROL-YAŞLI-24 | 1.388 | 0.099 | 1.289 | 0.99049
KONTROL-YAŞLI-31 | 1.537 | 0.099 | 1.438 | 0.8362
KONTROL-YAŞLI-32 | 1.287 | 0.099 | 1.188 | 1.2487
DENEY-GENÇ-3 | 1.321 | 0.099 | 1.222 | 1.1479
DENEY-GENÇ-10 | 1.432 | 0.099 | 1.333 | 0.91682
DENEY-GENÇ-11 | 1.266 | 0.099 | 1.167 | 1.3179
DENEY-GENÇ-12 | 1.273 | 0.099 | 1.174 | 1.2942
DENEY-GENÇ-13 | 2.078 | 0.099 | 1.979 | 2.5466
DENEY-GENÇ-14 | 1.861 | 0.099 | 1.762 | 1.4329
DENEY-GENÇ-25 | 1.342 | 0.099 | 1.243 | 1.0927
DENEY-GENÇ-26 | 1.554 | 0.099 | 1.455 | 0.83576
DENEY-YAŞLI-1 | 1.588 | 0.099 | 1.489 | 0.84543
DENEY-YAŞLI-2 | 1.764 | 0.099 | 1.665 | 1.1203
DENEY-YAŞLI-6 | 1.313 | 0.099 | 1.214 | 1.1703
DENEY-YAŞLI-7 | 1.264 | 0.099 | 1.165 | 1.3248
DENEY-YAŞLI-8 | 1.281 | 0.099 | 1.182 | 1.2679
DENEY-YAŞLI-9 | 1.186 | 0.099 | 1.087 | 1.6309
DENEY-YAŞLI-27 | 1.301 | 0.099 | 1.202 | 1.2055
DENEY-YAŞLI-28 | 1.477 | 0.099 | 1.378 | 0.86585

## LH
0.102 | 1.515 | 1.548 | 1.083 | 1.165
0.549 | 1.083 | 0.993 | 0.996 | 1.019
0.974 | 1.416 | 1.099 | 1.714 | 0.96
1.363 | 1.938 | 1.124 | 1.831 | 1.084
1.646 | 1.179 | 1.191 | 1.103 | 1.106
0.074 | 0.958 | 1.038 | 1.474 | 1.338
1.914 | 2.019 | 0.898 | 1.303 | 0.041
0.959 | 1.376 | 1.084 | 1.428 | 0.043
| abs | abs-blank | expected | result
std1 | 0.102 | 0.028 | 64 | 63.2485
std2 | 0.549 | 0.475 | 32 | 33.8298
std3 | 0.974 | 0.9 | 16 | 15.3527
std4 | 1.363 | 1.289 | 8 | 6.5522
std5 | 1.646 | 1.572 | 4 | 5.0215
blank | 0.074 | 0 | 0 | 0
concentration (mlU/ml)
Numune | absorbans | blank | abs-blank | result(mlU/ml)
KONTROL-GENÇ-4 | 1.914 | 0.074 | 1.84 | 7.3548
KONTROL-GENÇ-15 | 0.959 | 0.074 | 0.885 | 15.8473
KONTROL-GENÇ-16 | 1.515 | 0.074 | 1.441 | 5.22
KONTROL-GENÇ-17 | 1.083 | 0.074 | 1.009 | 12.1049
KONTROL-GENÇ-18 | 1.416 | 0.074 | 1.342 | 5.9532
KONTROL-GENÇ-19 | 1.938 | 0.074 | 1.864 | 7.7432
KONTROL-GENÇ-29 | 1.179 | 0.074 | 1.105 | 9.7486
KONTROL-GENÇ-30 | 0.958 | 0.074 | 0.884 | 15.8806
KONTROL-YAŞLI-5 | 2.019 | 0.074 | 1.945 | 9.2722
KONTROL-YAŞLI-20 | 1.376 | 0.074 | 1.302 | 6.3919
KONTROL-YAŞLI-21 | 1.548 | 0.074 | 1.474 | 5.0871
KONTROL-YAŞLI-22 | 0.993 | 0.074 | 0.919 | 14.7427
KONTROL-YAŞLI-23 | 1.099 | 0.074 | 1.025 | 11.6794
KONTROL-YAŞLI-24 | 1.124 | 0.074 | 1.05 | 11.0408
KONTROL-YAŞLI-31 | 1.191 | 0.074 | 1.117 | 9.4873
KONTROL-YAŞLI-32 | 1.038 | 0.074 | 0.964 | 13.3719
DENEY-GENÇ-3 | 0.898 | 0.074 | 0.824 | 17.9774
DENEY-GENÇ-10 | 1.084 | 0.074 | 1.01 | 12.0779
DENEY-GENÇ-11 | 1.083 | 0.074 | 1.009 | 12.1049
DENEY-GENÇ-12 | 0.996 | 0.074 | 0.922 | 14.6481
DENEY-GENÇ-13 | 1.714 | 0.074 | 1.64 | 5.2651
DENEY-GENÇ-14 | 1.831 | 0.074 | 1.757 | 6.2388
DENEY-GENÇ-25 | 1.103 | 0.074 | 1.029 | 11.5751
DENEY-GENÇ-26 | 1.474 | 0.074 | 1.4 | 5.4627
DENEY-YAŞLI-1 | 1.303 | 0.074 | 1.229 | 7.4039
DENEY-YAŞLI-2 | 1.428 | 0.074 | 1.354 | 5.8376
DENEY-YAŞLI-6 | 1.165 | 0.074 | 1.091 | 10.0628
DENEY-YAŞLI-7 | 1.019 | 0.074 | 0.945 | 13.9381
DENEY-YAŞLI-8 | 0.96 | 0.074 | 0.886 | 15.8139
DENEY-YAŞLI-9 | 1.084 | 0.074 | 1.01 | 12.0779
DENEY-YAŞLI-27 | 1.106 | 0.074 | 1.032 | 11.4974
DENEY-YAŞLI-28 | 1.338 | 0.074 | 1.264 | 6.8846

## TAS-TOS-OSI
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI
KONTROL-GENÇ-4 | 0.56 | 17.1 | 3.0536
KONTROL-GENÇ-15 | 0.81 | 14.1 | 1.7407
KONTROL-GENÇ-16 | 0.66 | 10.7 | 1.6212
KONTROL-GENÇ-17 | 0.69 | 8.05 | 1.1667
KONTROL-GENÇ-18 | 0.79 | 14.4 | 1.8228
KONTROL-GENÇ-19 | 0.79 | 14.1 | 1.7848
KONTROL-GENÇ-29 | 0.91 | 9.87 | 1.0846
KONTROL-GENÇ-30 | 0.82 | 14.5 | 1.7683
KONTROL-YAŞLI-5 | 0.73 | 8.01 | 1.0973
KONTROL-YAŞLI-20 | 0.58 | 11.9 | 2.0517
KONTROL-YAŞLI-21 | 0.95 | 16.6 | 1.7474
KONTROL-YAŞLI-22 | 0.8 | 12.1 | 1.5125
KONTROL-YAŞLI-23 | 0.79 | 13.2 | 1.6709
KONTROL-YAŞLI-24 | 0.74 | 25.8 | 3.4865
KONTROL-YAŞLI-31 | 0.91 | 12.4 | 1.3626
KONTROL-YAŞLI-32 | 1.03 | 9.6 | 0.93204
DENEY-GENÇ-3 | 0.76 | 14.7 | 1.9342
DENEY-GENÇ-10 | 0.78 | 13.2 | 1.6923
DENEY-GENÇ-11 | 0.8 | 9.67 | 1.2087
DENEY-GENÇ-12 | 1.01 | 12.7 | 1.2574
DENEY-GENÇ-13 | 0.81 | 11.6 | 1.4321
DENEY-GENÇ-14 | 0.88 | 12.3 | 1.3977
DENEY-GENÇ-25 | 1.08 | 13.6 | 1.2593
DENEY-GENÇ-26 | 1.02 | 10.8 | 1.0588
DENEY-YAŞLI-1 | 0.62 | 19.7 | 3.1774
DENEY-YAŞLI-2 | 0.75 | 12.4 | 1.6533
DENEY-YAŞLI-6 | 0.79 | 25.7 | 3.2532
DENEY-YAŞLI-7 | 0.85 | 12.6 | 1.4824
DENEY-YAŞLI-8 | 0.87 | 13.5 | 1.5517
DENEY-YAŞLI-9 | 0.77 | 15.6 | 2.026
DENEY-YAŞLI-27 | 0.95 | 17.01 | 1.7905
DENEY-YAŞLI-28 | 0.83 | 26.3 | 3.1687

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
Coenzyme Q10 | Rat | BT-lab | E2429Ra | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
Follicle-stimulating hormone | Rat | BT-lab | EA0015Ra | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
Luteinizing Hormone | Rat | BT-lab | EA0013Ra | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
TAS(Total Antioxidant Status) | Universal | REL ASSAY | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY | RL0024 | Kolorimetrik | MINDRAY-BS400
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
CoQ10 Assay Principle
This kit is an Enzyme-Linked Immunosorbent Assay (ELISA). The plate has been pre-coated with Rat CoQ10 antibody. CoQ10 present in the sample is added and binds to antibodies coated on the wells.
And then biotinylated Rat CoQ10 Antibody is added and binds to CoQ10 in the sample. Then Streptavidin-HRP is added and binds to the Biotinylated CoQ10 antibody.
After incubation unbound Streptavidin-HRP is washed away during a washing step. Substrate solution is then added and color develops in proportion to the amount of Rat CoQ10.
The reaction is terminated by addition of acidic stop solution and absorbance is measured at 450 nm.
Luteinizing Hormone Assay Principle
This kit is an Enzyme-Linked Immunosorbent Assay (ELISA). The plate has been pre-coated with Rat LH antibody. Rat LH present in the sample is added and binds to antibodies coated on the wells.
And then biotinylated Rat LH Antibody is added and binds to Rat LH in the sample. Then Streptavidin-HRP is added and binds to the Biotinylated Rat LH antibody.
After incubation unbound Streptavidin-HRP is washed away during a washing step. Substrate solution is then added and color develops in proportion to the amount of Rat LH .
The reaction is terminated by addition of acidic stop solution and absorbance is measured at 450 nm.
Follicle-stimulating Hormone Assay Principle
This kit is an Enzyme-Linked Immunosorbent Assay (ELISA). The plate has been pre-coated with Rat FSH antibody. Rat FSH present in the sample is added and binds to antibodies coated on the wells.
And then biotinylated Rat FSH Antibody is added and binds to Rat FSH in the sample. Then Streptavidin-HRP is added and binds to the Biotinylated Rat FSH antibody.
After incubation unbound Streptavidin-HRP is washed away during a washing step. Substrate solution is then added and color develops in proportion to the amount of Rat FSH .
The reaction is terminated by addition of acidic stop solution and absorbance is measured at 450 nm.