## Colorimetric
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI
Sample-1 | 1.62 | 3.9 | 0.24074
Sample-2 | 1.41 | 2.56 | 0.18156
Sample-3 | 1.45 | 4.19 | 0.28897
Sample-4 | 1.84 | 4.62 | 0.25109
Sample-5 | 1.39 | 2.63 | 0.18921
Sample-6 | 1.44 | 3.07 | 0.21319
Sample-7 | 1.51 | 4.08 | 0.2702
Sample-8 | 1.39 | 2.03 | 0.14604
Sample-9 | 1.92 | 3.88 | 0.20208
Sample-10 | 1.53 | 2.86 | 0.18693
Sample-11 | 1.49 | 5.59 | 0.37517
Sample-12 | 1.47 | 3.17 | 0.21565
Sample-13 | 1.52 | 3.93 | 0.25855
Sample-14 | 1.63 | 4.05 | 0.24847
Sample-15 | 1.41 | 5.21 | 0.3695
Sample-16 | 1.61 | 4.46 | 0.27702
Sample-17 | 1.56 | 7.7 | 0.49359
Sample-18 | 1.84 | 2.89 | 0.15707
Sample-19 | 1.5 | 2.42 | 0.16133
Sample-20 | 1.36 | 3.08 | 0.22647
Sample-21 | 1.67 | 3.38 | 0.2024
Sample-22 | 1.33 | 8.08 | 0.60752
Sample-23 | 1.67 | 2.92 | 0.17485
Sample-24 | 1.39 | 7.26 | 0.5223
Sample-25 | 1.21 | 8.3 | 0.68595
Sample-26 | 1.71 | 2.2 | 0.12865
Sample-27 | 1.56 | 2.88 | 0.18462
Sample-28 | 1.36 | 3.34 | 0.24559
Sample-29 | 1.37 | 1.91 | 0.13942
Sample-30 | 1.58 | 2.52 | 0.15949
Sample-31 | 1.84 | 4.02 | 0.21848
Sample-32 | 1.57 | 3.72 | 0.23694
Sample-33 | 1.56 | 3.31 | 0.21218
Sample-34 | 1.52 | 2.45 | 0.16118

## MDA
| absorbans | abs-blank | expected | result
std1 | 2.511 | 2.481 | 100 | 99.1116
std2 | 1.703 | 1.673 | 50 | 52.4026
std3 | 1.024 | 0.994 | 25 | 24.2976
std4 | 0.543 | 0.513 | 12.5 | 10.5481
std5 | 0.318 | 0.288 | 6.25 | 5.8701
std6 | 0.152 | 0.122 | 3.125 | 3.1354
blank | 0.03 | 0 | 0 | 1.5134
concentratıon (nmol/L)
Numune | absorbans | blank | abs-blank | result(nmol/L)
Sample-1 | 0.31 | 0.03 | 0.28 | 5.7244
Sample-2 | 0.212 | 0.03 | 0.182 | 4.0536
Sample-3 | 0.354 | 0.03 | 0.324 | 6.5435
Sample-4 | 0.301 | 0.03 | 0.271 | 5.5621
Sample-5 | 0.157 | 0.03 | 0.127 | 3.2089
Sample-6 | 0.232 | 0.03 | 0.202 | 4.3774
Sample-7 | 0.373 | 0.03 | 0.343 | 6.9104
Sample-8 | 0.273 | 0.03 | 0.243 | 5.0687
Sample-9 | 0.254 | 0.03 | 0.224 | 4.7437
Sample-10 | 0.148 | 0.03 | 0.118 | 3.077
Sample-11 | 0.435 | 0.03 | 0.405 | 8.1632
Sample-12 | 0.231 | 0.03 | 0.201 | 4.361
Sample-13 | 0.39 | 0.03 | 0.36 | 7.2455
Sample-14 | 0.269 | 0.03 | 0.239 | 4.9996
Sample-15 | 0.477 | 0.03 | 0.447 | 9.06
Sample-16 | 0.315 | 0.03 | 0.285 | 5.8153
Sample-17 | 0.504 | 0.03 | 0.474 | 9.6572
Sample-18 | 0.234 | 0.03 | 0.204 | 4.4102
Sample-19 | 0.203 | 0.03 | 0.173 | 3.9108
Sample-20 | 0.254 | 0.03 | 0.224 | 4.7437
Sample-21 | 0.191 | 0.03 | 0.161 | 3.7232
Sample-22 | 0.675 | 0.03 | 0.645 | 13.8128
Sample-23 | 0.122 | 0.03 | 0.092 | 2.7061
Sample-24 | 0.639 | 0.03 | 0.609 | 12.8843
Sample-25 | 0.756 | 0.03 | 0.726 | 16.0066
Sample-26 | 0.223 | 0.03 | 0.193 | 4.2306
Sample-27 | 0.251 | 0.03 | 0.221 | 4.6931
Sample-28 | 0.287 | 0.03 | 0.257 | 5.3132
Sample-29 | 0.274 | 0.03 | 0.244 | 5.086
Sample-30 | 0.214 | 0.03 | 0.184 | 4.0856
Sample-31 | 0.393 | 0.03 | 0.363 | 7.3053
Sample-32 | 0.323 | 0.03 | 0.293 | 5.9619
Sample-33 | 0.174 | 0.03 | 0.144 | 3.4628
Sample-34 | 0.202 | 0.03 | 0.172 | 3.8951

## Materyal-metod
KİT ADI | TÜR | MARKA | Numune Türü | CAT. NO | Yöntem | Kullanılan Cihaz
TAS(Total Antioxidant Status) | Universal | REL ASSAY | Serum | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY | Serum | RL0024 | Kolorimetrik | MINDRAY-BS400
MDA( Malondialdehyde) | Universal | Otto Scientific | Serum | Otto1001 | Kolorimetrik | REL BIOCHEM-REL ASSAY
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Malondialdehyde (MDA) nmol/L
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.