## TAS-TOS-OSI
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI
BAL-Çit-88 | 1.49 | 8.46 | 0.56779
BAL-Çit-90 | 1.69 | 3.09 | 0.18284
BAL-Çit-92 | 1.74 | 5.29 | 0.30402
BAL-Çat-209 | 2.37 | 16.6 | 0.70042
BAL-Çat-211 | 2.33 | 25.9 | 1.1116
BAL-Çat-213 | 3.13 | 21.8 | 0.69649
BAL-Çat-217 | 2.57 | 26.6 | 1.035
BAL-Ket-42 | 1.42 | 104.4 | 7.3521
BAL-Ket-44 | 1.94 | 16.7 | 0.86082
BAL-ÇİÇ-90 | 1.84 | 5.81 | 0.31576
BAL-ÇİÇ-92 | 1.44 | 10.1 | 0.70139
BAL-Çac-209 | 2.84 | 12.05 | 0.4243
BAL-Çac-211 | 2.48 | 26.5 | 1.0685
BAL-Çac-213 | 2.52 | 10.3 | 0.40873
BAL-Çac-217 | 2.49 | 22.6 | 0.90763
BAL-Ket-44 | 2.1 | 11.06 | 0.52667
BAL-KÇİ-88 | 0.94 | 4.45 | 0.4734
BAL-KÇİ-90 | 1.28 | 7.7 | 0.60156
BAL-KÇİ-92 | 1.62 | 5.13 | 0.31667
BAL-ÇAK-209 | 2.57 | 14.6 | 0.56809
BAL-ÇAK-211 | 1.89 | 14.7 | 0.77778
BAL-KEK-42 | 1.85 | 9.05 | 0.48919
BAL-KEK-44 | 1.52 | 18.4 | 1.2105
BAL-KEK-46 | 1.72 | 83.1 | 4.8314
BAL-ÇAK-213 | 2.14 | 15.2 | 0.71028
BAL-ÇAK-217 | 2.11 | 12.5 | 0.59242
BAL-A1 | 1.41 | 56 | 3.9716
BAL-A2 | 1.62 | 70.08 | 4.3259
BAL-A3 | 0.94 | 31.7 | 3.3723
BAL-A4 | 0.88 | 33.5 | 3.8068
BAL-A5 | 1.13 | 18.1 | 1.6018
BAL-A6 | 1.13 | 50.5 | 4.469
BAL-B1 | 2.06 | 124.5 | 6.0437
BAL-B2 | 2.46 | 88.7 | 3.6057
BAL-B3 | 2.1 | 132.3 | 6.3
BAL-B4 | 2.21 | 45.04 | 2.038
BAL-B5 | 1.99 | 111.4 | 5.598
BAL-B6 | 1.9 | 91.2 | 4.8
SIVI PROPOLİS | 3.23 | 9.1 | 0.28173
YUMURTA SARISI-H1-490 | 0.84 | 5.96 | 0.70952
YUMURTA SARISI-H1-493 | 0.43 | 13.9 | 3.2326
YUMURTA SARISI-H1-495 | 0.13 | 12.6 | 9.6923
YUMURTA SARISI-H1-500 | 0.39 | 4.13 | 1.059
YUMURTA SARISI-H1-508 | 0.16 | 5.6 | 3.5
YUMURTA SARISI-H1-510 | 0.114 | 9.25 | 8.114
YUMURTA SARISI-H2-226 | 0.37 | 9.61 | 2.5973
YUMURTA SARISI-H2-227 | 0.92 | 12.05 | 1.3098
YUMURTA SARISI-H2-231 | 0.14 | 6.81 | 4.8643
YUMURTA SARISI-H2-232 | 0.39 | 16.6 | 4.2564
YUMURTA SARISI-H2-233 | 0.16 | 11.04 | 6.9
YUMURTA SARISI-H2-234 | 0.35 | 15.5 | 4.4286
YUMURTA SARISI-H3-248 | 0.1 | 14.4 | 14.4
YUMURTA SARISI-H3-250 | 0.13 | 5.19 | 3.9923
YUMURTA SARISI-H3-251 | 0.11 | 8.3 | 7.5455
YUMURTA SARISI-H3-700 | 0.53 | 5.59 | 1.0547
YUMURTA SARISI-H3-701 | 0.34 | 14.3 | 4.2059
YUMURTA SARISI-H3-702 | 0.39 | 22.4 | 5.7436
SERUM-1 | 1.46 | 15.05 | 1.0308
SERUM-2 | 1.28 | 13.5 | 1.0547
SERUM-4 | 1.71 | 27.1 | 1.5848
SERUM-5 | 1.37 | 5.88 | 0.4292
SERUM-6 | 1.27 | 8.1 | 0.6378
SERUM-7 | 1.45 | 12.4 | 0.85517
SERUM-8 | 1.52 | 11.9 | 0.78289
SERUM-9 | 2.66 | 10.9 | 0.40977
SERUM-10 | 1.61 | 10.8 | 0.67081
SERUM-11 | 2.04 | 9.74 | 0.47745
SERUM-12 | 1.54 | 4.94 | 0.32078
SERUM-13 | 2.03 | 44.6 | 2.197
SERUM-14 | 1.64 | 56.4 | 3.439
SERUM-15 | 1.75 | 9.65 | 0.55143
SERUM-16 | 1.6 | 27.3 | 1.7063
SERUM-17 | 1.7 | 25.4 | 1.4941
SERUM-18 | 1.36 | 8.04 | 0.59118
SERUM-19 | 1.95 | 13.4 | 0.68718
SERUM-20 | 2.6 | 24.7 | 0.95

## MDA
| absorbans | abs-blank | expected | result
std1 | 2.511 | 2.481 | 100 | 99.1116
std2 | 1.703 | 1.673 | 50 | 52.4026
std3 | 1.024 | 0.994 | 25 | 24.2976
std4 | 0.543 | 0.513 | 12.5 | 10.5481
std5 | 0.318 | 0.288 | 6.25 | 5.8701
std6 | 0.152 | 0.122 | 3.125 | 3.1354
blank | 0.03 | 0 | 0 | 1.5134
concentratıon (nmol/L)
Numune | absorbans | blank | abs-blank | result(nmol/L)
BAL-Çit-88 | 1.304 | 0.03 | 1.274 | 34.6539
BAL-Çit-90 | 2.205 | 0.03 | 2.175 | 79.7264
BAL-Çit-92 | 2.444 | 0.03 | 2.414 | 94.6903
BAL-Çat-209 | 1.751 | 0.03 | 1.721 | 54.7746
BAL-Çat-211 | 1.97 | 0.03 | 1.94 | 66.2427
BAL-Çat-213 | 1.937 | 0.03 | 1.907 | 64.4468
BAL-Çat-217 | 1.909 | 0.03 | 1.879 | 62.942
BAL-Ket-42 | 1.502 | 0.03 | 1.472 | 43.0222
BAL-Ket-44 | 2.096 | 0.03 | 2.066 | 73.3206
BAL-ÇİÇ-90 | 2.037 | 0.03 | 2.007 | 69.9627
BAL-ÇİÇ-92 | 2.277 | 0.03 | 2.247 | 84.1016
BAL-Çac-209 | 1.955 | 0.03 | 1.925 | 65.4234
BAL-Çac-211 | 1.122 | 0.03 | 1.092 | 27.7254
BAL-Çac-213 | 2.041 | 0.03 | 2.011 | 70.1879
BAL-Çac-217 | 1.706 | 0.03 | 1.676 | 52.5493
BAL-Ket-44 | 1.628 | 0.03 | 1.598 | 48.7981
BAL-KÇİ-88 | 2.044 | 0.03 | 2.014 | 70.3571
BAL-KÇİ-90 | 1.853 | 0.03 | 1.823 | 59.9842
BAL-KÇİ-92 | 1.79 | 0.03 | 1.76 | 56.7394
BAL-ÇAK-209 | 1.721 | 0.03 | 1.691 | 53.2861
BAL-ÇAK-211 | 1.837 | 0.03 | 1.807 | 59.1518
BAL-KEK-42 | 1.69 | 0.03 | 1.66 | 51.7689
BAL-KEK-44 | 1.572 | 0.03 | 1.542 | 46.1877
BAL-KEK-46 | 1.861 | 0.03 | 1.831 | 60.4025
BAL-ÇAK-213 | 1.019 | 0.03 | 0.989 | 24.1284
BAL-ÇAK-217 | 1.209 | 0.03 | 1.179 | 30.9461
BAL-A1 | 1.661 | 0.03 | 1.631 | 50.3688
BAL-A2 | 1.849 | 0.03 | 1.819 | 59.7755
BAL-A3 | 1.328 | 0.03 | 1.298 | 35.6221
BAL-A4 | 1.917 | 0.03 | 1.887 | 63.3702
BAL-A5 | 1.355 | 0.03 | 1.325 | 36.7266
BAL-A6 | 0.97 | 0.03 | 0.94 | 22.4995
BAL-B1 | 1.689 | 0.03 | 1.659 | 51.7203
BAL-B2 | 1.573 | 0.03 | 1.543 | 46.2337
BAL-B3 | 1.542 | 0.03 | 1.512 | 44.8178
BAL-B4 | 1.486 | 0.03 | 1.456 | 42.3138
BAL-B5 | 1.547 | 0.03 | 1.517 | 45.0447
BAL-B6 | 1.745 | 0.03 | 1.715 | 54.4753
SIVI PROPOLİS | 0.733 | 0.03 | 0.703 | 15.3689

## Toplam Fenolik Madde
| absorbans | kons.
std1 | 40 | 0.149
std2 | 80 | 0.226
std3 | 120 | 0.345
std4 | 160 | 0.461
std5 | 200 | 0.587
std6 | 250 | 0.702
std7 | 300 | 0.828
Gallik asit konsantrasyon (mg/L)
Numune | absorbans | result
BAL-Çit-88 | 0.086 | 21
BAL-Çit-90 | 0.097 | 25.0741
BAL-Çit-92 | 0.094 | 23.963
BAL-Çat-209 | 0.143 | 42.1111
BAL-Çat-211 | 0.116 | 32.1111
BAL-Çat-213 | 0.159 | 48.037
BAL-Çat-217 | 0.138 | 40.2593
BAL-Ket-42 | 0.104 | 27.6667
BAL-Ket-44 | 0.129 | 36.9259
BAL-ÇİÇ-90 | 0.089 | 22.1111
BAL-ÇİÇ-92 | 0.077 | 17.6667
BAL-Çac-209 | 0.166 | 50.6296
BAL-Çac-211 | 0.135 | 39.1481
BAL-Çac-213 | 0.141 | 41.3704
BAL-Çac-217 | 0.136 | 39.5185
BAL-Ket-44 | 0.114 | 31.3704
BAL-KÇİ-88 | 0.062 | 12.1111
BAL-KÇİ-90 | 0.081 | 19.1481
BAL-KÇİ-92 | 0.093 | 23.5926
BAL-ÇAK-209 | 0.135 | 39.1481
BAL-ÇAK-211 | 0.104 | 27.6667
BAL-KEK-42 | 0.156 | 46.9259
BAL-KEK-44 | 0.096 | 24.7037
BAL-KEK-46 | 0.099 | 25.8148
BAL-ÇAK-213 | 0.117 | 32.4815
BAL-ÇAK-217 | 0.125 | 35.4444
BAL-A1 | 0.074 | 16.5556
BAL-A2 | 0.066 | 13.5926
BAL-A3 | 0.063 | 12.4815
BAL-A4 | 0.037 | 2.8519
BAL-A5 | 0.065 | 13.2222
BAL-A6 | 0.064 | 12.8519
BAL-B1 | 0.097 | 25.0741
BAL-B2 | 0.106 | 28.4074
BAL-B3 | 0.092 | 23.2222
BAL-B4 | 0.099 | 25.8148
BAL-B5 | 0.096 | 24.7037
BAL-B6 | 0.095 | 24.3333
SIVI PROPOLİS | 0.74 | 263.2222

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
TAS(Total Antioxidant Status) | Universal | REL ASSAY | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY | RL0024 | Kolorimetrik | MINDRAY-BS400
MDA: Malondialdehit | Universal | Otto Scientific | Otto1001 | Kolorimetrik | REL BIOCHEM-REL ASSAY
Toplam Fenolik Madde Tayini | Universal | Yöntem(Gallik Asit Standard) |  | Kolorimetrik | REL BIOCHEM-REL ASSAY
*Bal örnekleri 1:3 oranında fosfat tamponu ile seyreltilerek çalışıldı.
*Sıvı propolis 1:1 oranında distile su ile seyreltildi.
Yumurta Sarısında TAS-TOS Analizi:
1- Çiğ yumurta sarısı 1:3 oranında( 300 Ul yumurta sarısı+ 900 Ul distile su) distile su ile dilüe edildi.
2- Tüpteki karışım tamamen homojen bir çözelti olana kadar vorteks ile karıştırıldı.
3- Tüpler 15 000 rpm' de +4°Cde 5 dk. santrifüj edildi..
4- Üstteki sıvı alınıp supernatan serum olarak tam otomatik cihazda çalışıldı.
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Malondialdehyde (MDA) nmol/L
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.
Kaynak:
FOLİN CİOCALTEU Yöntemi ile Fenolik Madde Tayini: Folin, O. And Ciocalteu, V. 1927. J. Biol. Chem., 73: 627.