## MDA
| absorbans | abs-blank | expected | result
std1 | 2.511 | 2.481 | 100 | 99.1116
std2 | 1.703 | 1.673 | 50 | 52.4026
std3 | 1.024 | 0.994 | 25 | 24.2976
std4 | 0.543 | 0.513 | 12.5 | 10.5481
std5 | 0.318 | 0.288 | 6.25 | 5.8701
std6 | 0.152 | 0.122 | 3.125 | 3.1354
blank | 0.03 | 0 | 0 | 1.5134
concentratıon (nmol/L)
Numune | absorbans | blank | abs-blank | result(nmol/L)
A-1 | 1.088 | 0.03 | 1.058 | 26.5122
A-2 | 1.548 | 0.03 | 1.518 | 45.0902
A-3 | 1.31 | 0.03 | 1.28 | 34.8948
A-4 | 1.403 | 0.03 | 1.373 | 38.7298
A-5 | 0.677 | 0.03 | 0.647 | 13.8652
A-6 | 0.999 | 0.03 | 0.969 | 23.4571
B-1 | 0.501 | 0.03 | 0.471 | 9.59
B-2 | 0.404 | 0.03 | 0.374 | 7.5262
B-3 | 0.737 | 0.03 | 0.707 | 15.479
B-4 | 0.369 | 0.03 | 0.339 | 6.8325
B-5 | 1.744 | 0.03 | 1.714 | 54.4255
B-6 | 1.51 | 0.03 | 1.48 | 43.3785
C-1 | 1.831 | 0.03 | 1.801 | 58.8411
C-2 | 0.505 | 0.03 | 0.475 | 9.6796
C-3 | 1.802 | 0.03 | 1.772 | 57.3507
C-4 | 0.991 | 0.03 | 0.961 | 23.1911
C-5 | 1.283 | 0.03 | 1.253 | 33.8171
C-6 | 0.695 | 0.03 | 0.665 | 14.341
D-1 | 0.716 | 0.03 | 0.686 | 14.9051
D-2 | 0.629 | 0.03 | 0.599 | 12.6314
D-3 | 1.042 | 0.03 | 1.012 | 24.9113
D-4 | 1.01 | 0.03 | 0.98 | 23.8253
D-5 | 1.698 | 0.03 | 1.668 | 52.1584
D-6 | 0.649 | 0.03 | 0.619 | 13.1393
E-1 | 1.689 | 0.03 | 1.659 | 51.7203
E-2 | 1.98 | 0.03 | 1.95 | 66.7916
E-3 | 1.401 | 0.03 | 1.371 | 38.6453
E-4 | 0.944 | 0.03 | 0.914 | 21.6566
E-5 | 0.746 | 0.03 | 0.716 | 15.7279
E-6 | 1.828 | 0.03 | 1.798 | 58.6861
G-1 | 0.771 | 0.03 | 0.741 | 16.4287
G-2 | 0.643 | 0.03 | 0.613 | 12.986
G-3 | 1.768 | 0.03 | 1.738 | 55.6269
G-4 | 1.429 | 0.03 | 1.399 | 39.8362
G-5 | 0.601 | 0.03 | 0.571 | 11.9352
H-1 | 0.988 | 0.03 | 0.958 | 23.0917
H-2 | 1.206 | 0.03 | 1.176 | 30.8323
H-3 | 1.535 | 0.03 | 1.505 | 44.501
H-4 | 1.783 | 0.03 | 1.753 | 56.3843
H-5 | 0.626 | 0.03 | 0.596 | 12.556
H-6 | 1.857 | 0.03 | 1.827 | 60.1931
I-1 | 0.444 | 0.03 | 0.414 | 8.3521
I-2 | 1.49 | 0.03 | 1.46 | 42.4903
I-3 | 1.09 | 0.03 | 1.06 | 26.5828
I-4 | 1.527 | 0.03 | 1.497 | 44.1403
I-5 | 1.171 | 0.03 | 1.141 | 29.5188
I-6 | 0.619 | 0.03 | 0.589 | 12.3808
J-1 | 1.274 | 0.03 | 1.244 | 33.4615
J-2 | 1.547 | 0.03 | 1.517 | 45.0447
J-3 | 1.604 | 0.03 | 1.574 | 47.6709
J-4.1 | 1.261 | 0.03 | 1.231 | 32.951
J-4.2 | 1.846 | 0.03 | 1.816 | 59.6193
J-5 | 1.669 | 0.03 | 1.639 | 50.7532
J-6 | 1.529 | 0.03 | 1.499 | 44.2303
K-1 | 1.064 | 0.03 | 1.034 | 25.6711
K-2 | 0.419 | 0.03 | 0.389 | 7.8318
K-3 | 0.365 | 0.03 | 0.335 | 6.7549
K-4 | 1.746 | 0.03 | 1.716 | 54.5252
K-5 | 1.687 | 0.03 | 1.657 | 51.6232
K-6 | 0.505 | 0.03 | 0.475 | 9.6796
L-1 | 0.775 | 0.03 | 0.745 | 16.5421
L-2 | 0.265 | 0.03 | 0.235 | 4.9309
L-3 | 0.43 | 0.03 | 0.4 | 8.059
L-4 | 1.465 | 0.03 | 1.435 | 41.3926
L-5 | 1.011 | 0.03 | 0.981 | 23.8589
L-6 | 0.773 | 0.03 | 0.743 | 16.4854
M-1 | 0.665 | 0.03 | 0.635 | 13.552
M-2 | 1.172 | 0.03 | 1.142 | 29.556
M-3 | 0.834 | 0.03 | 0.804 | 18.256
M-4 | 1.793 | 0.03 | 1.763 | 56.8919
M-5 | 1.521 | 0.03 | 1.491 | 43.8707
M-6 | 0.45 | 0.03 | 0.42 | 8.479
N-1 | 1.475 | 0.03 | 1.445 | 41.8301
N-2 | 1.278 | 0.03 | 1.248 | 33.6193
N-3 | 0.628 | 0.03 | 0.598 | 12.6063
N-4 | 0.44 | 0.03 | 0.41 | 8.2679
N-5 | 0.561 | 0.03 | 0.531 | 10.9706
N-6 | 0.783 | 0.03 | 0.753 | 16.77
F2,F4,F6 nolu numuneler yetersiz

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
MDA: Malondialdehit | Universal | Otto Scientific | Otto1001 | Kolorimetrik | REL BIOCHEM-REL ASSAY
Malondialdehyde (MDA) nmol/L
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.