## IgG
0.197 | 0.883 | 0.961 | 1.243 | 1.588 | 0.452 | 1.1 | 0.714 | 0.524 | 0.902 | 0.859 | 0.425
0.672 | 0.37 | 0.918 | 1.481 | 0.615 | 0.445 | 0.968 | 0.528 | 0.378 | 0.334 | 0.598 | 0.377
1.108 | 0.847 | 0.704 | 0.843 | 0.68 | 0.496 | 0.219 | 0.212 | 0.392 | 0.375 | 0.445 | 0.468
1.396 | 0.282 | 0.489 | 0.221 | 0.278 | 0.437 | 0.481 | 0.216 | 0.189 | 0.351 | 0.352 | 0.342
1.87 | 0.543 | 0.618 | 0.546 | 0.477 | 0.635 | 0.657 | 0.23 | 0.259 | 0.668 | 0.507 | 0.434
0.067 | 0.588 | 0.61 | 0.836 | 0.525 | 0.946 | 0.431 | 0.324 | 0.29 | 0.535 | 0.473 | 0.416
0.522 | 0.348 | 0.258 | 0.284 | 0.368 | 0.874 | 0.455 | 0.145 | 0.228 | 0.55 | 0.377 | 0.512
0.521 | 0.409 | 0.407 | 0.315 | 0.346 | 0.283 | 0.341 | 0.159 | 0.287 | 0.58 | 0.271 | 0.369
| abs | abs-blank | expected | result
std1 | 0.197 | 0.13 | 320 | 317.5167
std2 | 0.672 | 0.605 | 160 | 166.9642
std3 | 1.108 | 1.041 | 80 | 75.1813
std4 | 1.396 | 1.329 | 40 | 38.9165
std5 | 1.87 | 1.803 | 20 | 21.432
blank | 0.067 | 0 | 0 | 367.91
concentration (ug/ml)
Numune | absorbans | blank | abs-blank | result(ug/ml)
EKİNEZYA-76-0 | 0.522 | 0.067 | 0.455 | 208.8112
EKİNEZYA-76-1 | 0.521 | 0.067 | 0.454 | 209.1078
EKİNEZYA-76-2 | 0.883 | 0.067 | 0.816 | 116.9993
EKİNEZYA-78-0 | 0.37 | 0.067 | 0.303 | 256.5795
EKİNEZYA-78-1 | 0.847 | 0.067 | 0.78 | 124.7881
EKİNEZYA-78-2 | 0.282 | 0.067 | 0.215 | 286.7025
EKİNEZYA-78-3 | 0.543 | 0.067 | 0.476 | 202.6361
EKİNEZYA-80-0 | 0.588 | 0.067 | 0.521 | 189.7507
EKİNEZYA-80-1 | 0.348 | 0.067 | 0.281 | 263.9406
EKİNEZYA-80-2+3 | 0.409 | 0.067 | 0.342 | 243.8082
EKİNEZYA-85-0 | 0.961 | 0.067 | 0.894 | 101.1627
EKİNEZYA-85-1 | 0.918 | 0.067 | 0.851 | 109.7173
EKİNEZYA-85-2 | 0.704 | 0.067 | 0.637 | 158.7173
EKİNEZYA-90-0 | 0.489 | 0.067 | 0.422 | 218.7231
EKİNEZYA-90-1 | 0.618 | 0.067 | 0.551 | 181.4234
EKİNEZYA-90-2 | 0.61 | 0.067 | 0.543 | 183.6235
EKİNEZYA-90-3 | 0.258 | 0.067 | 0.191 | 295.2319
EKİNEZYA-92-0 | 0.407 | 0.067 | 0.34 | 244.4545
EKİNEZYA-92-1 | 1.243 | 0.067 | 1.176 | 55.7688
EKİNEZYA-92-2 | 1.481 | 0.067 | 1.414 | 31.9178
EKİNEZYA-92-3 | 0.843 | 0.067 | 0.776 | 125.6722
EKİNEZYA-93-0 | 0.221 | 0.067 | 0.154 | 308.6452
EKİNEZYA-93-1 | 0.546 | 0.067 | 0.479 | 201.7623
EKİNEZYA-93-2 | 0.836 | 0.067 | 0.769 | 127.2283
EKİNEZYA-93-3 | 0.284 | 0.067 | 0.217 | 285.9978
EKİNEZYA-94-0 | 0.315 | 0.067 | 0.248 | 275.1943
EKİNEZYA-94-1 | 1.588 | 0.067 | 1.521 | 25.508
EKİNEZYA-94-3 | 0.615 | 0.067 | 0.548 | 182.2467
EKİNEZYA-102-2 | 0.68 | 0.067 | 0.613 | 164.8801
EKİNEZYA-102-3 | 0.278 | 0.067 | 0.211 | 288.1147
EKİNEZYA-106-3 | 0.477 | 0.067 | 0.41 | 222.3905
EKİNEZYA-88-0 | 0.525 | 0.067 | 0.458 | 207.9227
EKİNEZYA-88-1 | 0.368 | 0.067 | 0.301 | 257.244
EKİNEZYA-88-2 | 0.346 | 0.067 | 0.279 | 264.6154
EKİNEZYA-88-3 | 0.452 | 0.067 | 0.385 | 230.1391
EKİNEZYA-95-0 | 0.445 | 0.067 | 0.378 | 232.3348
EKİNEZYA-95-1 | 0.496 | 0.067 | 0.429 | 216.5993
EKİNEZYA-95-2+3 | 0.437 | 0.067 | 0.37 | 234.8583
EKİNEZYA-97-0 | 0.635 | 0.067 | 0.568 | 176.7979
EKİNEZYA-97-1 | 0.946 | 0.067 | 0.879 | 104.0978
EKİNEZYA-97-2 | 0.874 | 0.067 | 0.807 | 118.9181
EKİNEZYA-97-3 | 0.283 | 0.067 | 0.216 | 286.35
EKİNEZYA-99-0 | 1.1 | 0.067 | 1.033 | 76.4653
EKİNEZYA-99-1 | 0.968 | 0.067 | 0.901 | 99.811
EKİNEZYA-99-3 | 0.219 | 0.067 | 0.152 | 309.3793
EKİNEZYA-98-2 | 0.481 | 0.067 | 0.414 | 221.1643
EKİNEZYA-98-3 | 0.657 | 0.067 | 0.59 | 170.9123
EKİNEZYA-101-3 | 0.431 | 0.067 | 0.364 | 236.7607
ÜZÜM-292 | 0.455 | 0.067 | 0.388 | 229.2015
ÜZÜM-292-1 | 0.341 | 0.067 | 0.274 | 266.3065
ÜZÜM-295 | 0.714 | 0.067 | 0.647 | 156.1893
ÜZÜM-295-1 | 0.528 | 0.067 | 0.461 | 207.0363
ÜZÜM-296 | 0.212 | 0.067 | 0.145 | 311.9562
ÜZÜM-296-1 | 0.216 | 0.067 | 0.149 | 310.4823
ÜZÜM-298 | 0.23 | 0.067 | 0.163 | 305.353
ÜZÜM-298-1 | 0.324 | 0.067 | 0.257 | 272.0999
ÜZÜM-337 | 0.145 | 0.067 | 0.078 | 337.2001
ÜZÜM-337-1 | 0.159 | 0.067 | 0.092 | 331.8386
ÜZÜM-919 | 0.524 | 0.067 | 0.457 | 208.2186
ÜZÜM-919-2 | 0.378 | 0.067 | 0.311 | 253.9308
ÜZÜM-K1 | 0.392 | 0.067 | 0.325 | 249.3315
ÜZÜM-629-2 | 0.189 | 0.067 | 0.122 | 320.5038
ÜZÜM-S1 | 0.259 | 0.067 | 0.192 | 294.8738
ÜZÜM-S1-2 | 0.29 | 0.067 | 0.223 | 283.8892
ÜZÜM-75 | 0.228 | 0.067 | 0.161 | 306.083
ÜZÜM-628-2 | 0.287 | 0.067 | 0.22 | 284.9425
DAVRANIŞ-6369-0 | 0.902 | 0.067 | 0.835 | 113.0107
DAVRANIŞ-6369-1 | 0.334 | 0.067 | 0.267 | 268.6838
DAVRANIŞ-6370-0 | 0.375 | 0.067 | 0.308 | 254.9223
DAVRANIŞ-6370-1 | 0.351 | 0.067 | 0.284 | 262.9301
DAVRANIŞ-6452-0 | 0.668 | 0.067 | 0.601 | 168.0119
DAVRANIŞ-6452-1 | 0.535 | 0.067 | 0.468 | 204.9763
DAVRANIŞ-6453-0 | 0.55 | 0.067 | 0.483 | 200.6006
DAVRANIŞ-6453-1 | 0.58 | 0.067 | 0.513 | 192.0069
DAVRANIŞ-6451-0 | 0.859 | 0.067 | 0.792 | 122.1582
DAVRANIŞ-6451-1 | 0.598 | 0.067 | 0.531 | 186.9516
DAVRANIŞ-6368-0 | 0.445 | 0.067 | 0.378 | 232.3348
DAVRANIŞ-6368-1 | 0.352 | 0.067 | 0.285 | 262.5938
SON GELENLER-76-0 | 0.507 | 0.067 | 0.44 | 213.285
SON GELENLER-78-0 | 0.473 | 0.067 | 0.406 | 223.6205
SON GELENLER-1417-DS | 0.377 | 0.067 | 0.31 | 254.261
SON GELENLER-2385-0 | 0.271 | 0.067 | 0.204 | 290.5951
SON GELENLER-2385-DS | 0.425 | 0.067 | 0.358 | 238.6715
SON GELENLER-2388-0 | 0.377 | 0.067 | 0.31 | 254.261
SON GELENLER-2388-DS | 0.468 | 0.067 | 0.401 | 225.1632
SON GELENLER-2389-DS | 0.342 | 0.067 | 0.275 | 265.9678
SON GELENLER-2390-0 | 0.434 | 0.067 | 0.367 | 235.8085
SON GELENLER-2390-DS | 0.416 | 0.067 | 0.349 | 241.5536
SON GELENLER-2392-0 | 0.512 | 0.067 | 0.445 | 211.7879
SON GELENLER-2392-DS | 0.369 | 0.067 | 0.302 | 256.9116

## Kolorimetrik
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI | PON-1(U/L) | SOD (U/ml) | GPX (U/L) | CAT (U/mL) | IgA (mg/dL) | IgM(mg/dL)
EKİNEZYA-76-0 | 0.58 | 3.77 | 0.65 | 189 | 123 | 532 | 28.2 | 36.6 | 386.9
EKİNEZYA-76-1 | 0.69 | 4.14 | 0.6 | 248 | 108 | 303 | 39.4 | 39.2 | 294.8
EKİNEZYA-76-2 | 0.5 | 3.84 | 0.768 | 304 | 131 | 306 | 50.2 | 59.01 | 792.8
EKİNEZYA-78-0 | 0.65 | 4.88 | 0.75077 | 132 | 165 | 901 | 34.45 | 36.8 | 413.6
EKİNEZYA-78-1 | 0.69 | 3.4 | 0.49275 | 346 | 132 | 391 | 35.1 | 42.6 | 609.1
EKİNEZYA-78-2 | 0.55 | 2.9 | 0.52727 | 458 | 164 | 332 | 28.275 | 58.7 | 280.1
EKİNEZYA-78-3 | 0.82 | 3.48 | 0.42439 | 443 | 201 | 276 | 31.525 | 38.1 | 670.7
EKİNEZYA-80-0 | 0.6 | 5.15 | 0.85833 | 132 | 116 | 536 | 15.2 | 42.9 | 393.2
EKİNEZYA-80-1 | 0.72 | 4.02 | 0.55833 | 233 | 138 | 296 | 26.7 | 35.1 | 480.1
EKİNEZYA-80-2+3 | 0.87 | 4.72 | 0.54253 | 535 | 179 | 267 | 15.4 | 43.6 | 958.3
EKİNEZYA-85-0 | 0.7 | 3.59 | 0.51286 | 129 | 104 | 515 | 27.2 | 41.6 | 365.7
EKİNEZYA-85-1 | 0.73 | 3.17 | 0.43425 | 236 | 133 | 348 | 24.4 | 56.5 | 527.4
EKİNEZYA-85-2 | 0.56 | 4.67 | 0.83393 | 365 | 191 | 297 | 34.8 | 42.2 | 301.9
EKİNEZYA-90-0 | 0.52 | 5.32 | 1.0231 | 180 | 184 | 512 | 34.775 | 46.2 | 156.1
EKİNEZYA-90-1 | 0.67 | 3.47 | 0.51791 | 478 | 150 | 364 | 27.625 | 41.2 | 452.1
EKİNEZYA-90-2 | 0.69 | 6.86 | 0.9942 | 458 | 182 | 410 | 28.275 | 39.08 | 204.8
EKİNEZYA-90-3 | 0.78 | 4.28 | 0.54872 | 501 | 314 | 380 | 31.2 | 39.7 | 612.4
EKİNEZYA-92-0 | 0.69 | 5.46 | 0.7913 | 136 | 117 | 520 | 22.8 | 41.5 | 247.9
EKİNEZYA-92-1 | 0.72 | 6.4 | 0.88889 | 236 | 534 | 450 | 36.7 | 34.6 | 469.1
EKİNEZYA-92-2 | 0.2 | 3.83 | 1.915 | 184 | 186 | 175 | 67.5 | 40.2 | 591.6
EKİNEZYA-92-3 | 0.9 | 4.66 | 0.51778 | 371 | 176 | 756 | 28.9 | 36.7 | 381.4
EKİNEZYA-93-0 | 1.28 | 4.11 | 0.32109 | 154 | 187 | 704 | 37.2 | 54.1 | 646.3
EKİNEZYA-93-1 | 0.63 | 4.32 | 0.68571 | 310 | 116 | 526 | 32.4 | 37.6 | 203.7
EKİNEZYA-93-2 | 0.78 | 4.78 | 0.61282 | 444 | 194 | 346 | 35.7 | 42.9 | 645.3
EKİNEZYA-93-3 | 0.77 | 4.94 | 0.64156 | 552 | 101 | 343 | 37.8 | 35.5 | 407
EKİNEZYA-94-0 | 0.52 | 8.21 | 1.5788 | 135 | 113 | 455 | 39.7 | 47.7 | 595.1
EKİNEZYA-94-1 | 0.68 | 5.15 | 0.75735 | 434 | 101 | 331 | 33.5 | 42.5 | 401
EKİNEZYA-94-3 | 0.8 | 4.35 | 0.54375 | 489 | 131 | 388 | 35.6 | 35.6 | 437.1
EKİNEZYA-102-2 | 0.67 | 4.72 | 0.70448 | 511 | 226 | 354 | 45.2 | 34.1 | 378.7
EKİNEZYA-102-3 | 0.66 | 3.21 | 0.48636 | 474 | 315 | 374 | 35.9 | 34.2 | 368.9
EKİNEZYA-106-3 | 0.57 | 5.93 | 1.0404 | 514 | 439 | 498 | 33.1 | 34.7 | 463.3
EKİNEZYA-88-0 | 0.66 | 3.46 | 0.52424 | 226 | 258 | 360 | 23.2 | 49.6 | 196.3
EKİNEZYA-88-1 | 0.79 | 3.19 | 0.4038 | 299 | 313 | 318 | 35.9 | 37.9 | 295.1
EKİNEZYA-88-2 | 0.86 | 10.9 | 1.2674 | 422 | 561 | 399 | 30.1 | 40.2 | 426.9
EKİNEZYA-88-3 | 0.86 | 3.94 | 0.45814 | 511 | 248 | 332 | 32.1 | 41.09 | 310.2
EKİNEZYA-95-0 | 0.73 | 3.5 | 0.47945 | 134 | 225 | 398 | 31.85 | 42.6 | 357.2
EKİNEZYA-95-1 | 0.44 | 4.03 | 0.91591 | 292 | 177 | 551 | 33.8 | 42 | 568.6
EKİNEZYA-95-2+3 | 0.61 | 5.72 | 0.9377 | 349 | 264 | 698 | 28.275 | 41.2 | 441
EKİNEZYA-97-0 | 0.81 | 3.98 | 0.49136 | 399 | 87 | 462 | 26.2 | 50.7 | 454
EKİNEZYA-97-1 | 0.77 | 3.34 | 0.43377 | 417 | 210 | 366 | 26.7 | 40.9 | 581
EKİNEZYA-97-2 | 0.81 | 4.4 | 0.54321 | 512 | 451 | 325 | 19.6 | 39.6 | 477
EKİNEZYA-97-3 | 0.8 | 4.48 | 0.56 | 455 | 289 | 351 | 23.8 | 39.4 | 386.6
EKİNEZYA-99-0 | 1.03 | 6.71 | 0.65146 | 199 | 364 | 765 | 25.7 | 47.4 | 279.3
EKİNEZYA-99-1 | 0.56 | 6.01 | 1.0732 | 122 | 410 | 840 | 21.08 | 41.6 | 329.2
EKİNEZYA-99-3 | 0.73 | 3.46 | 0.47397 | 194 | 358 | 432 | 26.8 | 38.2 | 342
EKİNEZYA-98-2 | 0.93 | 3.47 | 0.37312 | 617 | 395 | 323 | 15.3 | 39.6 | 475
EKİNEZYA-98-3 | 0.72 | 3.61 | 0.50139 | 613 | 423 | 276 | 17.3 | 37.7 | 494
EKİNEZYA-101-3 | 0.65 | 3.87 | 0.59538 | 567 | 299 | 329 | 11.6 | 42.6 | 418.1
ÜZÜM-292 | 1.06 | 43.5 | 4.1038 | 186 | 393 | 924 | 29.9 | 45.6 | 227.2
ÜZÜM-292-1 | 0.71 | 18.4 | 2.5915 | 232 | 249 | 358 | 35.9 | 45.04 | 514.5
ÜZÜM-295 | 0.57 | 10.3 | 1.807 | 366 | 210 | 173 | 12.5 | 44.4 | 702.1
ÜZÜM-295-1 | 0.63 | 11.3 | 1.7937 | 184 | 223 | 323 | 40.5 | 47.3 | 682.4
ÜZÜM-296 | 0.57 | 17.2 | 3.0175 | 129 | 141 | 291 | 41.4 | 42.09 | 500.2
ÜZÜM-296-1 | 0.63 | 8.2 | 1.3016 | 132 | 135 | 261 | 24.6 | 42.3 | 623
ÜZÜM-298 | 0.67 | 6.57 | 0.9806 | 265 | 200 | 133 | 34.125 | 41.4 | 534.1
ÜZÜM-298-1 | 0.56 | 6.03 | 1.0768 | 177 | 183 | 211 | 29.25 | 43.9 | 610.7
ÜZÜM-337 | 0.64 | 18.5 | 2.8906 | 449 | 265 | 399 | 10.3 | 40.4 | 513.1
ÜZÜM-337-1 | 0.64 | 8.81 | 1.3766 | 214 | 148 | 291 | 14.4 | 43.9 | 418.5
ÜZÜM-919 | 0.61 | 5.56 | 0.91148 | 332 | 130 | 297 | 21.01 | 40.4 | 722
ÜZÜM-919-2 | 0.35 | 5.54 | 1.5829 | 299 | 113 | 197 | 51.05 | 43.9 | 686.6
ÜZÜM-K1 | 0.75 | 12.1 | 1.6133 | 221 | 323 | 618 | 30.8 | 47 | 201
ÜZÜM-629-2 | 0.61 | 9.98 | 1.6361 | 251 | 227 | 287 | 25.3 | 42.1 | 450.1
ÜZÜM-S1 | 0.64 | 3.79 | 0.59219 | 351 | 180 | 251 | 42.3 | 37.5 | 431.7
ÜZÜM-S1-2 | 0.45 | 10 | 2.2222 | 164 | 399 | 255 | 43.2 | 40.5 | 373
ÜZÜM-75 | 0.7 | 8.43 | 1.2043 | 329 | 107 | 306 | 35.08 | 41.4 | 411
ÜZÜM-628-2 | 0.66 | 18.7 | 2.8333 | 353 | 122 | 296 | 31.4 | 28.5 | 151.2
DAVRANIŞ-6369-0 | 0.59 | 3.28 | 0.55593 | 340 | 230 | 288 | 31.85 | 34.3 | 493.5
DAVRANIŞ-6369-1 | 0.54 | 4.61 | 0.8537 | 379 | 205 | 319 | 38.025 | 26.2 | 606
DAVRANIŞ-6370-0 | 0.59 | 2.88 | 0.48814 | 235 | 293 | 228 | 29.8 | 38.7 | 580.1
DAVRANIŞ-6370-1 | 0.63 | 2.63 | 0.41746 | 277 | 117 | 244 | 30.4 | 17.5 | 734.3
DAVRANIŞ-6452-0 | 0.64 | 4.47 | 0.69844 | 144 | 196 | 563 | 39.6 | 29.7 | 419.1
DAVRANIŞ-6452-1 | 0.62 | 3.5 | 0.56452 | 341 | 338 | 520 | 40.3 | 20.9 | 280.8
DAVRANIŞ-6453-0 | 0.72 | 4.17 | 0.57917 | 139 | 246 | 403 | 33.1 | 26.8 | 454.5
DAVRANIŞ-6453-1 | 0.6 | 3.59 | 0.59833 | 208 | 502 | 434 | 45.2 | 51.2 | 318.3
DAVRANIŞ-6451-0 | 0.69 | 3.54 | 0.51304 | 121 | 103 | 398 | 33.8 | 37.9 | 417.7
DAVRANIŞ-6451-1 | 0.57 | 4.35 | 0.76316 | 206 | 109 | 322 | 31.525 | 22.5 | 779.4
DAVRANIŞ-6368-0 | 0.75 | 4.08 | 0.544 | 278 | 180 | 454 | 44.3 | 36.9 | 473.5
DAVRANIŞ-6368-1 | 0.73 | 2.85 | 0.39041 | 378 | 167 | 297 | 39.8 | 24.7 | 238.4
SON GELENLER-76-0 | 0.65 | 2.99 | 0.46 | 293 | 103 | 300 | 33.4 | 43.5 | 579
SON GELENLER-78-0 | 0.54 | 2.93 | 0.54259 | 332 | 169 | 277 | 34.8 | 18.7 | 477
SON GELENLER-1417-DS | 0.77 | 3.86 | 0.5013 | 365 | 128 | 265 | 28.2 | 20.9 | 909.3
SON GELENLER-2385-0 | 0.98 | 3.31 | 0.33776 | 302 | 164 | 358 | 32.825 | 27.7 | 344
SON GELENLER-2385-DS | 0.93 | 2.67 | 0.2871 | 397 | 116 | 282 | 32.5 | 21.9 | 341.2
SON GELENLER-2388-0 | 0.96 | 3.91 | 0.40729 | 339 | 181 | 301 | 29.3 | 16.4 | 485.4
SON GELENLER-2388-DS | 0.78 | 4.36 | 0.55897 | 440 | 128 | 275 | 44.8 | 25.3 | 519
SON GELENLER-2389-DS | 0.92 | 6.23 | 0.67717 | 360 | 241 | 342 | 37.8 | 16.6 | 430.6
SON GELENLER-2390-0 | 0.83 | 2.71 | 0.32651 | 594 | 425 | 276 | 32.4 | 38.5 | 351
SON GELENLER-2390-DS | 0.74 | 6.37 | 0.86081 | 591 | 380 | 321 | 26.7 | 17.9 | 339
SON GELENLER-2392-0 | 0.67 | 2.53 | 0.37761 | 352 | 390 | 282 | 39.5 | 24.3 | 398.3
SON GELENLER-2392-DS | 0.71 | 5.44 | 0.7662 | 364 | 380 | 314 | 35.9 | 22.1 | 386.1

## MDA
| absorbans | abs-blank | expected | result
std1 | 2.511 | 2.481 | 100 | 99.1116
std2 | 1.703 | 1.673 | 50 | 52.4026
std3 | 1.024 | 0.994 | 25 | 24.2976
std4 | 0.543 | 0.513 | 12.5 | 10.5481
std5 | 0.318 | 0.288 | 6.25 | 5.8701
std6 | 0.152 | 0.122 | 3.125 | 3.1354
blank | 0.03 | 0 | 0 | 1.5134
concentratıon (nmol/L)
Numune | absorbans | blank | abs-blank | result(nmol/L)
EKİNEZYA-76-0 | 1.396 | 0.03 | 1.366 | 38.4345
EKİNEZYA-76-1 | 0.879 | 0.03 | 0.849 | 19.6149
EKİNEZYA-76-2 | 0.905 | 0.03 | 0.875 | 20.4204
EKİNEZYA-78-0 | 1.215 | 0.03 | 1.185 | 31.1744
EKİNEZYA-78-1 | 0.662 | 0.03 | 0.632 | 13.4742
EKİNEZYA-78-2 | 0.266 | 0.03 | 0.236 | 4.948
EKİNEZYA-78-3 | 0.199 | 0.03 | 0.169 | 3.8479
EKİNEZYA-80-0 | 0.894 | 0.03 | 0.864 | 20.0778
EKİNEZYA-80-1 | 0.661 | 0.03 | 0.631 | 13.4483
EKİNEZYA-80-2+3 | 0.653 | 0.03 | 0.623 | 13.2419
EKİNEZYA-85-0 | 0.594 | 0.03 | 0.564 | 11.7639
EKİNEZYA-85-1 | 0.421 | 0.03 | 0.391 | 7.8729
EKİNEZYA-85-2 | 0.649 | 0.03 | 0.619 | 13.1393
EKİNEZYA-90-0 | 2.047 | 0.03 | 2.017 | 70.5264
EKİNEZYA-90-1 | 1.849 | 0.03 | 1.819 | 59.7755
EKİNEZYA-90-2 | 1.801 | 0.03 | 1.771 | 57.2996
EKİNEZYA-90-3 | 0.478 | 0.03 | 0.448 | 9.0819
EKİNEZYA-92-0 | 0.753 | 0.03 | 0.723 | 15.9227
EKİNEZYA-92-1 | 0.485 | 0.03 | 0.455 | 9.2353
EKİNEZYA-92-2 | 0.311 | 0.03 | 0.281 | 5.7425
EKİNEZYA-92-3 | 0.322 | 0.03 | 0.292 | 5.9435
EKİNEZYA-93-0 | 0.347 | 0.03 | 0.317 | 6.4103
EKİNEZYA-93-1 | 0.237 | 0.03 | 0.207 | 4.4597
EKİNEZYA-93-2 | 0.214 | 0.03 | 0.184 | 4.0856
EKİNEZYA-93-3 | 0.316 | 0.03 | 0.286 | 5.8336
EKİNEZYA-94-0 | 0.687 | 0.03 | 0.657 | 14.1286
EKİNEZYA-94-1 | 0.48 | 0.03 | 0.45 | 9.1256
EKİNEZYA-94-3 | 0.462 | 0.03 | 0.432 | 8.7353
EKİNEZYA-102-2 | 1.58 | 0.03 | 1.55 | 46.5564
EKİNEZYA-102-3 | 1.223 | 0.03 | 1.193 | 31.48
EKİNEZYA-106-3 | 2.006 | 0.03 | 1.976 | 68.2292
EKİNEZYA-88-0 | 0.977 | 0.03 | 0.947 | 22.7289
EKİNEZYA-88-1 | 1.201 | 0.03 | 1.171 | 30.643
EKİNEZYA-88-2 | 0.335 | 0.03 | 0.305 | 6.1845
EKİNEZYA-88-3 | 0.23 | 0.03 | 0.2 | 4.3446
EKİNEZYA-95-0 | 0.962 | 0.03 | 0.932 | 22.2385
EKİNEZYA-95-1 | 0.353 | 0.03 | 0.323 | 6.5244
EKİNEZYA-95-2+3 | 0.486 | 0.03 | 0.456 | 9.2573
EKİNEZYA-97-0 | 1.306 | 0.03 | 1.276 | 34.7341
EKİNEZYA-97-1 | 0.24 | 0.03 | 0.21 | 4.5093
EKİNEZYA-97-2 | 0.558 | 0.03 | 0.528 | 10.8997
EKİNEZYA-97-3 | 0.537 | 0.03 | 0.507 | 10.4089
EKİNEZYA-99-0 | 1.186 | 0.03 | 1.156 | 30.0784
EKİNEZYA-99-1 | 0.564 | 0.03 | 0.534 | 11.0418
EKİNEZYA-99-3 | 1.27 | 0.03 | 1.24 | 33.304
EKİNEZYA-98-2 | 1.043 | 0.03 | 1.013 | 24.9456
EKİNEZYA-98-3 | 0.62 | 0.03 | 0.59 | 12.4057
EKİNEZYA-101-3 | 0.39 | 0.03 | 0.36 | 7.2455
ÜZÜM-292 | 0.91 | 0.03 | 0.88 | 20.577
ÜZÜM-292-1 | 0.632 | 0.03 | 0.602 | 12.707
ÜZÜM-295 | 0.294 | 0.03 | 0.264 | 5.4371
ÜZÜM-295-1 | 0.553 | 0.03 | 0.523 | 10.782
ÜZÜM-296 | 0.401 | 0.03 | 0.371 | 7.4657
ÜZÜM-296-1 | 0.458 | 0.03 | 0.428 | 8.6495
ÜZÜM-298 | 0.366 | 0.03 | 0.336 | 6.7743
ÜZÜM-298-1 | 0.573 | 0.03 | 0.543 | 11.2563
ÜZÜM-337 | 0.856 | 0.03 | 0.826 | 18.9148
ÜZÜM-337-1 | 0.66 | 0.03 | 0.63 | 13.4224
ÜZÜM-919 | 0.72 | 0.03 | 0.69 | 15.0137
ÜZÜM-919-2 | 0.746 | 0.03 | 0.716 | 15.7279
ÜZÜM-K1 | 1.3 | 0.03 | 1.27 | 34.4938
ÜZÜM-629-2 | 0.925 | 0.03 | 0.895 | 21.0502
ÜZÜM-S1 | 0.501 | 0.03 | 0.471 | 9.59
ÜZÜM-S1-2 | 0.431 | 0.03 | 0.401 | 8.0798
ÜZÜM-75 | 0.319 | 0.03 | 0.289 | 5.8884
ÜZÜM-628-2 | 0.558 | 0.03 | 0.528 | 10.8997
DAVRANIŞ-6369-0 | 0.898 | 0.03 | 0.868 | 20.2021
DAVRANIŞ-6369-1 | 0.369 | 0.03 | 0.339 | 6.8325
DAVRANIŞ-6370-0 | 0.554 | 0.03 | 0.524 | 10.8055
DAVRANIŞ-6370-1 | 0.472 | 0.03 | 0.442 | 8.9512
DAVRANIŞ-6452-0 | 0.656 | 0.03 | 0.626 | 13.3192
DAVRANIŞ-6452-1 | 0.577 | 0.03 | 0.547 | 11.3522
DAVRANIŞ-6453-0 | 0.573 | 0.03 | 0.543 | 11.2563
DAVRANIŞ-6453-1 | 1.615 | 0.03 | 1.585 | 48.1859
DAVRANIŞ-6451-0 | 1.94 | 0.03 | 1.91 | 64.6091
DAVRANIŞ-6451-1 | 1.846 | 0.03 | 1.816 | 59.6193
DAVRANIŞ-6368-0 | 2.061 | 0.03 | 2.031 | 71.3194
DAVRANIŞ-6368-1 | 0.589 | 0.03 | 0.559 | 11.6421
SON GELENLER-76-0 | 0.81 | 0.03 | 0.78 | 17.5496
SON GELENLER-78-0 | 1.142 | 0.03 | 1.112 | 28.451
SON GELENLER-1417-DS | 1.011 | 0.03 | 0.981 | 23.8589
SON GELENLER-2385-0 | 0.803 | 0.03 | 0.773 | 17.3459
SON GELENLER-2385-DS | 1.573 | 0.03 | 1.543 | 46.2337
SON GELENLER-2388-0 | 0.492 | 0.03 | 0.462 | 9.3898
SON GELENLER-2388-DS | 0.685 | 0.03 | 0.655 | 14.0758
SON GELENLER-2389-DS | 1.035 | 0.03 | 1.005 | 24.6718
SON GELENLER-2390-0 | 1.491 | 0.03 | 1.461 | 42.5345
SON GELENLER-2390-DS | 1.126 | 0.03 | 1.096 | 27.8698
SON GELENLER-2392-0 | 2.074 | 0.03 | 2.044 | 72.0595
SON GELENLER-2392-DS | 0.854 | 0.03 | 0.824 | 18.8544

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
SOD: Super Oxıde Dismutase | Universal | Otto Scientific | Otto3047 | Kolorimetrik | MINDRAY-BS400
GPx: Glutathione Peroxidase | Universal | Otto Scientific | Otto2085 | Kolorimetrik | MINDRAY-BS400
MDA: Malondialdehit | Universal | Otto Scientific | Otto1001 | Kolorimetrik | REL BIOCHEM-REL ASSAY
CAT: Catalase | Universal | Elabscience | E-BC-K031-S | Kolorimetrik | REL BIOCHEM-REL ASSAY
TAS(Total Antioxidant Status) | Universal | REL ASSAY | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY | RL0024 | Kolorimetrik | MINDRAY-BS400
PON-1: Paraoxanase-1 | Universal | REL ASSAY | RL0031 | Kolorimetrik | MINDRAY BS-400
Immunoglobulin A | Universal | Otto Scientific | OttoBC146 | Kolorimetrik | MINDRAY-BS400
Immunoglobulin M | Universal | Otto Scientific | OttoBC149 | Kolorimetrik | MINDRAY-BS401
Immunoglobulin G | Bovine | BT-Lab | EA0005BO | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Malondialdehyde (MDA) nmol/L
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.
Super Oxide Dismutase (SOD) U/ml
The role of speroxide dismutase is to accelerate the dismutation of the toxic radical, produced
during oxidative energy processes to hydrogen peroxide and molecular oxygen. This method
employs xanthine and xanthine oxidase to generate superoxide radicals which react with 2-(4-
iodophenyl)-3-(4-nitrophenol)-5-phenyltetrazolium chloride to form a red formazan dye.. the
superoxide dismutase activity is then measured by the degree of inhibiton of this reaction
GPx (U/L)
This method is based on that of Paglia and Valentine. Glutathione Peroxidase (GPx) catalses of the
oxidation of glutathione by cumene hydroperoxide. In the presence of glutathione (GSSG) is
immediately converted to the reduced form with a concomitant oxidation of NADPH to NADP. The decrease in absorbance at 340 nm is measured
Referanslar
Paglia, D.E. and Valentine, W.N., J. Lab. Clin. Med., 1967; 70: 158.
Prohaska, J.R., Oh, S.H., Hoekstra, W.G. & Ganther,
H.E. Biochem. & Biophys. Res. Comm. 1977; 74: 64.
Kraus, R.J. & Ganther, H. E. Biochem. & Biophys. Res. Comm 1980; 96: 1116.
Catalase Assay Principle
The reaction that catalase (CAT) decomposes H2O2 can be quickly stopped by ammonium molybdate. The residual H2O2 reacts with ammonium molybdate to generate a yellowish complex.
CAT activity can be calculated by production of the yellowish complex at 405 nm.
Paraoxonase-1 PON-1) U/L
Measurement of paraoxonase activity;
Paraoxonase activity was measured using
commercially available kits (Relassay, Turkey).
The rate of paraoxon hydrolysis (diethylpnitrophenylphosphate)
was measured by monitoring the increase of
absorption at 412 nm at 37 °C. The amount of generated p-nitrophenol
was calculated from the molar absorption coefficient at pH 8.5, which
was 18.290 M−1 cm−1 Paraoxonase activity was expressed as U/L serum
lgA mg/dL
Immunoglobulins A (IgA) selectively react with an anti-IgA antibody and form an immunocomplex.
The produced turbidity is proportional to the concentration of IgA in the sample, and can be measured at the wavelenght of 600 nm
(Otto Scientific)
lgM mg/dL
Immunoglobulins M (IgM) selectively react with an antiIgM antibody and form an immunocomplex.
The produced turbidity is proportional to the concentration of IgM in the sample, and can be measured at the wavelenght of 340 nm.
(Otto Scientific)
Immunoglobulin G Assay Principle
This kit is an enzyme -linked ımmunosorbent assay.(elisa). Add samples to the wells pre-coated with a monoclonal antibody.
Then biotin-conjugated target antigen are added to the wells. The antigens in the standards or sample compete with the biotin-conjugated antigen to the bind to the capture antibody and incubate.
Unbound antigen is washed away during a washing step.An avidin-HRP is then added and then incubate.Unbound avidin hrp is washed away during a washing step.TMB Subsrate is then added and color develops.
The reaction is stopped by addition of acidic stop solution and color changes into yellow that can be measured at 450 nm. The intensity of the color developed in inversely proportional to the concentration of in the sample.
The concentratıon of IgG in the sample is then determined by comparing the O.D of the samples to the standard curve.