## Sayfa1
YÖNTEMLER
TAU
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific
to Human MAPτ . Standards or samples are added to the micro ELISA plate wells and combined with the specific antibody.
Then a biotinylated detection antibody specific for Human MAPτ and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to
each micro plate well and incubated. Free components are washed away. The substrate solution is added to each well.
Only those wells that contain Human MAPτ, biotinylated detection antibody and Avidin-HRP conjugate will appear blue in color.
The enzyme-substrate reaction is terminated by the addition of stop solution and the color turns yellow.
The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm.
The OD value is proportional to the concentration of Human MAPτ. You can calculate the concentration of Human MAPτ in the samples by comparing the OD of the samples to the standard curve.
(Marka: Elabscience)
MIDKINE
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to Human MK .
Standards or samples are added to the micro ELISA plate wells and combined with the specific antibody.
Then a biotinylated detection antibody specific for Human MK and Avidin-Horseradish Peroxidase (HRP) conjugate
are added successively to each micro plate well and incubated. Free components are washed away. The substrate solution is added to each well.
Only those wells that contain Human MK, biotinylated detection antibody and Avidin-HRP conjugate will appear blue in color.
The enzyme-substrate reaction is terminated by the addition of stop solution and the color turns yellow.
The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm. The OD value is proportional to the concentration of Human MK.
You can calculate the concentration of Human MK in the samples by comparing the OD of the samples to the standard curve.
(Marka: Elabscience)
Synuclein Alpha
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to Human SNCα .
Standards or samples are added to the micro ELISA plate wells and combined with the specific antibody.
Then a biotinylated detection antibody specific for Human SNCα and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each micro plate well and incubated.
Free components are washed away. The substrate solution is added to each well. Only those wells that contain Human SNCα,
biotinylated detection antibody and Avidin-HRP conjugate will appear blue in color. The enzyme-substrate reaction is terminated by the addition of
stop solution and the color turns yellow. The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm.
The OD value is proportional to the concentration of Human SNCα. You can calculate the concentration of Human SNCα in the samples by comparing the OD of the samples to the standard curve.
(Marka: Elabscience)