## Biyokimya
Numune Adı | AST (U/L) | ALT (U/L) | ALP (U/L) | UREA (mg/dl) | BUN (mg/dl) | CREA (mg/dl) | CHOL (mg/dl) | TG (mg/dl) | HDL (mg/dl) | LDL (mg/dl) | LDH ( U/L) | ALB (g/dl) | Ca (mg/dl) | UA (mg/dl) | TAS(mmol/L) | TOS (µmol/L) | OSI | NOT
Sample-1 | 167.4 | 41.5 | 466 | 45.5 | 21.2617 | 0.84 | 31 | 106 | 30.3 | 8 | 1743 | 3.65 | 10.8 | 1.06 | 1.58 | 29.5 | 1.8671 | hemolizli
Sample-2 | 121.6 | 63.9 | 503 | 38.3 | 17.8972 | 1.17 | 15 | 48 | 29.4 | 5 | 1757 | 3.43 | 10.4 | 0.56 | 1.49 | 5.82 | 0.3906
Sample-3 | 125.5 | 61.5 | 314 | 45 | 21.028 | 1.27 | 30 | 107 | 29.5 | 9 | 2057 | 3.11 | 6.3 | 0.72 | 1.31 | 7.5 | 0.57252
Sample-4 | 104.8 | 48 | 366 | 32.1 | 15 | 1.14 | 26 | 72 | 28.3 | 7 | 1442 | 2.74 | 1.8 | 1.21 | 1.28 | 5.88 | 0.45937
Sample-5 | 227.3 | 120.7 | 344 | 43.1 | 20.1402 | 1.4 | 37 | 111 | 39.5 | 10 | 2285 | 3.03 | 9.8 | 0.97 | 1.44 | 15.7 | 1.0903 | hemolizli
Sample-6 | 100.4 | 48 | 433 | 36.1 | 16.8692 | 1.15 | 19 | 39 | 38.8 | 8 | 1077 | 1.25 | 8.8 | 0.55 | 1.3 | 3.4 | 0.26154
Sample-7 | 123.5 | 42.9 | 432 | 86.1 | 40.2336 | 2.17 | 56 | 104 | 61.4 | 24 | 1207 | 3.31 | 10.3 | 0.39 | 1.31 | 8.39 | 0.64046
Sample-8 | 177.1 | 53.7 | 339 | 55.8 | 26.0748 | 1.49 | 70 | 96 | 72.9 | 24 | 1403 | 3.23 | 10.5 | 0.74 | 1.28 | 6 | 0.46875
Sample-9 | 194.6 | 46 | 334 | 56.1 | 26.215 | 1.56 | 48 | 100 | 51 | 14 | 592 | 2.94 | 10.4 | 1 | 1.33 | 11.3 | 0.84962 | hemolizli
Sample-10 | 101.6 | 22.6 | 363 | 53.2 | 24.8598 | 1.63 | 34 | 74 | 33.9 | 14 | 1500 | 3.01 | 10 | 0.86 | 1.4 | 11.5 | 0.82143 | hemolizli
Sample-11 | 82.6 | 25 | 310 | 38.9 | 18.1776 | 1.45 | 53 | 76 | 50.8 | 17 | 745 | 2.94 | 10.3 | 0.49 | 1.14 | 4.43 | 0.3886
Sample-12 | 146.5 | 42 | 276 | 63.5 | 29.6729 | 1.66 | 57 | 88 | 57.6 | 19 | 916 | 2.83 | 10.5 | 1.03 | 1.24 | 27.4 | 2.2097 | hemolizli
Sample-13 | 155.3 | 61.9 | 390 | 40.4 | 18.8785 | 1.3 | 36 | 126 | 30.6 | 11 | 1962 | 3.31 | 10.4 | 1.46 | 2.14 | 41.9 | 1.9579 | hemolizli
Sample-14 | 162.5 | 53 | 340 | 36.6 | 17.1028 | 1.24 | 33 | 83 | 32.4 | 10 | 2354 | 3.27 | 10.7 | 0.98 | 1.78 | 16.2 | 0.91011 | hemolizli
Sample-15 | 222.7 | 66.9 | 684 | 31.2 | 14.5794 | 1.37 | 29 | 80 | 27.3 | 9 | 2133 | 2.89 | 10.3 | 1.91 | 1.7 | 23.5 | 1.3824 | hemolizli
Sample-16 | 93.5 | 62.2 | 219 | 28.5 | 13.3178 | 0.97 | 27 | 71 | 27.4 | 8 | 1320 | 2.31 | 9 | 0.43 | 1.3 | 9.91 | 0.76231
Sample-17 | 103.1 | 58.4 | 278 | 30.6 | 14.2991 | 1.15 | 28 | 72 | 29.5 | 7 | 1724 | 2.92 | 10 | 0.68 | 1.51 | 14.2 | 0.9404
Sample-18 | 315.4 | 118.7 | 428 | 35.2 | 16.4486 | 1.34 | 37 | 103 | 31.8 | 9 | 2811 | 3.31 | 10.3 | 1.82 | 2.13 | 53.2 | 2.4977 | yüksek hemolizli
Sample-19 | 134.6 | 68.3 | 514 | 30 | 14.0187 | 1.31 | 43 | 107 | 35.2 | 12 | 2403 | 3.4 | 10.6 | 0.8 | 1.48 | 5.97 | 0.40338
Sample-20 | 140.2 | 59.6 | 652 | 30.6 | 14.2991 | 1.32 | 43 | 83 | 29.6 | 12 | 2384 | 3.03 | 9.9 | 0.61 | 1.12 | 4.78 | 0.42679
Sample-21 | 242.5 | 58.7 | 266 | 40.1 | 18.7383 | 1.4 | 45 | 56 | 38.3 | 18 | 2015 | 2.79 | 10 | 0.89 | 1.21 | 27.3 | 2.2562 | hemolizli
Sample-22 | 251.6 | 155.1 | 386 | 40.9 | 19.1121 | 1.35 | 39 | 190 | 35.8 | 9 | 1964 | 3.19 | 10.7 | 1.46 | 1.62 | 32.5 | 2.0062 | hemolizli
Sample-23 | 143.6 | 64.1 | 378 | 36.7 | 17.1495 | 1.15 | 32 | 84 | 44.8 | 11 | 2301 | 2.9 | 9.8 | 0.54 | 1.11 | 8.39 | 0.75586
Sample-24 | 130.7 | 56.9 | 270 | 29.8 | 13.9252 | 1.26 | 34 | 94 | 36.1 | 10 | 1001 | 3.17 | 9.9 | 0.4 | 1.25 | 5.99 | 0.4792
Sample-25 | 134.8 | 26.9 | 119 | 31.1 | 14.5327 | 0.84 | 35 | 50 | 31.8 | 8 | 1333 | 4.28 | 2.9 | 1.97 | 1.07 | 6.16 | 0.5757
Sample-26 | 124.1 | 25.4 | 230 | 105.1 | 49.1121 | 2.23 | 70 | 79 | 66.3 | 24 | 1509 | 3.19 | 10.4 | 0.47 | 1.47 | 5.75 | 0.39116
Sample-27 | 130.9 | 48.2 | 289 | 78.5 | 36.6822 | 1.5 | 56 | 73 | 55.1 | 20 | 1915 | 3 | 8.2 | 0.52 | 1.54 | 11.6 | 0.75325
Sample-28 | 130 | 47.9 | 283 | 72.6 | 33.9252 | 1.46 | 56 | 71 | 54 | 19 | 1909 | 2.93 | 9.4 | 0.54 | 1.36 | 11.8 | 0.86765 | hemolizli
Sample-29 | 130.8 | 25.6 | 234 | 86.8 | 40.5607 | 2.03 | 69 | 84 | 66.8 | 23 | 2764 | 3.38 | 10.5 | 0.66 | 1.57 | 3.28 | 0.20892
Sample-30 | 118.8 | 26.8 | 177 | 43.5 | 20.3271 | 1.16 | 49 | 82 | 51 | 14 | 1532 | 2.79 | 9.1 | 0.68 | 1.47 | 25.4 | 1.7279 | hemolizli
Sample-31 | 127.3 | 25.3 | 268 | 104 | 48.5981 | 1.97 | 50 | 81 | 49.2 | 14 | 1292 | 3.04 | 8.7 | 0.42 | 1.36 | 6.33 | 0.46544
Sample-32 | 149.5 | 46.4 | 405 | 59.2 | 27.6636 | 1.47 | 71 | 108 | 71.2 | 26 | 2242 | 3.32 | 10.3 | 0.7 | 1.3 | 3.65 | 0.28077
Sample-33 | 208.7 | 64.3 | 392 | 57.4 | 26.8224 | 1.7 | 64 | 77 | 68.5 | 17 | 2583 | 3.09 | 10.3 | 1.3 | 1.47 | 16.3 | 1.1088 | hemolizli
Sample-34 | 124 | 38.3 | 243 | 89.1 | 41.6355 | 2.04 | 60 | 75 | 59.9 | 17 | 1281 | 3.16 | 10.7 | 0.59 | 1.26 | 7.93 | 0.62937
Sample-35 | 302.7 | 56.6 | 284 | 132.5 | 61.9159 | 2.19 | 66 | 112 | 56.8 | 21 | 2952 | 3.34 | 10.4 | 2.1 | 1.97 | 77.2 | 3.9188 | yüksek hemolizli
Sample-36 | 183 | 45.6 | 451 | 62.1 | 29.0187 | 1.95 | 72 | 119 | 72.6 | 20 | 2164 | 3.74 | 10.8 | 0.69 | 1.34 | 6.9 | 0.51493

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
AST: Aspartat Aminotransferaz | Universal | Otto Scientific | OttoBC127 | Kolorimetrik | MINDRAY-BS400
ALT: Alanin aminotransferaz | Universal | Otto Scientific | OttoBC128 | Kolorimetrik | MINDRAY-BS400
CREA: Creatinine | Universal | Otto Scientific | OttoBC139 | Kolorimetrik | MINDRAY-BS400
UREA: Üre | Universal | Otto Scientific | OttoBC157 | Kolorimetrik | MINDRAY-BS400
CHOL: Total Cholesterol | Universal | Otto Scientific | OttoBC135 | Kolorimetrik | MINDRAY-BS400
TG: Triglycerides | Universal | Otto Scientific | OttoBC155 | Kolorimetrik | MINDRAY-BS400
LDL: LDL Cholesterol | Universal | Otto Scientific | OttoBC145 | Kolorimetrik | MINDRAY BS-400
HDL: HDL Cholesterol | Universal | Otto Scientific | OttoBC144 | Kolorimetrik | MINDRAY BS-400
ALP: Alkaline Phosphatase | Universal | Otto Scientific | OttoBC124 | Kolorimetrik | MINDRAY-BS400
TAS(Total Antioxidant Status) | Universal | REL ASSAY | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY | RL0024 | Kolorimetrik | MINDRAY-BS400
LDH: Laktat dehidrogenaz | Universal | Otto Scientific | OttoBC129 | Kolorimetrik | MINDRAY-BS400
UA: Uric Acid | Universal | Otto Scientific | OttoBC158 | Kolorimetrik | MINDRAY-BS400
Calcium | Universal | Otto Scientific | OttoBC133 | Kolorimetrik | MINDRAY-BS400
ALB: Albumin | Universal | Otto Scientific | OttoBC123 | Kolorimetrik | MINDRAY-BS400
Cholesterol Total mg/dl
Cholesterol ester + H2O Cholesterol + fatty acids
Cholesterol esters are ceaved by the action of choesterol esterase to yield free
choesterol and fatty acids Cholesterol oxidase Cholesterol + O2 Cholesten-3-on + H2O2
Peroxidase
2H2O2 + Phenol + 4-Aminoantipyrine Quinoneimine dye + 4 H2O
Cholesterol is converted by oxygen with the aid of cholesterol oxidase to A4- Cholestenone and hydrogen peroxide.
Hydrogen peroxide created forms a red dyestuff by reacting with 4-aminoantipyrine and phenol under the catalytic action of peroxidase.
The color intensity is directly proportional to the concentration of cholesterol and can be determined photometrically.
Triglycerides mg/dl
Triglycerides in the sample originates, by means of the coupled reactions described below, acoloured complex that can be measured by spectrophotometry.
Triglycerides + H2O lipase Glycerol + Fatty acids
Glycerol + ATP glycerol kinase Glycerol – 3 – P + ADP
Glycerol – 3 –P + O2 G-3-P-oxidase Dihidroxyacetone – P +H2O2
2 H2O2 + 4 – Aminoantipyrine + 4 – Chlorophenol G-3-P-oxidas Quinoneimine + 4 H2O
Creatinine mg/L
Immunoturbidimetric assay
Anti-CRP antibodies react with antigen in the sample to form an ntigen/antibody complex. Following agglutination, this is measured turbidimetrically.
Addition of PEG allows the reaction to progress rapidly to the end point,increases sensitivity, and reduces the risk of samples containing excess antigen
producing false negative results.
Urea (BUN) mg/dl
Urea is hydrolysed in presence of urease to produce ammonia and CO2. The ammonia produced combines with 2 – oxoglutarate and NADH in presence of GLDH to yield glutamate and NAD.
urease
Urea+H2O+2H+ 2 NH4+ + 2+ CO2
GLDH
2 NH4+ + 2-Oxoglutarate + 2 NADH H2O + 2 NAD+ + Gl utamate The decrease in absorbance due to consumption of NADH is measured kinetically.
AST U/L
UV test according to a standarrized method
Sample and addition of R1 (buffer)
Addition of R2 and start of reaction: AST
α-ketoglutarate + L-aspartate L- glutamate + oxaloasetate
AST is the enzyme which catalyzes this equilibrium reaction. The oxaloacetate in- crease is measured in a subsequent indicator reaction which is catalyzed by malate dehydrogenase.
MDH
oxalacetate + NADH + H+ L-Malate + NAD+
In the second reaction, NADH is oxidized to NAD. The rate of decrease in NADH
(Measured photometrically) is directly proportional to the rate of formation of
oxaloasetate, and thus the AST activity.
ALT U/L
UV test according to the IFCC method.
ALT
L-Alanin + 2-Oxoglutarate ⎯⎯ L-Glutamate + Pyruvat
Alkaline Phosphatase (ALP) U/L
Colorimetric assay in accordance with a standardized method.
ALP, Mg2
p - Nitrophenylphosphate+ H2O Phosphate + p - Nitrophenol
In the presence of magnesium and zinc ions, p-nitrophenyl phosphate is hydrolyzed by phosphatases to form phosphate and p-nitrophenol.
In this process AMP serves as transient phosphate acceptor. The release of coloured p-nitrophenol is proportional to the ALP activity and can be measured photometrically.
HDL Cholesterol mg/dl
Enzymatic colorimetric test
• Sample and addition of R1
• Addition of R2 and start of reaction
In the first step LDL, VLDL and Chylomicrons are eliminated and transformed to
non reactive compounds and specific condition for the reaction. By the second
reagent only the HDL-Cholesterol is subject to color reaction
Cholesterol Esterase
Cholesterol ester + H2O Cholesterol + fatty acid
Cholesterol Oxidase
Cholesterol + O2 Cholesten-3-on + H2O2
Peroxidase
H2O2 + phenol + 4-aminoantipyrine quinoneimine dye+4 H2O
LDL Cholesterol mg/dl
İlk adımda, HDL, VLDL ve Şilomikronlar elimine edilir ve reaksiyon için özel koşulda reaktif olmayan bileşiklere dönüştürülür. İkinci reaktif sadece LDL-kolesterol renk reaksiyonudur.
Kolesterol esteraz
Kolesterol ester + H2O kolesterol + yağ asidi
Kolesterol Oksidaz
Kolesterol + O2 kolesten-3-on + H2O2
peroksidaz
H2O2 + fenol + 4- aminoantipirin kinon boyası +4 H2O
Calcium mg/dl
Calcium in the sample reacts with arsenazo III forming a coloured complex that
can be measured by spectrophotometry.
Albumin g/dl
Colorimetric assay, endpoint method
• Sample and addition of R1
• Start of the reaction:
At a pH value of 4.1 albumin displays a sufficiently cationic character to be able to bind with bromocresol green (BCG), any anionic dyestuff, to form a blue-green complex.
pH 4.1 albumin + BCG albumin BCG- complex
The color intensity of the blue-green color is directly proportional to the albumin concentration and can be determined photometrical
Uric Asit mg/dl
Colorimetric endpoint assay
Uricase
Uric acid + 2 H2O + O2 Allantoin + CO 2 + H 2O 2
Uricase cleaves uric acid to form allantoin and hydrogen peroxide.
POD
2H2O2 + 4H+ + phenole + 4-aminoantipyrine quinonimine dye + 4H2O
The increase in absorbance is measured.
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
LDH
Pyruvat + NADH + H+ ⎯⎯ D-Lactate+ NAD+
The enzyme alanine aminotransferase (EC 2.6.1.2; L-Alanine:2-Oxoglutarate Aminotransferase,
ALT or A1aAT; Glutamate Pyruvate Transaminase, GPT) catalyzes the tran- saminase reaction between L-Alanine and 2-Oxoglutarate.
The pyruvate formed, is reduced to lactate in the presence of LDH. As the reactions proceed,
NADH is oxidized to NAD+. The disappearance of NADH per unit time is followed by measuring the decrease in absorbance at 340 nm.
(Otto Scientific)