## Sayfa1
YÖNTEMLER
Malondialdehyde (MDA) nmol/L
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.
(Relassay, Turkey)
Nitric Oxide (NO) (µmol/L)
NO ölçümü Griess yöntemi esas alınarak gerçekleştirilmiştir.
NO çok kısa yarı ömürlü olduğu için hızla metabolitleri olan nitrit ve nitrata dönüşür.
Nitrit doğrudan, nitrat ise nitrite indirgenerek Griess reaktifiyle ölçülür.
Griess yönteminde; sülfanilamidin amino grubu asit ortamda, nitrit ile reaksiyona girerek
diazotizasyona uğrar ve Naftiletilendiamin (NED) ile mor renkli bir azo ürünü oluşturur.
Oluşan renk spektrometre cihazında 540 nm dalga boyunda okunduktan sonra nitrit
standartları kullanılarak hazırlanmış kalibrasyon eğrisine göre plazma
NO düzeyleri indirekt olarak hesaplanır.
(Relassay, Turkey)