## Sayfa1
YÖNTEMLER
Malondialdehyde (MDA) nmol/L
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.
(Relassay, Turkey)
Super Oxide Dismutase (SOD) U/ml
The role of speroxide dismutase is to accelerate the dismutation of the toxic radical, produced
during oxidative energy processes to hydrogen peroxide and molecular oxygen. This method
employs xanthine and xanthine oxidase to generate superoxide radicals which react with 2-(4-
iodophenyl)-3-(4-nitrophenol)-5-phenyltetrazolium chloride to form a red formazan dye.. the
superoxide dismutase activity is then measured by the degree of inhibiton of this reaction
(Relassay, Turkey)
Catalase (CAT) U/L
This colorimetric assay involves two steps. Sample is first incubated with a known amount of
hydrogen peroxide. Sample converts hydrogen peroxide to water and oxygen. The ratio is
proportional to the concentration of catalase. The enzyme is stopped and the remaining
hydrogen peroxide, following a fixed incubation period, is determined using a chromogen.
The resulting absorbance is measured at 405 nm and the obtained results are expressed as U/L.
(Relassay, Turkey)
Insulin
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to Rat INS.
Standards or samples are added to the micro ELISA plate wells and combined with the specific antibody. Then a biotinylated detection
antibody specific for Rat INS and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each micro plate well and incubated.
Free components are washed away. The substrate solution is added to each well. Only those wells that contain Rat INS, biotinylated detection
antibody and Avidin-HRP conjugate will appear blue in color. The enzyme-substrate reaction is terminated by the addition of stop solution and the
color turns yellow. The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm. The OD value is proportional to
the concentration of Rat INS. You can calculate the concentration of Rat INS in the samples by comparing the OD of the samples to the standard curve.
IFN-γ
This CLIA kit uses the Sandwich-CLIA principle. The micro CLIA plate provided in this kit has been pre-coated with an antibody specific to
Rat IFN-γ. Standards or samples are added to the micro CLIA plate wells and combined with the specific antibody.
Then a biotinylated detection antibody specific for Rat IFN-γ and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each
micro plate well and incubated. Free components are washed away. The substrate solution is added to each well.
Only those wells that contain Rat IFN-γ, biotinylated detection antibody and Avidin-HRP conjugate will appear fluorescence.
The Relative light unit (RLU) value is measured by the Chemiluminescence immunoassay analyzer.
The RLU value is positively associated with the concentration of Rat IFN-γ. You can calculate the concentration of
Rat IFN-γ in the samples by comparing the RLU value of the samples to the standard curve.
C-Peptide
This Kit is an Enzyme-Linked Immunosorbent Assay (ELISA). The plate has been pre-coated with Mouse C-P antibody. C-P present in the sample is added
and binds to antibodies coated on the wells. And then biotinylated Mouse C-P Antibody is added and binds to C-P in the sample.
Then Streptavidin-HRP is added and binds to the Biotinylated C-P antibody. After incubation unbound Streptavidin- HRP is
washed away during a washing step. Substrate solution is then added and color develops in proportion to the amount of Mouse C-P.
The reaction is terminated by addition of acidic stop solution and absorbance is measured at 450 nm.