## Sayfa1
YÖNTEMLER
Thiol/Disulfide Homeostasis (µmol/L)
Tests were measured using a novel automatic and spectrophotometric method developed by Erel and Neselioglu*
which is avaliable commercially (Rel Assay Diagnostics, Turkey) In this method, dynamic and reducible disulfide bonds
in the samples were reduced to free functional thiol groups by using sodium borohydride. In order to prevent the reduction
of unused reduced sodium borohydride to dithionite-2 nitrobenzoic (DTNB), NaBH4 was removed with formaldehyde. Native thiol (NT) and total thiol (TT)
levels were determined after reaction with DTNB and their levels were measured ultimately. Half of the difference of the result obtained
by the subtraction of native thiol amount from total thiol content indicated the disulfide (DS) level.
(Relassay, Turkey)
Testosterone
This assay employs the competitive inhibition enzyme immunoassay technique. A monoclonal antibody specific to testosterone has been pre-coated
onto a microplate. A competitive inhibition reaction is launched between biotin labeled testosterone and unlabeled testosterone
(Standards or samples) with the pre-coated antibody specific to testosterone. After incubation the unbound conjugate is washed off.
Next, avidin conjugated to Horseradish Peroxidase (HRP) is added to each microplate well and incubated. The amount of bound HRP
conjugate is reverse proportional to the concentration of testosterone in the sample. After addition of the substrate solution,
the intensity of color developed is reverse proportional to the concentration of testosterone in the sample.
(CLOUD-CLONE)