## Colorimetric
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI | PON1(U/L) | TTL(µmol/L) | NTL(µmol/L) | Disülfit | NO (µmol/L) | SOD (U/ml) | GPX (U/L) | CAT (U/mL)
Sample-1 | 1.22 | 8.32 | 0.68197 | 128.8 | 300 | 227 | 36.5 | 4.7222 | 397 | 720 | 6.5
Sample-2 | 1.43 | 8.93 | 0.62448 | 494.1 | 291 | 238 | 26.5 | 10.2778 | 455 | 312 | 13
Sample-4 | 1.68 | 11.3 | 0.67262 | 423.06 | 473 | 375 | 49 | 1.3889 | 370 | 361 | 23.4
Sample-5 | 1.7 | 15.7 | 0.92353 | 708.4 | 466 | 318 | 74 | 2.7778 | 394 | 228 | 9.1
Sample-7 | 1.57 | 19.3 | 1.2293 | 473.2 | 490 | 352 | 69 | 1.3889 | 208 | 531 | 15.6
Sample-8 | 1.57 | 8.91 | 0.56752 | 445.7 | 425 | 201 | 112 | 1.6667 | 457 | 234 | 6.5
Sample-9 | 1.5 | 19.2 | 1.28 | 602.8 | 421 | 325 | 48 | 1.3889 | 228 | 424 | 13
Sample-10 | 1.8 | 19.5 | 1.0833 | 754.5 | 516 | 482 | 17 | 2.2222 | 329 | 525 | 10.4
Sample-11 | 1.86 | 10.4 | 0.55914 | 398.2 | 362 | 253 | 54.5 | 0.83333 | 422 | 162 | 9.1
Sample-12 | 1.57 | 8.14 | 0.51847 | 438.1 | 189 | 128 | 30.5 | 2.5 | 347 | 150 | 6.5
Sample-14 | 1.61 | 12.2 | 0.75776 | 528.5 | 343 | 245 | 49 | 4.1667 | 219 | 474 | 11.7
Sample-15 | 1.58 | 17.1 | 1.0823 | 621.1 | 437 | 376 | 30.5 | 6.3889 | 265 | 355 | 31.2
Sample-16 | 1.64 | 30.8 | 1.878 | 280.8 | 549 | 299 | 125 | 4.7222 | 198 | 641 | 35.1
Sample-17 | 1.61 | 17.9 | 1.1118 | 452.05 | 506 | 400 | 53 | 2.7778 | 175 | 335 | 10.4
Sample-18 | 1.66 | 18.7 | 1.1265 | 138.9 | 403 | 378 | 12.5 | 2.2222 | 230 | 707 | 3.9
Sample-19 | 1.66 | 16.1 | 0.96988 | 484.1 | 419 | 353 | 33 | 3.6111 | 264 | 365 | 9.1
Sample-20 | 1.52 | 11.04 | 0.72632 | 339 | 261 | 145 | 58 | 3.6111 | 254 | 582 | 6.5
Sample-31 | 1.65 | 27.1 | 1.6424 | 584.5 | 677 | 428 | 124.5 | 5.5556 | 202 | 500 | 41.6
Sample-32 | 1.45 | 14.2 | 0.97931 | 306.6 | 353 | 214 | 69.5 | 3.3333 | 134 | 457 | 15.6
Sample-33 | 1.48 | 9.05 | 0.61149 | 468.7 | 420 | 288 | 66 | 6.6667 | 345 | 227 | 9.1
Sample-34 | 1.5 | 12.6 | 0.84 | 161.9 | 377 | 260 | 58.5 | 1.1111 | 140 | 333 | 10.4
Sample-35 | 1.66 | 14.7 | 0.88554 | 500.7 | 304 | 278 | 13 | 7.5 | 257 | 244 | 52
Sample-36 | 1.39 | 18.04 | 1.2978 | 514.6 | 362 | 242 | 60 | 2.5 | 140 | 149 | 13
Sample-37 | 1.34 | 10.4 | 0.77612 | 202.2 | 282 | 180 | 51 | 4.7222 | 384 | 382 | 11.7
Sample-38 | 1.6 | 18.6 | 1.1625 | 486.6 | 457 | 374 | 41.5 | 20.2778 | 133 | 372 | 22.1
Sample-39 | 2.18 | 21.8 | 1 | 550.6 | 433 | 330 | 51.5 | 6.9444 | 149 | 522 | 15.6
Sample-40 | 1.54 | 17.4 | 1.1299 | 497.01 | 411 | 212 | 99.5 | 18.3333 | 93 | 544 | 10.4
Sample-41 | 1.47 | 12.2 | 0.82993 | 499.7 | 373 | 308 | 32.5 | 8.6111 | 389 | 639 | 7.8
Sample-42 | 1.57 | 9.02 | 0.57452 | 444.7 | 361 | 329 | 16 | 17.7778 | 124 | 333 | 63.7
Sample-43 | 1.52 | 10.7 | 0.70395 | 517.6 | 326 | 255 | 35.5 | 16.9444 | 362 | 352 | 2.6
Sample-44 | 1.4 | 6.33 | 0.45214 | 494.1 | 359 | 199 | 80 | 8.8889 | 141 | 213 | 2.6
Sample-45 | 1.42 | 19.7 | 1.3873 | 518.9 | 242 | 198 | 22 | 4.4444 | 245 | 156 | 7.8
Sample-46 | 2.04 | 65.7 | 3.2206 | 531.9 | 782 | 434 | 174 | 4.7222 | 129 | 979 | 58.5
Sample-47 | 1.63 | 10.7 | 0.65644 | 351.9 | 194 | 86 | 54 | 30 | 385 | 660 | 35.1
Sample-48 | 1.54 | 12.5 | 0.81169 | 392.1 | 346 | 208 | 69 | 21.1111 | 526 | 361 | 5.2
Sample-49 | 1.56 | 20.1 | 1.2885 | 641.9 | 302 | 194 | 54 | 8.3333 | 488 | 288 | 15.6
Sample-50 | 1.79 | 16.7 | 0.93296 | 635.9 | 365 | 277 | 44 | 14.1667 | 504 | 570 | 10.4
Sample-51 | 1.29 | 8.35 | 0.64729 | 345.7 | 263 | 146 | 58.5 | 4.4444 | 389 | 236 | 13
Sample-52 | 1.55 | 9.45 | 0.60968 | 589.6 | 388 | 285 | 51.5 | 5 | 361 | 268 | 9.1
Sample-53 | 1.19 | 11.1 | 0.93277 | 190.7 | 261 | 177 | 42 | 5.8333 | 232 | 211 | 3.9
Sample-54 | 1.4 | 7.77 | 0.555 | 111 | 224 | 181 | 21.5 | 11.1111 | 294 | 507 | 1.3
Sample-55 | 1.73 | 11.07 | 0.63988 | 502.4 | 245 | 149 | 48 | 5.8333 | 315 | 741 | 9.1
Sample-56 | 1.56 | 9.24 | 0.59231 | 159.6 | 154 | 103 | 25.5 | 15 | 129 | 885 | 63.7
Sample-57 | 1.78 | 17.6 | 0.98876 | 838.3 | 379 | 257 | 61 | 4.1667 | 162 | 605 | 18.2
Sample-58 | 1.09 | 7.34 | 0.67339 | 160.9 | 222 | 144 | 39 | 3.8889 | 268 | 168 | 6.5
Sample-59 | 1.48 | 12.9 | 0.87162 | 84.3 | 228 | 167 | 30.5 | 6.6667 | 129 | 858 | 20.8
Sample-60 | 1.64 | 13.9 | 0.84756 | 307.4 | 357 | 286 | 35.5 | 6.6667 | 190 | 537 | 22.1
Sample-61 | 1.53 | 14.8 | 0.96732 | 324.1 | 268 | 234 | 17 | 10.8333 | 184 | 716 | 16.9
Sample-62 | 1.61 | 10.02 | 0.62236 | 545.4 | 216 | 156 | 30 | 5.8333 | 254 | 442 | 10.4

## MDA
| absorbans | abs-blank | expected | result
std1 | 2.511 | 2.481 | 100 | 99.1116
std2 | 1.703 | 1.673 | 50 | 52.4026
std3 | 1.024 | 0.994 | 25 | 24.2976
std4 | 0.543 | 0.513 | 12.5 | 10.5481
std5 | 0.318 | 0.288 | 6.25 | 5.8701
std6 | 0.152 | 0.122 | 3.125 | 3.1354
blank | 0.03 | 0 | 0 | 1.5134
concentratıon (nmol/L)
Numune | absorbans | blank | abs-blank | result(nmol/L)
Sample-1 | 1.162 | 0.03 | 1.132 | 29.1855
Sample-2 | 0.407 | 0.03 | 0.377 | 7.5869
Sample-4 | 0.558 | 0.03 | 0.528 | 10.8997
Sample-5 | 0.493 | 0.03 | 0.463 | 9.412
Sample-7 | 0.621 | 0.03 | 0.591 | 12.4307
Sample-8 | 0.345 | 0.03 | 0.315 | 6.3725
Sample-9 | 0.69 | 0.03 | 0.66 | 14.2081
Sample-10 | 0.595 | 0.03 | 0.565 | 11.7883
Sample-11 | 1.039 | 0.03 | 1.009 | 24.8085
Sample-12 | 0.556 | 0.03 | 0.526 | 10.8526
Sample-14 | 1.09 | 0.03 | 1.06 | 26.5828
Sample-15 | 1.035 | 0.03 | 1.005 | 24.6718
Sample-16 | 0.759 | 0.03 | 0.729 | 16.0906
Sample-17 | 0.426 | 0.03 | 0.396 | 7.9761
Sample-18 | 0.419 | 0.03 | 0.389 | 7.8318
Sample-19 | 0.832 | 0.03 | 0.802 | 18.1967
Sample-20 | 0.332 | 0.03 | 0.302 | 6.1286
Sample-31 | 1.208 | 0.03 | 1.178 | 30.9082
Sample-32 | 0.651 | 0.03 | 0.621 | 13.1906
Sample-33 | 0.906 | 0.03 | 0.876 | 20.4517
Sample-34 | 2.131 | 0.03 | 2.101 | 75.3489
Sample-35 | 0.7 | 0.03 | 0.67 | 14.4744
Sample-36 | 1.157 | 0.03 | 1.127 | 29.001
Sample-37 | 0.471 | 0.03 | 0.441 | 8.9295
Sample-38 | 0.462 | 0.03 | 0.432 | 8.7353
Sample-39 | 0.93 | 0.03 | 0.9 | 21.209
Sample-40 | 1.149 | 0.03 | 1.119 | 28.7071
Sample-41 | 0.453 | 0.03 | 0.423 | 8.5428
Sample-42 | 1.714 | 0.03 | 1.684 | 52.9417
Sample-43 | 0.601 | 0.03 | 0.571 | 11.9352
Sample-44 | 1.754 | 0.03 | 1.724 | 54.9246
Sample-45 | 0.954 | 0.03 | 0.924 | 21.979
Sample-46 | 1.383 | 0.03 | 1.353 | 37.889
Sample-47 | 1.305 | 0.03 | 1.275 | 34.694
Sample-48 | 0.897 | 0.03 | 0.867 | 20.171
Sample-49 | 0.589 | 0.03 | 0.559 | 11.6421
Sample-50 | 1.212 | 0.03 | 1.182 | 31.0602
Sample-51 | 0.534 | 0.03 | 0.504 | 10.3395
Sample-52 | 0.652 | 0.03 | 0.622 | 13.2163
Sample-53 | 1.066 | 0.03 | 1.036 | 25.7407
Sample-54 | 1.016 | 0.03 | 0.986 | 24.0272
Sample-55 | 1.814 | 0.03 | 1.784 | 57.9652
Sample-56 | 1.64 | 0.03 | 1.61 | 49.3665
Sample-57 | 0.464 | 0.03 | 0.434 | 8.7783
Sample-58 | 1.753 | 0.03 | 1.723 | 54.8746
Sample-59 | 1.295 | 0.03 | 1.265 | 34.2941
Sample-60 | 1.211 | 0.03 | 1.181 | 31.0221
Sample-61 | 1.887 | 0.03 | 1.857 | 61.7717
Sample-62 | 1.374 | 0.03 | 1.344 | 37.5135

## Materyal-metod
KİT ADI | TÜR | MARKA | Numune Türü | CAT. NO | Yöntem | Kullanılan Cihaz
TAS(Total Antioxidant Status) | Universal | REL ASSAY | Serum | RL0017 | Kolorimetrik | MINDRAY BS-400
TOS(Total Oxidant Status) | Universal | REL ASSAY | Serum | RL0024 | Kolorimetrik | MINDRAY BS-400
PON-1: Paraoxanase-1 | Universal | REL ASSAY | Serum | RL0031 | Kolorimetrik | MINDRAY BS-400
TTL(Total Thıol) | Universal | REL ASSAY | Serum | RL0185 | Kolorimetrik | MINDRAY BS-400
NTL(Natıve Thıol) | Universal | REL ASSAY | Serum | RL0185 | Kolorimetrik | MINDRAY BS-400
N.O: Nitric Oxide | Universal | Elabscıence | Serum | E-BC-K035-S | Kolorimetrik | REL BIOCHEM-REL ASSAY
SOD: Super Oxıde Dismutase | Universal | Otto Scientific | Serum | Otto3047 | Kolorimetrik | MINDRAY-BS400
GPx: Glutathione Peroxidase | Universal | Otto Scientific | Serum | Otto2085 | Kolorimetrik | MINDRAY-BS400
MDA: Malondialdehit | Universal | Otto Scientific | Serum | Otto1001 | Kolorimetrik | REL BIOCHEM-REL ASSAY
CAT: Catalase | Universal | Elabscience | Serum | E-BC-K031-S | Kolorimetrik | REL BIOCHEM-REL ASSAY
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Paraoxonase-1 PON-1) U/L
Measurement of paraoxonase activity;
Paraoxonase activity was measured using
commercially available kits (Relassay, Turkey).
The rate of paraoxon hydrolysis (diethylpnitrophenylphosphate)
was measured by monitoring the increase of
absorption at 412 nm at 37 °C. The amount of generated p-nitrophenol
was calculated from the molar absorption coefficient at pH 8.5, which
was 18.290 M−1 cm−1 Paraoxonase activity was expressed as U/L serum
(Relassay, Turkey)
Thiol/Disulfide Homeostasis
Tests were measured using a novel automatic and spectrophotometric method developed by Erel and Neselioglu*
which is avaliable commercially (Rel Assay Diagnostics, Turkey) In this method, dynamic and reducible disulfide bonds
in the samples were reduced to free functional thiol groups by using sodium borohydride. In order to prevent the reduction
of unused reduced sodium borohydride to dithionite-2 nitrobenzoic (DTNB), NaBH4 was removed with formaldehyde. Native thiol (NT) and total thiol (TT)
levels were determined after reaction with DTNB and their levels were measured ultimately. Half of the difference of the result obtained
by the subtraction of native thiol amount from total thiol content indicated the disulfide (DS) level.
(Relassay, Turkey)
NO Test Principle
NO is easily oxidized to form N0² in vivo or in aqueous solution, and a reddish azo compoun is formed with the color developing agent, and the concentratıon of the azo compound is linearly related to the concentration of NO.
The concentration of NO can be calculated indirectly by measuring the OD value at 550 nm.
The MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm.
Super Oxide Dismutase (SOD) U/ml
The role of speroxide dismutase is to accelerate the dismutation of the toxic radical, produced
during oxidative energy processes to hydrogen peroxide and molecular oxygen. This method
employs xanthine and xanthine oxidase to generate superoxide radicals which react with 2-(4-
iodophenyl)-3-(4-nitrophenol)-5-phenyltetrazolium chloride to form a red formazan dye.. the
superoxide dismutase activity is then measured by the degree of inhibiton of this reaction
GPx (U/L)
This method is based on that of Paglia and Valentine. Glutathione Peroxidase (GPx) catalses of the
oxidation of glutathione by cumene hydroperoxide. In the presence of glutathione (GSSG) is
immediately converted to the reduced form with a concomitant oxidation of NADPH to NADP. The decrease in absorbance at 340 nm is measured
Referanslar
Paglia, D.E. and Valentine, W.N., J. Lab. Clin. Med., 1967; 70: 158.
Prohaska, J.R., Oh, S.H., Hoekstra, W.G. & Ganther,
H.E. Biochem. & Biophys. Res. Comm. 1977; 74: 64.
Kraus, R.J. & Ganther, H. E. Biochem. & Biophys. Res. Comm 1980; 96: 1116.
Catalase Assay Principle
The reaction that catalase (CAT) decomposes H2O2 can be quickly stopped by ammonium molybdate. The residual H2O2 reacts with ammonium molybdate to generate a yellowish complex.
CAT activity can be calculated by production of the yellowish complex at 405 nm.