## fT3-A grubu
0.059 | 1.398 | 1.17 | 1.175 | 0.508 | 1.055 | 1.19 | 1.213 | 1.04
0.503 | 1.314 | 1.32 | 1.173 | 1.025 | 0.675 | 0.959 | 1.195 | 1.067
0.88 | 1.314 | 1.264 | 1.185 | 1.025 | 0.965 | 1.025 | 1.246 | 0.627
1.113 | 1.407 | 1.174 | 1.367 | 0.851 | 1.029 | 0.801 | 0.636 | 1.088
1.304 | 0.395 | 1.23 | 1.086 | 0.981 | 0.818 | 1.064 | 1.21
1.462 | 1.175 | 1.189 | 1.139 | 1.189 | 1.057 | 0.947 | 0.963
1.9929 | 1.466 | 1.098 | 1.317 | 0.926 | 1.186 | 0.782 | 0.93
| 1.001 | 0.652 | 1.158 | 1.07 | 1.219 | 0.944 | 0.95
| abs | expected | result
std1 | 0.059 | 100 | 98.5618
std2 | 0.503 | 50 | 52.8063
std3 | 0.88 | 25 | 24.8859
std4 | 1.113 | 12.5 | 12.6494
std5 | 1.304 | 6.25 | 5.4786
std6 | 1.462 | 3.13 | 1.494
blank | 1.9929 | 0 | 1.0214
concentratıon (pg/ml)
Numune | absorbans | Sonuç(pg/ml)
1 | 1.398 | 2.8956
2 | 1.314 | 5.1741
3 | 1.314 | 5.1741
4 | 1.407 | 2.681
5 | 0.395 | 62.6545
6 | 1.175 | 10.0393
7 | 1.466 | 1.416
8 | 1.001 | 18.0528
9 | 1.17 | 10.2397
10 | 1.32 | 4.9949
11 | 1.264 | 6.767
12 | 1.174 | 10.0792
13 | 1.23 | 7.9511
14 | 1.189 | 9.4875
15 | 1.098 | 13.3217
16 | 0.652 | 40.5717
17 | 1.175 | 10.0393
18 | 1.173 | 10.1192
19 | 1.185 | 9.6437
20 | 1.367 | 3.6785
21 | 1.086 | 13.871
22 | 1.139 | 11.5218
23 | 1.317 | 5.0842
24 | 1.158 | 10.7279
25 | 0.508 | 52.3703
26 | 1.025 | 16.8203
27 | 1.025 | 16.8203
28 | 0.851 | 26.6773
29 | 0.981 | 19.1109
30 | 1.189 | 9.4875
31 | 0.926 | 22.1664
32 | 1.07 | 14.6191
33 | 1.055 | 15.337
34 | 0.675 | 38.8229
35 | 0.965 | 19.9777
36 | 1.029 | 16.6189
37 | 0.818 | 28.7879
38 | 1.057 | 15.2403
39 | 1.186 | 9.6045
40 | 1.219 | 8.3516
41 | 1.19 | 9.4486
42 | 0.959 | 20.3074
43 | 1.025 | 16.8203
44 | 0.801 | 29.9052
45 | 1.064 | 14.9044
46 | 0.947 | 20.9745
47 | 0.782 | 31.1782
48 | 0.944 | 21.1429
49 | 1.213 | 8.5737
50 | 1.195 | 9.2552
51 | 1.246 | 7.3837
52 | 0.636 | 41.8104
53 | 1.21 | 8.6857
54 | 0.963 | 20.0873
55 | 0.93 | 21.9369
56 | 0.95 | 20.8068
57 | 1.04 | 16.0707
58 | 1.067 | 14.7614
59 | 0.627 | 42.5151
60 | 1.088 | 13.7787

## fT3-B grubu
0.059 | 1.271 | 1.201 | 0.912 | 1.072 | 1.372 | 1.371 | 0.969 | 0.72
0.503 | 1.342 | 1.123 | 1.047 | 0.884 | 0.87 | 0.982 | 0.437 | 1.21
0.88 | 1.093 | 1.166 | 0.911 | 1.046 | 1.259 | 1.218 | 1.265 | 0.976
1.113 | 1.216 | 1.078 | 1.177 | 1.227 | 0.759 | 1.248 | 1.33 | 1.222
1.304 | 1.01 | 1.052 | 0.801 | 0.948 | 1.171 | 1.379 | 1.135
1.462 | 1.155 | 1.187 | 0.996 | 1.125 | 1.018 | 0.967 | 0.741
1.9929 | 1.149 | 1.168 | 1.053 | 1.047 | 1.065 | 0.98 | 0.955
| 0.972 | 1.248 | 1.336 | 1.139 | 0.93 | 1.166 | 1.088
| abs | expected | result
std1 | 0.059 | 100 | 98.5618
std2 | 0.503 | 50 | 52.8063
std3 | 0.88 | 25 | 24.8859
std4 | 1.113 | 12.5 | 12.6494
std5 | 1.304 | 6.25 | 5.4786
std6 | 1.462 | 3.13 | 1.494
blank | 1.9929 | 0 | 1.0214
concentratıon (pg/ml)
Numune | absorbans | Sonuç(pg/ml)
1 | 1.271 | 6.5334
2 | 1.342 | 4.3592
3 | 1.093 | 13.5493
4 | 1.216 | 8.4623
5 | 1.01 | 17.5858
6 | 1.155 | 10.8516
7 | 1.149 | 11.1008
8 | 0.972 | 19.5962
9 | 1.201 | 9.0255
10 | 1.123 | 12.2101
11 | 1.166 | 10.4013
12 | 1.078 | 14.2428
13 | 1.052 | 15.4825
14 | 1.187 | 9.5654
15 | 1.168 | 10.3204
16 | 1.248 | 7.3141
17 | 0.912 | 22.9782
18 | 1.047 | 15.7263
19 | 0.911 | 23.0368
20 | 1.177 | 9.9596
21 | 0.801 | 29.9052
22 | 0.996 | 18.3146
23 | 1.053 | 15.4339
24 | 1.336 | 4.5292
25 | 1.072 | 14.5246
26 | 0.884 | 24.6435
27 | 1.046 | 15.7753
28 | 1.227 | 8.0595
29 | 0.948 | 20.9185
30 | 1.125 | 12.123
31 | 1.047 | 15.7263
32 | 1.139 | 11.5218
33 | 1.372 | 3.5476
34 | 0.87 | 25.4969
35 | 1.259 | 6.936
36 | 0.759 | 32.7532
37 | 1.171 | 10.1995
38 | 1.018 | 17.1756
39 | 1.065 | 14.8567
40 | 0.93 | 21.9369
41 | 1.371 | 3.5736
42 | 0.982 | 19.0573
43 | 1.218 | 8.3885
44 | 1.248 | 7.3141
45 | 1.379 | 3.3674
46 | 0.967 | 19.8684
47 | 0.98 | 19.1645
48 | 1.166 | 10.4013
49 | 0.969 | 19.7593
50 | 0.437 | 58.7268
51 | 1.265 | 6.7334
52 | 1.33 | 4.7017
53 | 1.135 | 11.6922
54 | 0.741 | 34.0119
55 | 0.955 | 20.5287
56 | 1.088 | 13.7787
57 | 0.72 | 35.5093
58 | 1.21 | 8.6857
59 | 0.976 | 19.3798
60 | 1.222 | 8.2415

## fT4-A grubu
0.061 | 0.683 | 0.846 | 0.979 | 0.465 | 0.937 | 1.894 | 0.954 | 0.857
0.515 | 0.966 | 1.411 | 0.815 | 0.893 | 0.609 | 0.697 | 1.089 | 1.377
0.89 | 0.965 | 0.808 | 0.943 | 0.928 | 1.175 | 1.391 | 0.798 | 0.889
1.11 | 1.038 | 0.834 | 1.098 | 0.859 | 1.157 | 0.807 | 0.849 | 0.884
1.352 | 0.846 | 1.18 | 0.866 | 0.945 | 0.865 | 1.024 | 0.763
1.478 | 0.839 | 0.932 | 0.76 | 0.837 | 0.79 | 0.794 | 0.859
1.924 | 2.049 | 1.063 | 1.143 | 0.705 | 1.042 | 0.644 | 0.958
| 1.096 | 1.115 | 1.215 | 0.861 | 1.029 | 1.101 | 1.449
std1 | abs | expected | result
std2 | 0.061 | 100 | 98.8755
std3 | 0.515 | 50 | 52.1931
std4 | 0.89 | 25 | 24.7386
std5 | 1.11 | 12.5 | 13.3078
std6 | 1.352 | 6.25 | 4.7278
blank | 1.478 | 3.13 | 1.9168
| 1.924 | 0 | 1.0795
concentratıon (pg/ml)
Numune | absorbans | Sonuç(pg/ml)
1 | 0.683 | 38.6513
2 | 0.966 | 20.3989
3 | 0.965 | 20.4533
4 | 1.038 | 16.6682
5 | 0.846 | 27.4397
6 | 0.839 | 27.8822
7 | 2.049 | 3.3945
8 | 1.096 | 13.9322
9 | 0.846 | 27.4397
10 | 1.411 | 3.2703
11 | 0.808 | 29.8838
12 | 0.834 | 28.2004
13 | 1.18 | 10.3959
14 | 0.932 | 22.2893
15 | 1.063 | 15.4594
16 | 1.115 | 13.0882
17 | 0.979 | 19.6979
18 | 0.815 | 29.4258
19 | 0.943 | 21.6687
20 | 1.098 | 13.8422
21 | 0.866 | 26.1948
22 | 0.76 | 33.1184
23 | 1.143 | 11.8915
24 | 1.215 | 9.0712
25 | 0.465 | 56.6128
26 | 0.893 | 24.5595
27 | 0.928 | 22.5172
28 | 0.859 | 26.6272
29 | 0.945 | 21.5567
30 | 0.837 | 28.0092
31 | 0.705 | 37.0272
32 | 0.861 | 26.5033
33 | 0.937 | 22.0061
34 | 0.609 | 44.3676
35 | 1.175 | 10.5923
36 | 1.157 | 11.3141
37 | 0.865 | 26.2563
38 | 0.79 | 31.0775
39 | 1.042 | 16.4718
40 | 1.029 | 17.1143
41 | 1.894 | 0.69006
42 | 0.697 | 37.6138
43 | 1.391 | 3.7365
44 | 0.807 | 29.9495
45 | 1.024 | 17.3646
46 | 0.794 | 30.8102
47 | 0.644 | 41.6152
48 | 1.101 | 13.7076
49 | 0.954 | 21.0567
50 | 1.089 | 14.2497
51 | 0.798 | 30.5441
52 | 0.849 | 27.2511
53 | 0.763 | 32.9115
54 | 0.859 | 26.6272
55 | 0.958 | 20.8362
56 | 1.449 | 2.4632
57 | 0.857 | 26.7515
58 | 1.377 | 4.0798
59 | 0.889 | 24.7985
60 | 0.884 | 25.0988

## fT4-B grubu
0.061 | 0.759 | 1.073 | 0.55 | 0.632 | 0.701 | 0.684 | 0.712 | 0.63
0.515 | 0.841 | 1.334 | 0.908 | 1.219 | 0.438 | 0.455 | 0.535 | 0.684
0.89 | 0.962 | 0.766 | 0.849 | 1.012 | 0.885 | 0.653 | 0.628 | 0.7
1.11 | 0.892 | 0.844 | 0.778 | 1.03 | 0.643 | 0.601 | 0.575 | 0.856
1.352 | 1.52 | 0.85 | 0.99 | 0.503 | 0.727 | 0.925 | 0.528
1.478 | 0.917 | 1.093 | 1.006 | 0.637 | 0.516 | 0.537 | 0.491
1.924 | 1.03 | 0.92 | 1.036 | 0.509 | 0.919 | 0.314 | 0.588
| 1.055 | 0.89 | 1.573 | 0.961 | 0.63 | 0.631 | 0.647
std1
std2 | abs | expected | result
std3 | 0.061 | 100 | 98.8755
std4 | 0.515 | 50 | 52.1931
std5 | 0.89 | 25 | 24.7386
std6 | 1.11 | 12.5 | 13.3078
blank | 1.352 | 6.25 | 4.7278
| 1.478 | 3.13 | 1.9168
| 1.924 | 0 | 1.0795
concentratıon (pg/ml)
Numune | absorbans | Sonuç(pg/ml)
1 | 0.759 | 33.1876
2 | 0.841 | 27.7554
3 | 0.962 | 20.617
4 | 0.892 | 24.6191
5 | 1.52 | 1.2318
6 | 0.917 | 23.1496
7 | 1.03 | 17.0644
8 | 1.055 | 15.8414
9 | 1.073 | 14.9884
10 | 1.334 | 5.2219
11 | 0.766 | 32.7051
12 | 0.844 | 27.5658
13 | 0.85 | 27.1884
14 | 1.093 | 14.0679
15 | 0.92 | 22.9763
16 | 0.89 | 24.7386
17 | 0.55 | 49.2056
18 | 0.908 | 23.6735
19 | 0.849 | 27.2511
20 | 0.778 | 31.8861
21 | 0.99 | 19.1142
22 | 1.006 | 18.2805
23 | 1.036 | 16.7668
24 | 1.573 | 0.54731
25 | 0.632 | 42.549
26 | 1.219 | 8.9254
27 | 1.012 | 17.9726
28 | 1.03 | 17.0644
29 | 0.503 | 53.2375
30 | 0.637 | 42.1587
31 | 0.509 | 52.714
32 | 0.961 | 20.6717
33 | 0.701 | 37.3199
34 | 0.438 | 59.0737
35 | 0.885 | 25.0386
36 | 0.643 | 41.6926
37 | 0.727 | 35.4378
38 | 0.516 | 52.1065
39 | 0.919 | 23.034
40 | 0.63 | 42.7057
41 | 0.684 | 38.5767
42 | 0.455 | 57.5181
43 | 0.653 | 40.9216
44 | 0.601 | 45.0091
45 | 0.925 | 22.6888
46 | 0.537 | 50.305
47 | 0.314 | 71.0443
48 | 0.631 | 42.6273
49 | 0.712 | 36.5177
50 | 0.535 | 50.4752
51 | 0.628 | 42.8626
52 | 0.575 | 47.1253
53 | 0.528 | 51.0732
54 | 0.491 | 54.2923
55 | 0.588 | 46.0611
56 | 0.647 | 41.3833
57 | 0.63 | 42.7057
58 | 0.684 | 38.5767
59 | 0.7 | 37.3933
60 | 0.856 | 26.8137

## Biyokimya-A grubu
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI | GPX (U/L)
1 | 1.18 | 3.28 | 0.27797 | 607
2 | 1.2 | 3.48 | 0.29 | 659
3 | 1.28 | 3.35 | 0.26172 | 461
4 | 1.35 | 3.27 | 0.24222 | 516
5 | 1.56 | 3.11 | 0.19936 | 488
6 | 1.39 | 3.47 | 0.24964 | 622
7 | 1.48 | 3.26 | 0.22027 | 569
8 | 1.49 | 3.27 | 0.21946 | 606
9 | 1.27 | 3.42 | 0.26929 | 642
10 | 1.12 | 3.49 | 0.31161 | 649
11 | 1.08 | 3.11 | 0.28796 | 588
12 | 1.54 | 3.35 | 0.21753 | 670
13 | 1.56 | 3.37 | 0.21603 | 636
14 | 1.7 | 3.32 | 0.19529 | 665
15 | 1.52 | 3.53 | 0.23224 | 682
16 | 1.39 | 3.53 | 0.25396 | 674
17 | 1.64 | 5.12 | 0.3122 | 698
18 | 1.24 | 3.47 | 0.27984 | 687
19 | 1.14 | 3.29 | 0.2886 | 705
20 | 1.63 | 3.08 | 0.18896 | 647
21 | 1.34 | 3.37 | 0.25149 | 687
22 | 1.51 | 3.73 | 0.24702 | 675
23 | 1.33 | 3.6 | 0.27068 | 670
24 | 1.3 | 3.77 | 0.29 | 707
25 | 1.3 | 3.45 | 0.26538 | 684
26 | 1.41 | 4.01 | 0.2844 | 689
27 | 1.43 | 3.31 | 0.23147 | 686
28 | 1.37 | 3.33 | 0.24307 | 687
29 | 1.7 | 3.4 | 0.2 | 706
30 | 1.84 | 3.37 | 0.18315 | 680
31 | 0.99 | 3.39 | 0.34242 | 673
32 | 1.21 | 3.43 | 0.28347 | 618
33 | 1.39 | 3.34 | 0.24029 | 690
34 | 1.46 | 3.32 | 0.2274 | 673
35 | 1.64 | 3.26 | 0.19878 | 699
36 | 1.58 | 3.41 | 0.21582 | 696
37 | 1.55 | 3.61 | 0.2329 | 674
38 | 1.78 | 3.39 | 0.19045 | 680
39 | 1.21 | 3.34 | 0.27603 | 694
40 | 1.09 | 3.52 | 0.32294 | 671
41 | 1.38 | 2.63 | 0.19058 | 620
42 | 1.16 | 3.83 | 0.33017 | 687
43 | 1.33 | 3.35 | 0.25188 | 669
44 | 1.47 | 3.69 | 0.25102 | 720
45 | 1.62 | 3.48 | 0.21481 | 695
46 | 1.34 | 3.47 | 0.25896 | 693
47 | 0.98 | 3.42 | 0.34898 | 685
48 | 1.22 | 3.36 | 0.27541 | 670
49 | 1.6 | 3.28 | 0.205 | 692
50 | 1.4 | 3.99 | 0.285 | 710
51 | 1.07 | 3.43 | 0.32056 | 544
52 | 1.29 | 3.42 | 0.26512 | 235
53 | 1.41 | 3.4 | 0.24113 | 654
54 | 1.18 | 4.08 | 0.34576 | 651
55 | 1.2 | 3.47 | 0.28917 | 685
56 | 1.18 | 3.28 | 0.27797 | 678
57 | 1.39 | 3.43 | 0.24676 | 595
58 | 1.24 | 3.38 | 0.27258 | 659
59 | 1.18 | 3.37 | 0.28559 | 684
60 | 1.27 | 3.41 | 0.2685 | 664

## Biyokimya-B grubu
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI | GPX (U/L)
1 | 1.49 | 3.4 | 0.22819 | 636
2 | 1.04 | 3.26 | 0.31346 | 561
3 | 1.29 | 3.25 | 0.25194 | 681
4 | 1.18 | 3.56 | 0.30169 | 235
5 | 1.33 | 3.45 | 0.2594 | 603
6 | 1.1 | 3.14 | 0.28545 | 552
7 | 1.18 | 3.46 | 0.29322 | 649
8 | 1.1 | 3.41 | 0.31 | 107
9 | 1.07 | 3.12 | 0.29159 | 677
10 | 1.4 | 3.34 | 0.23857 | 684
11 | 1.26 | 3.6 | 0.28571 | 702
12 | 0.88 | 3.77 | 0.42841 | 677
13 | 1.55 | 3.35 | 0.21613 | 683
14 | 1.09 | 3.53 | 0.32385 | 661
15 | 1.03 | 3.66 | 0.35534 | 673
16 | 1.34 | 3.42 | 0.25522 | 660
17 | 1.02 | 3.56 | 0.34902 | 688
18 | 1.32 | 3.29 | 0.24924 | 682
19 | 1.05 | 3.45 | 0.32857 | 651
20 | 0.93 | 3.51 | 0.37742 | 660
21 | 1.74 | 3.43 | 0.19713 | 658
22 | 1.57 | 3.47 | 0.22102 | 687
23 | 1.41 | 3.31 | 0.23475 | 650
24 | 1.43 | 3.48 | 0.24336 | 261
25 | 1.17 | 3.16 | 0.27009 | 664
26 | 1.07 | 3.1 | 0.28972 | 563
27 | 1.12 | 3.77 | 0.33661 | 673
28 | 1.04 | 3.39 | 0.32596 | 662
29 | 1.24 | 3.33 | 0.26855 | 673
30 | 1.28 | 3.46 | 0.27031 | 633
31 | 1.25 | 3.9 | 0.312 | 540
32 | 1.28 | 3.61 | 0.28203 | 230
33 | 1.14 | 3.56 | 0.31228 | 250
34 | 1.07 | 4.19 | 0.39159 | 572
35 | 0.97 | 3.46 | 0.3567 | 409
36 | 1.15 | 3.44 | 0.29913 | 167
37 | 1.18 | 3.5 | 0.29661 | 696
38 | 1.01 | 3.46 | 0.34257 | 601
39 | 1.38 | 3.91 | 0.28333 | 651
40 | 1.13 | 3.53 | 0.31239 | 682
41 | 0.91 | 3.42 | 0.37582 | 625
42 | 0.89 | 3.42 | 0.38427 | 685
43 | 0.99 | 3.89 | 0.39293 | 439
44 | 1.27 | 3.58 | 0.28189 | 610
45 | 1.34 | 3.45 | 0.25746 | 198
46 | 1.29 | 3.54 | 0.27442 | 407
47 | 1.36 | 3.85 | 0.28309 | 170
48 | 1.29 | 3.61 | 0.27984 | 652
49 | 1.34 | 3.14 | 0.23433 | 669
50 | 1.23 | 3.53 | 0.28699 | 671
51 | 1.34 | 3.43 | 0.25597 | 669
52 | 1.74 | 3.45 | 0.19828 | 473
53 | 1.66 | 3.48 | 0.20964 | 641
54 | 1.23 | 3.84 | 0.3122 | 619
55 | 1.15 | 3.38 | 0.29391 | 609
56 | 1.06 | 3.46 | 0.32642 | 565
57 | 1.27 | 3.61 | 0.28425 | 289
58 | 1.08 | 3.48 | 0.32222 | 357
59 | 1.25 | 3.46 | 0.2768 | 624
60 | 1.28 | 3.5 | 0.27344 | 350

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
TAS(Total Antioxidant Status) | Universal | REL ASSAY | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY | RL0024 | Kolorimetrik | MINDRAY-BS400
GPx: Glutathione Peroxidase | Universal | REL ASSAY | RLD3465 | Kolorimetrik | MINDRAY-BS400
Free Triiodothyronine | Universal | Elabscience | E-EL-0079 | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
Free Thyroxine | Universal | Elabscience | E-EL-0122 | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
fT3 Test Principle
This ELISA kit uses the Competitive-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with fT3.
During the reaction, fT3 in samples or Standard competes with a fixed amount of fT3 on the solid phase supporter for sites on the Biotinylated Detection Ab specific to fT3.
Excess conjugate and unbound sample or standard are washed from the plate, and Avidin conjugated to Horseradish Peroxidase (HRP) are added to each microplate well and incubated.
Then a TMB substrate solution is added to each well. The enzyme-substrate reaction is terminated by the addition of stop solution and the color change is measured spectrophotometrically at a wavelength of 450±2 nm.
The concentration of fT3 in the samples is then determined by comparing the OD of the samples to the standard curve.
fT4 Test Principle
This ELISA kit uses the Competitive-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with fT4.
During the reaction, fT4 in samples or Standard competes with a fixed amount of fT4 on the solid phase supporter for sites on the Biotinylated Detection Ab specific to fT4.
Excess conjugate and unbound sample or standard are washed from the plate, and Avidin conjugated to Horseradish Peroxidase (HRP) are added to each microplate well and incubated.
Then a TMB substrate solution is added to each well. The enzyme-substrate reaction is terminated by the addition of stop solution and the color change is measured spectrophotometrically at a wavelength of 450±2 nm.
The concentration of fT4 in the samples is then determined by comparing the OD of the samples to the standard curve.
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
GPx (U/L)
This method is based on that of Paglia and Valentine. Glutathione Peroxidase (GPx) catalses of the
oxidation of glutathione by cumene hydroperoxide. In the presence of glutathione (GSSG) is
immediately converted to the reduced form with a concomitant oxidation of NADPH to NADP. The decrease in absorbance at 340 nm is measured
Referanslar
Paglia, D.E. and Valentine, W.N., J. Lab. Clin. Med., 1967; 70: 158.
Prohaska, J.R., Oh, S.H., Hoekstra, W.G. & Ganther,
H.E. Biochem. & Biophys. Res. Comm. 1977; 74: 64.
Kraus, R.J. & Ganther, H. E. Biochem. & Biophys. Res. Comm 1980; 96: 1116.
(Relassay, Turkey)