## Sayfa1
Yöntemler
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
CRP (C-Reactive Protein) (mg/L)
Immunoturbidimetric assay
Anti-CRP antibodies react with antigen in the sample to form an ntigen/antibody complex. Following agglutination, this is measured turbidimetrically.
Addition of PEG allows the reaction to progress rapidly to the end point,increases sensitivity, and reduces the risk of samples containing excess antigen producing false negative results.
Uric Asit (mg/dL)
Colorimetric endpoint assay
Uricase
Uric acid + 2 H2O + O2 Allantoin + CO 2 + H 2O 2
Uricase cleaves uric acid to form allantoin and hydrogen peroxide.
POD
2H2O2 + 4H+ + phenole + 4-aminoantipyrine quinonimine dye + 4H2O
The increase in absorbance is measured.
GGT (Gamma GT) (U/L)
Enzymatic colorimetric assay
• Sample and addition of R1 (Buffer/Glycylglycine)
• Addition of R2 (substrate) and start of reaction Gamma-glutamyltransferase transfers the g-glutamyl group of L-g-glutamyl-3-
carboxy-4-nitroanilide to glycylglycine. The amount of 5-amino-2-nitrobenzo-nate liberated is proportional to the GGT activity and can be determined photo-metrically.
AST (U/L)
UV test according to a standarrized method
Sample and addition of R1 (buffer)
Addition of R2 and start of reaction: AST
α-ketoglutarate + L-aspartate L- glutamate + oxaloasetate
AST is the enzyme which catalyzes this equilibrium reaction. The oxaloacetate in- crease is measured in a subsequent indicator reaction which is catalyzed by malate dehydrogenase.
MDH
oxalacetate + NADH + H+ L-Malate + NAD+
In the second reaction, NADH is oxidized to NAD. The rate of decrease in NADH
(Measured photometrically) is directly proportional to the rate of formation of
oxaloasetate, and thus the AST activity.
ALT U/L
UV test according to the IFCC method.
ALT
L-Alanin + 2-Oxoglutarate ⎯⎯ L-Glutamate + Pyruvat
Glucose (mg/dL)
Enzymatic colorimetric test on basis of Trinder – Reaction:
Glucose oxidase Glucose + O2 Gluconic acid + H2O2
Peroxidase
2H2O2 + Phenol + 4–Aminoantipyrine Red Quinoneimine + 4H2O
Creatinine (mg/L)
Immunoturbidimetric assay
Anti-CRP antibodies react with antigen in the sample to form an ntigen/antibody complex. Following agglutination, this is measured turbidimetrically.
Addition of PEG allows the reaction to progress rapidly to the end point,increases sensitivity, and reduces the risk of samples containing excess antigen
producing false negative results.