## ADMA-1.PLATE
0.093 | 0.163 | 0.202 | 0.175 | 0.111 | 0.262 | 0.273 | 0.253 | 0.546 | 0.342 | 0.293 | 0.46
0.432 | 0.066 | 0.428 | 0.209 | 0.28 | 0.166 | 0.177 | 0.197 | 0.226 | 0.275 | 0.149 | 0.125
0.623 | 0.14 | 0.172 | 0.253 | 0.27 | 0.265 | 0.159 | 0.121 | 0.223 | 0.263 | 0.147 | 0.381
0.794 | 0.169 | 0.177 | 0.267 | 0.106 | 0.411 | 0.163 | 0.189 | 0.267 | 0.296 | 0.347 | 0.157
0.871 | 0.35 | 0.169 | 0.167 | 0.296 | 0.128 | 0.301 | 0.211 | 0.306 | 0.153 | 0.166 | 0.206
0.979 | 0.124 | 0.208 | 0.166 | 0.174 | 0.33 | 0.128 | 0.32 | 0.157 | 0.252 | 0.186 | 0.119
1.134 | 0.341 | 0.124 | 0.139 | 0.171 | 0.173 | 0.173 | 0.103 | 0.212 | 0.099 | 0.102 | 0.198
1.327 | 0.546 | 0.409 | 0.272 | 0.23 | 0.276 | 0.116 | 0.099 | 0.151 | 0.137 | 0.131 | 0.285
| abs | expected | result
std1 | 0.093 | 1000 | 1005.5916
std2 | 0.432 | 500 | 477.5087
std3 | 0.623 | 250 | 264.4749
std4 | 0.794 | 125 | 125.4198
std5 | 0.871 | 62.5 | 78.7444
std6 | 0.979 | 31.25 | 29.9555
std7 |  | 15.63 | 0
blank | 1.327 | 0 | 5.2083
concentratıon (ng/ml)
Numune | absorbans | result(ng/ml)
Sample-1 | 0.163 | 880.8299
Sample-2 | 0.066 | 1055.9001
Sample-3 | 0.14 | 920.9207
Sample-4 | 0.169 | 870.5167
Sample-5 | 0.35 | 587.6544
Sample-6 | 0.124 | 949.3308
Sample-7 | 0.341 | 600.4272
Sample-8 | 0.546 | 343.0304
Sample-9 | 0.202 | 814.8683
Sample-10 | 0.428 | 482.6212
Sample-11 | 0.172 | 865.3827
Sample-12 | 0.177 | 856.8593
Sample-13 | 0.169 | 870.5167
Sample-14 | 0.208 | 804.9458
Sample-15 | 0.124 | 949.3308
Sample-16 | 0.409 | 507.2705
Sample-17 | 0.175 | 860.2636
Sample-18 | 0.209 | 803.2978
Sample-19 | 0.253 | 732.4422
Sample-20 | 0.267 | 710.5751
Sample-21 | 0.167 | 873.9478
Sample-22 | 0.166 | 875.6658
Sample-23 | 0.139 | 922.6838
Sample-24 | 0.272 | 702.8447
Sample-25 | 0.111 | 972.7287
Sample-26 | 0.28 | 690.5628
Sample-27 | 0.27 | 705.9318
Sample-28 | 0.106 | 981.803
Sample-29 | 0.296 | 666.3197
Sample-30 | 0.174 | 861.9683
Sample-31 | 0.171 | 867.0923
Sample-32 | 0.23 | 769.0772
Sample-33 | 0.262 | 718.3472
Sample-34 | 0.166 | 875.6658
Sample-35 | 0.265 | 713.6789
Sample-36 | 0.411 | 504.6474
Sample-37 | 0.128 | 942.1882
Sample-38 | 0.33 | 616.2221
Sample-39 | 0.173 | 863.6746
Sample-40 | 0.276 | 696.6904
Sample-41 | 0.273 | 701.3036
Sample-42 | 0.177 | 856.8593
Sample-43 | 0.159 | 887.7388
Sample-44 | 0.163 | 880.8299
Sample-45 | 0.301 | 658.8314
Sample-46 | 0.128 | 942.1882
Sample-47 | 0.173 | 863.6746
Sample-48 | 0.116 | 963.6961
Sample-49 | 0.253 | 732.4422
Sample-50 | 0.197 | 823.183
Sample-51 | 0.121 | 954.7053
Sample-52 | 0.189 | 836.5734
Sample-53 | 0.211 | 800.007
Sample-54 | 0.32 | 630.7564
Sample-55 | 0.103 | 987.2677
Sample-56 | 0.099 | 994.5772
Sample-57 | 0.546 | 343.0304
Sample-58 | 0.226 | 775.5387
Sample-59 | 0.223 | 780.4023
Sample-60 | 0.267 | 710.5751
Sample-61 | 0.306 | 651.3848
Sample-62 | 0.157 | 891.2033
Sample-63 | 0.212 | 798.3641
Sample-64 | 0.151 | 901.6367
Sample-65 | 0.342 | 599.0014
Sample-66 | 0.275 | 698.2265
Sample-67 | 0.263 | 716.7894
Sample-68 | 0.296 | 666.3197
Sample-69 | 0.153 | 898.1522
Sample-70 | 0.252 | 734.0167
Sample-71 | 0.099 | 994.5772
Sample-72 | 0.137 | 926.215
Sample-73 | 0.293 | 670.8327
Sample-74 | 0.149 | 905.1278
Sample-75 | 0.147 | 908.6257
Sample-76 | 0.347 | 591.897
Sample-77 | 0.166 | 875.6658
Sample-78 | 0.186 | 841.6223
Sample-79 | 0.102 | 989.0925
Sample-80 | 0.131 | 936.8488
Sample-81 | 0.46 | 442.4689
Sample-82 | 0.125 | 947.5427
Sample-83 | 0.381 | 544.6942
Sample-84 | 0.157 | 891.2033
Sample-85 | 0.206 | 808.2466
Sample-86 | 0.119 | 958.2966
Sample-87 | 0.198 | 821.5168
Sample-88 | 0.285 | 682.9409

## ADMA-2.PLATE
0.097 | 0.135 | 0.073 | 0.09
0.433 | 0.087 | 0.163 | 0.108
0.642 | 0.081 | 0.218 | 0.078
0.788 | 0.193 | 0.099
0.891 | 0.147 | 0.089
0.965 | 0.19 | 0.131
1.145 | 0.082 | 0.068
1.417 | 0.211 | 0.07
| abs | expected | result
std1 | 0.097 | 1000 | 1005.4096
std2 | 0.433 | 500 | 485.1887
std3 | 0.642 | 250 | 252.47
std4 | 0.788 | 125 | 131.2499
std5 | 0.891 | 62.5 | 66.1923
std6 | 0.965 | 31.25 | 29.9012
std7 |  | 15.63 | 0
blank | 1.417 | 0 | -2.095
concentratıon (ng/ml)
Numune | absorbans | result(ng/ml)
Sample-89 | 0.135 | 937.541
Sample-90 | 0.087 | 1023.6527
Sample-91 | 0.081 | 1034.6751
Sample-92 | 0.193 | 838.3942
Sample-93 | 0.147 | 916.5875
Sample-94 | 0.19 | 843.3909
Sample-95 | 0.082 | 1032.8341
Sample-96 | 0.211 | 808.7159
Sample-97 | 0.073 | 1049.4611
Sample-98 | 0.163 | 889.0069
Sample-99 | 0.218 | 797.3139
Sample-100 | 0.099 | 1001.7801
Sample-101 | 0.089 | 1019.9913
Sample-102 | 0.131 | 944.5766
Sample-103 | 0.068 | 1058.7541
Sample-104 | 0.07 | 1055.0321
Sample-105 | 0.09 | 1018.163
Sample-106 | 0.108 | 985.5265
Sample-107 | 0.078 | 1040.2079

## TAS-TOS-OSI
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI
Sample-1 | 1.7 | 12.52 | 0.73647
Sample-2 | 1.93 | 21.78 | 1.1285
Sample-3 | 2.1 | 18.07 | 0.86048
Sample-4 | 1.81 | 14.39 | 0.79503
Sample-5 | 1.76 | 21.42 | 1.217
Sample-6 | 2.12 | 15.31 | 0.72217
Sample-7 | 1.97 | 19.64 | 0.99695
Sample-8 | 2.11 | 18.67 | 0.88483
Sample-9 | 2.08 | 13.03 | 0.62644
Sample-10 | 1.68 | 13.38 | 0.79643
Sample-11 | 1.64 | 13.89 | 0.84695
Sample-12 | 1.74 | 24.42 | 1.4034
Sample-13 | 1.79 | 11.8 | 0.65922
Sample-14 | 1.95 | 12.65 | 0.64872
Sample-15 | 1.83 | 17.2 | 0.93989
Sample-16 | 1.97 | 18 | 0.91371
Sample-17 | 2.14 | 21.86 | 1.0215
Sample-18 | 1.89 | 13.04 | 0.68995
Sample-19 | 1.87 | 13.26 | 0.70909
Sample-20 | 1.54 | 21.79 | 1.4149
Sample-21 | 1.59 | 21.11 | 1.3277
Sample-22 | 1.85 | 16.3 | 0.88108
Sample-23 | 1.98 | 23.37 | 1.1803
Sample-24 | 2.09 | 18.91 | 0.90478
Sample-25 | 1.69 | 22.49 | 1.3308
Sample-26 | 1.64 | 15.35 | 0.93598
Sample-27 | 1.78 | 18.21 | 1.023
Sample-28 | 1.93 | 14.66 | 0.75959
Sample-29 | 1.75 | 19.29 | 1.1023
Sample-30 | 2.04 | 36.74 | 1.801
Sample-31 | 2.07 | 19.72 | 0.95266
Sample-32 | 1.82 | 23.67 | 1.3005
Sample-33 | 2.01 | 16.42 | 0.81692
Sample-34 | 1.91 | 23.41 | 1.2257
Sample-35 | 1.63 | 14.45 | 0.8865
Sample-36 | 1.7 | 16.13 | 0.94882
Sample-37 | 2.12 | 22.83 | 1.0769
Sample-38 | 1.59 | 16.43 | 1.0333
Sample-39 | 1.74 | 18.07 | 1.0385
Sample-40 | 1.98 | 33.1 | 1.6717
Sample-41 | 2.2 | 14.77 | 0.67136
Sample-42 | 2.22 | 10.57 | 0.47613
Sample-43 | 1.79 | 20.24 | 1.1307
Sample-44 | 1.99 | 21 | 1.0553
Sample-45 | 1.75 | 19.59 | 1.1194
Sample-46 | 1.73 | 14.13 | 0.81676
Sample-47 | 1.55 | 13.54 | 0.87355
Sample-48 | 1.87 | 13.55 | 0.7246
Sample-49 | 1.81 | 10.35 | 0.57182
Sample-50 | 1.37 | 13.44 | 0.98102
Sample-51 | 1.44 | 19.18 | 1.3319
Sample-52 | 1.38 | 16.94 | 1.2275
Sample-53 | 1.43 | 15.18 | 1.0615
Sample-54 | 1.56 | 17.29 | 1.1083
Sample-55 | 2.09 | 14.19 | 0.67895
Sample-56 | 2.04 | 12.06 | 0.59118
Sample-57 | 1.68 | 23.83 | 1.4185
Sample-58 | 1.77 | 16.85 | 0.95198
Sample-59 | 1.69 | 15.62 | 0.92426
Sample-60 | 1.69 | 36.83 | 2.1793
Sample-61 | 1.75 | 12.89 | 0.73657
Sample-62 | 1.66 | 26.68 | 1.6072
Sample-63 | 1.84 | 17.97 | 0.97663
Sample-64 | 2.12 | 26.93 | 1.2703
Sample-65 | 1.83 | 40.88 | 2.2339
Sample-66 | 1.57 | 12.91 | 0.82229
Sample-67 | 1.62 | 16.21 | 1.0006
Sample-68 | 1.81 | 9.35 | 0.51657
Sample-69 | 1.96 | 16.41 | 0.83724
Sample-70 | 2.03 | 19.06 | 0.93892
Sample-71 | 2.22 | 19.95 | 0.89865
Sample-72 | 1.91 | 20.26 | 1.0607
Sample-73 | 1.64 | 17.04 | 1.039
Sample-74 | 1.88 | 8.78 | 0.46702
Sample-75 | 2.03 | 15.05 | 0.74138
Sample-76 | 2.09 | 29.48 | 1.4105
Sample-77 | 1.46 | 13.73 | 0.94041
Sample-78 | 2.12 | 18.07 | 0.85236
Sample-79 | 2.18 | 17.19 | 0.78853
Sample-80 | 1.96 | 24.42 | 1.2459
Sample-81 | 1.89 | 8.93 | 0.47249
Sample-82 | 1.85 | 24.56 | 1.3276
Sample-83 | 1.72 | 10.72 | 0.62326
Sample-84 | 1.78 | 12.61 | 0.70843
Sample-85 | 2.09 | 12.46 | 0.59617
Sample-86 | 2.01 | 15.41 | 0.76667
Sample-87 | 1.77 | 25.93 | 1.465
Sample-88 | 1.61 | 24.47 | 1.5199
Sample-89 | 1.76 | 19.79 | 1.1244
Sample-90 | 1.85 | 12.55 | 0.67838
Sample-91 | 1.94 | 16.97 | 0.87474
Sample-92 | 1.61 | 21.11 | 1.3112
Sample-93 | 1.91 | 17.89 | 0.93665
Sample-94 | 1.47 | 18.13 | 1.2333
Sample-95 | 1.94 | 34.16 | 1.7608
Sample-96 | 1.68 | 21.96 | 1.3071
Sample-97 | 1.5 | 19.83 | 1.322
Sample-98 | 1.82 | 13.86 | 0.76154
Sample-99 | 1.75 | 18.41 | 1.052
Sample-100 | 2.01 | 12.83 | 0.63831
Sample-101 | 2.1 | 20.81 | 0.99095
Sample-102 | 1.63 | 17.58 | 1.0785
Sample-103 | 1.78 | 11.9 | 0.66854
Sample-104 | 1.65 | 12.29 | 0.74485
Sample-105 | 1.65 | 18.45 | 1.1182
Sample-106 | 1.78 | 15.01 | 0.84326
Sample-107 | 1.39 | 13.33 | 0.95899

## Materyal-metod
KİT ADI | TÜR | Numune Türü | MARKA | CAT. NO | Yöntem | Kullanılan Cihaz
TAS(Total Antioxidant Status) | Universal | Serum | REL ASSAY | RL0017 | Kolorimetrik | MINDRAY BS-400
TOS(Total Oxidant Status) | Universal | Serum | REL ASSAY | RL0024 | Kolorimetrik | MINDRAY BS-400
Asymmetrical Dimethylarginine(ADMA) | Universal | Serum | Elabscience | E-EL-0042 | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
ADMA Test Principle
This ELISA kit uses the Competitive-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with ADMA.
During the reaction,ADMA in the sample or standard competes with a fixed amount Of ADMA on the solid phase supporter for sites on the Biotinylated Detection Ab specific to ADMA.
Excess conjugate and unbound sample or standard are washed from the plate, and Avidin conjugated to Horseradish Peroxidase (HRP) are added to each microplate well and incubated.
Then a TMB substrate solution is added to each well. The enzyme-substrate reaction is terminated by the addition of stop solution and the color change is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm.
The concentration of ADMAin the samples is then determined by comparing the OD of the samples to the standard curve.