## Sayfa1
YÖNTEMLER
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Malondialdehyde (MDA) nmol/L
The tissue MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm. The results
were expressed as nmol/g wet tissue.
(Relassay, Turkey)
Urea mg/dl
Urea is hydrolysed in presence of urease to produce ammonia and CO2. The ammonia produced combines with 2 – oxoglutarate and NADH in presence of GLDH to yield glutamate and NAD.
urease
Urea+H2O+2H+ 2 NH4+ + 2+ CO2
GLDH
2 NH4+ + 2-Oxoglutarate + 2 NADH H2O + 2 NAD+ + Gl utamate The decrease in absorbance due to consumption of NADH is measured kinetically.
(Otto Scientific)
Triglycerides mg/dl
Triglycerides in the sample originates, by means of the coupled reactions described below, acoloured complex that can be measured by spectrophotometry.
Triglycerides + H2O lipase Glycerol + Fatty acids
Glycerol + ATP glycerol kinase Glycerol – 3 – P + ADP
Glycerol – 3 –P + O2 G-3-P-oxidase Dihidroxyacetone – P +H2O2
2 H2O2 + 4 – Aminoantipyrine + 4 – Chlorophenol G-3-P-oxidas Quinoneimine + 4 H2O
(Otto Scientific)
Total Protein g/dl
Colorimetric assay, Sample and addition of Reagent start of the reaction:
Divalent copper reacts in alkaline solution with protein peptide bonds to form the characteristic purple-colored biuret complex.
Sodium potassium tartrate prevents the precipitation of copper hydroxide and potassium iodide prevents auto reduction of copper. alkaline protein + Cu2+ solution Cu-protein complex
The color intensity is directly proportional to the protein concentration which can be determined photometrically.
(Otto Scientific)
Phosphorus mg/dl
Inorganic phosphate forms an ammonium phosphomolybdate complex having the formula(NH4)3[PO4(MoO3)12] with ammonium molybdate in the presence of sulfuric acid.
The complex is determined photometrically in the ultraviolet region (340 nm).
(Otto Scientific)
HDL Cholesterol mg/dl
Enzymatic colorimetric test
• Sample and addition of R1
• Addition of R2 and start of reaction
In the first step LDL, VLDL and Chylomicrons are eliminated and transformed to
non reactive compounds and specific condition for the reaction. By the second
reagent only the HDL-Cholesterol is subject to color reaction
Cholesterol Esterase
Cholesterol ester + H2O Cholesterol + fatty acid
Cholesterol Oxidase
Cholesterol + O2 Cholesten-3-on + H2O2
Peroxidase
H2O2 + phenol + 4-aminoantipyrine quinoneimine dye+4 H2O
(Otto Scientific)
LDL Cholesterol mg/dl
İlk adımda, HDL, VLDL ve Şilomikronlar elimine edilir ve reaksiyon için özel koşulda reaktif olmayan bileşiklere dönüştürülür. İkinci reaktif sadece LDL-kolesterol renk reaksiyonudur.
Kolesterol esteraz
Kolesterol ester + H2O kolesterol + yağ asidi
Kolesterol Oksidaz
Kolesterol + O2 kolesten-3-on + H2O2
peroksidaz
H2O2 + fenol + 4- aminoantipirin kinon boyası +4 H2O
(Otto Scientific)
Glucose mg/dl
Enzymatic colorimetric test on basis of Trinder – Reaction:
Glucose oxidase Glucose + O2 Gluconic acid + H2O2
Peroxidase
2H2O2 + Phenol + 4–Aminoantipyrine Red Quinoneimine + 4H2O
(Otto Scientific)
Clolesterol Total mg/dl
Cholesterol ester + H2O Cholesterol + fatty acids
Cholesterol esters are ceaved by the action of choesterol esterase to yield free
choesterol and fatty acids Cholesterol oxidase Cholesterol + O2 Cholesten-3-on + H2O2
Peroxidase
2H2O2 + Phenol + 4-Aminoantipyrine Quinoneimine dye + 4 H2O
Cholesterol is converted by oxygen with the aid of cholesterol oxidase to A4- Cholestenone and hydrogen peroxide.
Hydrogen peroxide created forms a red dyestuff by reacting with 4-aminoantipyrine and phenol under the catalytic action of peroxidase.
The color intensity is directly proportional to the concentration of cholesterol and can be determined photometrically.
(Otto Scientific)
Calcium mg/dl
Calcium in the sample reacts with arsenazo III forming a coloured complex that
can be measured by spectrophotometry.
(Otto Scientific)
Albumin g/dl
Colorimetric assay, endpoint method
• Sample and addition of R1
• Start of the reaction:
At a pH value of 4.1 albumin displays a sufficiently cationic character to be able to bind with bromocresol green (BCG), any anionic dyestuff, to form a blue-green complex.
pH 4.1 albumin + BCG albumin BCG- complex
The color intensity of the blue-green color is directly proportional to the albumin concentration and can be determined photometrical
(Otto Scientific)
Globulin: hesaplama olarak bulunmuştur.
Globulin= Total protein - Albumin