## Sayfa1
YÖNTEMLER
TNF-α(Tumor Necrosis Factor Alpha)
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to
Rat TNF-α. Standards or samples are added to the micro ELISA plate wells and combined with the specific antibody. Then a biotinylated detection antibody
specific for Rat TNF-α and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each micro plate well and incubated. Free components are
washed away. The substrate solution is added to each well. Only those wells that contain Rat TNF-α, biotinylated detection antibody and Avidin-HRP conjugate will
appear blue in color. The enzyme-substrate reaction is terminated by the addition of stop solution and the color turns yellow.
The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm. The OD value is proportional to the concentration of
Rat TNF-α. You can calculate the concentration of Rat TNF-α in the samples by comparing the OD of the samples to the standard curve.
(Marka: Elabscience)
IL-10(Interleukin 10)
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to Rat IL-10.
Standards or samples are added to the micro ELISA plate wells and combined with the specific antibody. Then a biotinylated detection antibody specific for
Rat IL-10 and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each micro plate well and incubated. Free components are
washed away. The substrate solution is added to each well. Only those wells that contain Rat IL-10, biotinylated detection antibody and Avidin-HRP
conjugate will appear blue in color. The enzyme-substrate reaction is terminated by the addition of stop solution and the color turns yellow.
The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm. The OD value is proportional to the concentration of Rat IL-10.
You can calculate the concentration of Rat IL-10 in the samples by comparing the OD of the samples to the standard curve.
(Marka: Elabscience)
AST U/L
UV test according to a standarrized method
Sample and addition of R1 (buffer)
Addition of R2 and start of reaction: AST
α-ketoglutarate + L-aspartate L- glutamate + oxaloasetate
AST is the enzyme which catalyzes this equilibrium reaction. The oxaloacetate in- crease is measured in a subsequent indicator reaction which is catalyzed by malate dehydrogenase.
MDH
oxalacetate + NADH + H+ L-Malate + NAD+
In the second reaction, NADH is oxidized to NAD. The rate of decrease in NADH
(Measured photometrically) is directly proportional to the rate of formation of
oxaloasetate, and thus the AST activity.
(Marka: Otto Scientific)
ALT U/L
UV test according to the IFCC method.
ALT
L-Alanin + 2-Oxoglutarate ⎯⎯ L-Glutamate + Pyruvat
(Marka: Otto Scientific)