## S100B
1.359 | 0.292 | 0.261 | 0.582 | 0.378 | 0.404
0.734 | 0.273 | 0.236 | 0.342 | 0.301 | 0.332
0.385 | 0.275 | 0.278 | 0.54 | 0.471 | 0.587
0.233 | 0.325 | 0.242 | 0.352 | 0.42 | 0.481
0.161 | 0.59 | 0.268 | 0.446 | 0.524 | 0.754
0.08 | 0.366 | 0.227 | 0.416 | 0.328 | 0.262
0.292 | 0.273 | 0.221 | 0.528 | 0.713 | 0.297
0.264 | 0.253 | 0.282 | 0.323 | 0.229 | 0.386
| abs | abs-blank | expected | result
std1 | 1.359 | 1.279 | 640 | 638.9514
std2 | 0.734 | 0.654 | 320 | 325.715
std3 | 0.385 | 0.305 | 160 | 152.6851
std4 | 0.233 | 0.153 | 80 | 77.7469
std5 | 0.161 | 0.081 | 40 | 42.3391
blank | 0.08 | 0 | 0 | 2.5739
concentration (ng/L)
Numune | absorbans | blank | abs-blank | result(ng/L)
13-KAN | 0.292 | 0.08 | 0.212 | 106.8044
16-KAN | 0.264 | 0.08 | 0.184 | 93.0096
17-KAN | 0.292 | 0.08 | 0.212 | 106.8044
31-KAN | 0.273 | 0.08 | 0.193 | 97.4427
32-KAN | 0.275 | 0.08 | 0.195 | 98.4279
34-KAN | 0.325 | 0.08 | 0.245 | 123.0737
38-KAN | 0.59 | 0.08 | 0.51 | 254.1582
42-KAN | 0.366 | 0.08 | 0.286 | 143.3039
46-KAN | 0.273 | 0.08 | 0.193 | 97.4427
47-KAN | 0.253 | 0.08 | 0.173 | 87.5926
49-KAN | 0.261 | 0.08 | 0.181 | 91.5321
54-KAN | 0.236 | 0.08 | 0.156 | 79.2235
57-KAN | 0.278 | 0.08 | 0.198 | 99.9059
60-KAN | 0.242 | 0.08 | 0.162 | 82.1769
63-KAN | 0.268 | 0.08 | 0.188 | 94.9798
66-KAN | 0.227 | 0.08 | 0.147 | 74.7941
18-LENF | 0.221 | 0.08 | 0.141 | 71.8416
19-BEYİN | 0.282 | 0.08 | 0.202 | 101.8767
21-LENF | 0.582 | 0.08 | 0.502 | 250.1896
25-BEYİN | 0.342 | 0.08 | 0.262 | 131.4596
27-LENF | 0.54 | 0.08 | 0.46 | 229.3658
28-BEYİN | 0.352 | 0.08 | 0.272 | 136.3939
29-LENF | 0.446 | 0.08 | 0.366 | 182.831
30-BEYİN | 0.416 | 0.08 | 0.336 | 168
35-LENF | 0.528 | 0.08 | 0.448 | 223.4197
36-BEYİN | 0.323 | 0.08 | 0.243 | 122.0873
39-BEYİN | 0.378 | 0.08 | 0.298 | 149.2284
43-BEYİN | 0.301 | 0.08 | 0.221 | 111.2403
44-LENF | 0.471 | 0.08 | 0.391 | 195.1977
50-BEYİN | 0.42 | 0.08 | 0.34 | 169.9769
51-LENF | 0.524 | 0.08 | 0.444 | 221.4381
52-BEYİN | 0.328 | 0.08 | 0.248 | 124.5533
55-LENF | 0.713 | 0.08 | 0.633 | 315.2654
56-BEYİN | 0.229 | 0.08 | 0.149 | 75.7783
58-LENF | 0.404 | 0.08 | 0.324 | 162.0704
59-BEYİN | 0.332 | 0.08 | 0.252 | 126.5263
61-LENF | 0.587 | 0.08 | 0.507 | 252.6699
62-BEYİN | 0.481 | 0.08 | 0.401 | 200.1463
64-LENF | 0.754 | 0.08 | 0.674 | 335.6716
65-BEYİN | 0.262 | 0.08 | 0.182 | 92.0246
67-LENF | 0.297 | 0.08 | 0.217 | 109.2687
68-BEYİN | 0.386 | 0.08 | 0.306 | 153.179

## NSE
1.85 | 0.307 | 0.167 | 0.61 | 0.329 | 0.371
1.019 | 0.391 | 0.256 | 0.424 | 0.363 | 0.219
0.565 | 0.31 | 0.301 | 0.649 | 0.543 | 0.455
0.319 | 0.285 | 0.242 | 0.406 | 0.39 | 0.375
0.241 | 0.667 | 0.254 | 0.45 | 0.508 | 0.893
0.078 | 0.424 | 0.255 | 0.475 | 0.335 | 0.248
0.524 | 0.357 | 0.287 | 0.859 | 0.814 | 0.23
0.48 | 0.538 | 0.274 | 0.44 | 0.368 | 0.477
| abs | abs-blank | expected | result
std1 | 1.85 | 1.772 | 20 | 20.0021
std2 | 1.019 | 0.941 | 10 | 10.001
std3 | 0.565 | 0.487 | 5 | 4.9603
std4 | 0.319 | 0.241 | 2.5 | 2.3539
std5 | 0.241 | 0.163 | 1.25 | 1.5458
blank | 0.078 | 0 | 0 | -0.1144
concentration (ng/ml)
Numune | absorbans | blank | abs-blank | result(ng/ml)
13-KAN | 0.524 | 0.078 | 0.446 | 4.5198
16-KAN | 0.48 | 0.078 | 0.402 | 4.0498
17-KAN | 0.307 | 0.078 | 0.229 | 2.229
31-KAN | 0.391 | 0.078 | 0.313 | 3.1076
32-KAN | 0.31 | 0.078 | 0.232 | 2.2602
34-KAN | 0.285 | 0.078 | 0.207 | 2.0006
38-KAN | 0.667 | 0.078 | 0.589 | 6.0667
42-KAN | 0.424 | 0.078 | 0.346 | 3.4556
46-KAN | 0.357 | 0.078 | 0.279 | 2.7508
47-KAN | 0.538 | 0.078 | 0.46 | 4.6699
49-KAN | 0.167 | 0.078 | 0.089 | 0.78731
54-KAN | 0.256 | 0.078 | 0.178 | 1.7005
57-KAN | 0.301 | 0.078 | 0.223 | 2.1666
60-KAN | 0.242 | 0.078 | 0.164 | 1.5561
63-KAN | 0.254 | 0.078 | 0.176 | 1.6799
66-KAN | 0.255 | 0.078 | 0.177 | 1.6902
18-LENF | 0.287 | 0.078 | 0.209 | 2.0213
19-BEYİN | 0.274 | 0.078 | 0.196 | 1.8866
21-LENF | 0.61 | 0.078 | 0.532 | 5.4465
25-BEYİN | 0.424 | 0.078 | 0.346 | 3.4556
27-LENF | 0.649 | 0.078 | 0.571 | 5.8704
28-BEYİN | 0.406 | 0.078 | 0.328 | 3.2656
29-LENF | 0.45 | 0.078 | 0.372 | 3.7309
30-BEYİN | 0.475 | 0.078 | 0.397 | 3.9965
35-LENF | 0.859 | 0.078 | 0.781 | 8.1904
36-BEYİN | 0.44 | 0.078 | 0.362 | 3.6249
39-BEYİN | 0.329 | 0.078 | 0.251 | 2.4581
43-BEYİN | 0.363 | 0.078 | 0.285 | 2.8136
44-LENF | 0.543 | 0.078 | 0.465 | 4.7236
50-BEYİN | 0.39 | 0.078 | 0.312 | 3.0971
51-LENF | 0.508 | 0.078 | 0.43 | 4.3485
52-BEYİN | 0.335 | 0.078 | 0.257 | 2.5207
55-LENF | 0.814 | 0.078 | 0.736 | 7.6879
56-BEYİN | 0.368 | 0.078 | 0.29 | 2.866
58-LENF | 0.371 | 0.078 | 0.293 | 2.8975
59-BEYİN | 0.219 | 0.078 | 0.141 | 1.3195
61-LENF | 0.455 | 0.078 | 0.377 | 3.784
62-BEYİN | 0.375 | 0.078 | 0.297 | 2.9395
64-LENF | 0.893 | 0.078 | 0.815 | 8.572
65-BEYİN | 0.248 | 0.078 | 0.17 | 1.618
67-LENF | 0.23 | 0.078 | 0.152 | 1.4325
68-BEYİN | 0.477 | 0.078 | 0.399 | 4.0178

## Materyal-metod
KİT ADI | TÜR | MARKA | Numune Türü | CAT. NO | Yöntem | Kullanılan Cihaz
S100 calcium binding protein B | Rabbit | BT-lab | Serum-Doku | E0247Rb | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
Neuron-specific enolase | Rabbit | BT-lab | Serum-Doku | E0130Rb | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
NOT: Dokular 1/9 oranında( 0,1 gr doku: 0,9ml 140 mmol. lık KCl) Potasyum Klorür tamponu ile homojenize edildikten sonra 7000 rpm + 4' de 5 dk santrifüj edildi.
S100B Assay Principle
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to Rabbit S100B.
Samples (or Standards) are added to the micro ELISA plate wells and combined with the specific antibody.
Then a biotinylated detection antibody specific for Rabbit S100B and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each micro plate well and incubated. Free components are washed away. The substrate solution is added to each well.
Only those wells that contain Rabbit S100B, biotinylated detection antibody and Avidin-HRP conjugate will appear blue in color. The enzyme-substrate reaction is terminated by the addition of stop solution and the color turns yellow.
The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm. The OD value is proportional to the concentration of Rabbit S100B.
You can calculate the concentration of Rabbit S100B in the samples by comparing the OD of the samples to the standard curve.
NSE Assay Principle
This ELISA kit uses the Sandwich-ELISA principle. The micro ELISA plate provided in this kit has been pre-coated with an antibody specific to Rabbit NSE.
Samples (or Standards) are added to the micro ELISA plate wells and combined with the specific antibody.
Then a biotinylated detection antibody specific for Rabbit NSE and Avidin-Horseradish Peroxidase (HRP) conjugate are added successively to each micro plate well and incubated. Free components are washed away. The substrate solution is added to each well.
Only those wells that contain Rabbit NSE, biotinylated detection antibody and Avidin-HRP conjugate will appear blue in color. The enzyme-substrate reaction is terminated by the addition of stop solution and the color turns yellow.
The optical density (OD) is measured spectrophotometrically at a wavelength of 450 nm ± 2 nm. The OD value is proportional to the concentration of Rabbit NSE.
You can calculate the concentration of Rabbit NSE in the samples by comparing the OD of the samples to the standard curve.