## Sayfa1
YÖNTEMLER
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
Zinc (ZN) μg/dl
Zinc found in the samples change the red-orange color of 5-Br-PAPS to light pink under alkaline conditions.
The change of absorbance at 548 nm is proportional to total zinc level in the sample.
The assay can be calibrated with zinc sulfate dissolved in deionized water.
(Relassay, Turkey)