## Sayfa1
YÖNTEMLER
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Clolesterol Total mg/dl
Cholesterol ester + H2O Cholesterol + fatty acids
Cholesterol esters are ceaved by the action of choesterol esterase to yield free
choesterol and fatty acids Cholesterol oxidase Cholesterol + O2 Cholesten-3-on + H2O2
Peroxidase
2H2O2 + Phenol + 4-Aminoantipyrine Quinoneimine dye + 4 H2O
Cholesterol is converted by oxygen with the aid of cholesterol oxidase to A4- Cholestenone and hydrogen peroxide.
Hydrogen peroxide created forms a red dyestuff by reacting with 4-aminoantipyrine and phenol under the catalytic action of peroxidase.
The color intensity is directly proportional to the concentration of cholesterol and can be determined photometrically.
(Otto Scientific)
Total Protein g/dl
Colorimetric assay, Sample and addition of Reagent start of the reaction:
Divalent copper reacts in alkaline solution with protein peptide bonds to form the characteristic purple-colored biuret complex.
Sodium potassium tartrate prevents the precipitation of copper hydroxide and potassium iodide prevents auto reduction of copper. alkaline protein + Cu2+ solution Cu-protein complex
The color intensity is directly proportional to the protein concentration which can be determined photometrically.
(Otto Scientific)
Creatine Kinase U/l
UV Test
• Sample and addition of R1
• Addition of R2 and start of reaction: CK Creatine phosphate + ADP Creatine + ATP HK ATP + glucose Glucose-6-phosphate + ADP G6PDH Glucose-6-P + NADP Gluconate-6-P + NADPH+H+
Equimolar quantities of NADPH and creatine are formed at the same rate. The photometrically measured rate of formation of NADPH is proportional to the CK activity.
(Otto Scientific)
LDH
Pyruvat + NADH + H+ ⎯⎯ D-Lactate+ NAD+
The enzyme alanine aminotransferase (EC 2.6.1.2; L-Alanine:2-Oxoglutarate Aminotransferase,
ALT or A1aAT; Glutamate Pyruvate Transaminase, GPT) catalyzes the tran- saminase reaction between L-Alanine and 2-Oxoglutarate.
The pyruvate formed, is reduced to lactate in the presence of LDH. As the reactions proceed,
NADH is oxidized to NAD+. The disappearance of NADH per unit time is followed by measuring the decrease in absorbance at 340 nm.
(Otto Scientific)
AST U/L
UV test according to a standarrized method
Sample and addition of R1 (buffer)
Addition of R2 and start of reaction: AST
α-ketoglutarate + L-aspartate L- glutamate + oxaloasetate
AST is the enzyme which catalyzes this equilibrium reaction. The oxaloacetate in- crease is measured in a subsequent indicator reaction which is catalyzed by malate dehydrogenase.
MDH
oxalacetate + NADH + H+ L-Malate + NAD+
In the second reaction, NADH is oxidized to NAD. The rate of decrease in NADH
(Measured photometrically) is directly proportional to the rate of formation of
oxaloasetate, and thus the AST activity.
(Otto Scientific)
ALT U/L
UV test according to the IFCC method.
ALT
L-Alanin + 2-Oxoglutarate ⎯⎯ L-Glutamate + Pyruvat
(Otto Scientific)
GGT (Gamma GT) U/l
Enzymatic colorimetric assay
• Sample and addition of R1 (Buffer/Glycylglycine)
• Addition of R2 (substrate) and start of reaction Gamma-glutamyltransferase transfers the g-glutamyl group of L-g-glutamyl-3-
carboxy-4-nitroanilide to glycylglycine. The amount of 5-amino-2-nitrobenzo-nate liberated is proportional to the GGT activity and can be determined photo-metrically.
(Otto Scientific)
Glucose mg/dl
Enzymatic colorimetric test on basis of Trinder – Reaction:
Glucose oxidase Glucose + O2 Gluconic acid + H2O2
Peroxidase
2H2O2 + Phenol + 4–Aminoantipyrine Red Quinoneimine + 4H2O
(Otto Scientific)
Urea mg/dl
Urea is hydrolysed in presence of urease to produce ammonia and CO2. The ammonia produced combines with 2 – oxoglutarate and NADH in presence of GLDH to yield glutamate and NAD.
urease
Urea+H2O+2H+ 2 NH4+ + 2+ CO2
GLDH
2 NH4+ + 2-Oxoglutarate + 2 NADH H2O + 2 NAD+ + Gl utamate The decrease in absorbance due to consumption of NADH is measured kinetically.
(Otto Scientific)
Creatinine mg/L
Immunoturbidimetric assay
Anti-CRP antibodies react with antigen in the sample to form an ntigen/antibody complex. Following agglutination, this is measured turbidimetrically.
Addition of PEG allows the reaction to progress rapidly to the end point,increases sensitivity, and reduces the risk of samples containing excess antigen
producing false negative results.
(Otto Scientific)
Albumin g/dl
Colorimetric assay, endpoint method
• Sample and addition of R1
• Start of the reaction:
At a pH value of 4.1 albumin displays a sufficiently cationic character to be able to bind with bromocresol green (BCG), any anionic dyestuff, to form a blue-green complex.
pH 4.1 albumin + BCG albumin BCG- complex
The color intensity of the blue-green color is directly proportional to the albumin concentration and can be determined photometrical
(Otto Scientific)