## 8-OHDG
2.485 | 0.696 | 0.661 | 0.918 | 1.179 | 0.88 | 0.976 | 0.97 | 1.009 | 1.348 | 0.816 | 1.563
1.587 | 0.724 | 1.356 | 0.909 | 0.927 | 1.298 | 0.905 | 0.776 | 0.995 | 0.88 | 0.914 | 0.833
0.846 | 0.805 | 0.82 | 0.061 | 0.644 | 1.009 | 1.305 | 0.977 | 0.898 | 1.298 | 0.641 | 0.935
0.496 | 0.723 | 1.041 | 1.049 | 0.945 | 1.204 | 1.055 | 1.355 | 1.19 | 0.819 | 0.085 | 1.106
0.206 | 0.724 | 0.857 | 0.779 | 0.833 | 0.827 | 0.801 | 0.836 | 1.156 | 0.756 | 0.456 | 1.292
0.056 | 0.157 | 0.772 | 0.991 | 1.099 | 0.849 | 0.801 | 0.716 | 1.157 | 0.943 | 0.822 | 1.186
0.768 | 1.321 | 0.891 | 0.773 | 0.979 | 1.305 | 0.759 | 0.833 | 0.939 | 0.796 | 1.155 | 1.253
0.861 | 0.755 | 0.743 | 0.09 | 0.855 | 1.131 | 0.972 | 0.814 | 0.988 | 0.695 | 1.182 | 0.973
| abs | abs-blank | expected | result
std1 | 2.485 | 2.429 | 64 | 63.5769
std2 | 1.587 | 1.531 | 32 | 33.4076
std3 | 0.846 | 0.79 | 16 | 14.7645
std4 | 0.496 | 0.44 | 8 | 7.9243
std5 | 0.206 | 0.15 | 4 | 3.2121
blank | 0.056 | 0 | 0 | 1.1145
concentratıon (ng/ml)
Numune | absorbans | blank | abs-blank | result
1 | 0.768 | 0.056 | 0.712 | 13.1309
2 | 0.861 | 0.056 | 0.805 | 15.0859
4 | 0.696 | 0.056 | 0.64 | 11.6786
5 | 0.724 | 0.056 | 0.668 | 12.2371
6 | 0.805 | 0.056 | 0.749 | 13.898
8 | 0.723 | 0.056 | 0.667 | 12.217
9 | 0.724 | 0.056 | 0.668 | 12.2371
10 | 0.157 | 0.056 | 0.101 | 2.5014
11 | 1.321 | 0.056 | 1.265 | 26.0648
13 | 0.755 | 0.056 | 0.699 | 12.8648
14 | 0.661 | 0.056 | 0.605 | 10.9919
15 | 1.356 | 0.056 | 1.3 | 26.9894
17 | 0.82 | 0.056 | 0.764 | 14.213
18 | 1.041 | 0.056 | 0.985 | 19.1226
19 | 0.857 | 0.056 | 0.801 | 15
21 | 0.772 | 0.056 | 0.716 | 13.2132
23 | 0.891 | 0.056 | 0.835 | 15.7355
24 | 0.743 | 0.056 | 0.687 | 12.6206
27 | 0.918 | 0.056 | 0.862 | 16.3281
28 | 0.909 | 0.056 | 0.853 | 16.1297
29 | 0.061 | 0.056 | 0.005 | 1.1807
30 | 1.049 | 0.056 | 0.993 | 19.3097
32 | 0.779 | 0.056 | 0.723 | 13.3575
33 | 0.991 | 0.056 | 0.935 | 17.9678
35 | 0.773 | 0.056 | 0.717 | 13.2338
37 | 0.09 | 0.056 | 0.034 | 1.5697
38 | 1.179 | 0.056 | 1.123 | 22.4432
41 | 0.927 | 0.056 | 0.871 | 16.5273
42 | 0.644 | 0.056 | 0.588 | 10.6629
44 | 0.945 | 0.056 | 0.889 | 16.9281
45 | 0.833 | 0.056 | 0.777 | 14.4879
46 | 1.099 | 0.056 | 1.043 | 20.4943
47 | 0.979 | 0.056 | 0.923 | 17.6945
48 | 0.855 | 0.056 | 0.799 | 14.9571
50 | 0.88 | 0.056 | 0.824 | 15.4962
51 | 1.298 | 0.056 | 1.242 | 25.4642
54 | 1.009 | 0.056 | 0.953 | 18.3805
56 | 1.204 | 0.056 | 1.148 | 23.0658
62 | 0.827 | 0.056 | 0.771 | 14.3608
63 | 0.849 | 0.056 | 0.793 | 14.8286
65 | 1.305 | 0.056 | 1.249 | 25.6464
66 | 1.131 | 0.056 | 1.075 | 21.266
67 | 0.976 | 0.056 | 0.92 | 17.6264
68 | 0.905 | 0.056 | 0.849 | 16.0418
69 | 1.305 | 0.056 | 1.249 | 25.6464
70 | 1.055 | 0.056 | 0.999 | 19.4505
71 | 0.801 | 0.056 | 0.745 | 13.8144
72 | 0.801 | 0.056 | 0.745 | 13.8144
73 | 0.759 | 0.056 | 0.703 | 12.9465
74 | 0.972 | 0.056 | 0.916 | 17.5357
75 | 0.97 | 0.056 | 0.914 | 17.4905
77 | 0.776 | 0.056 | 0.72 | 13.2956
78 | 0.977 | 0.056 | 0.921 | 17.6491
79 | 1.355 | 0.056 | 1.299 | 26.9628
80 | 0.836 | 0.056 | 0.78 | 14.5516
81 | 0.716 | 0.056 | 0.66 | 12.0767
82 | 0.833 | 0.056 | 0.777 | 14.4879
83 | 0.814 | 0.056 | 0.758 | 14.0868
84 | 1.009 | 0.056 | 0.953 | 18.3805
85 | 0.995 | 0.056 | 0.939 | 18.0592
86 | 0.898 | 0.056 | 0.842 | 15.8884
88 | 1.19 | 0.056 | 1.134 | 22.7164
89 | 1.156 | 0.056 | 1.1 | 21.8762
90 | 1.157 | 0.056 | 1.101 | 21.9007
91 | 0.939 | 0.056 | 0.883 | 16.7941
92 | 0.988 | 0.056 | 0.932 | 17.8993
93 | 1.348 | 0.056 | 1.292 | 26.7769
94 | 0.88 | 0.056 | 0.824 | 15.4962
95 | 1.298 | 0.056 | 1.242 | 25.4642
96 | 0.819 | 0.056 | 0.763 | 14.192
98 | 0.756 | 0.056 | 0.7 | 12.8852
99 | 0.943 | 0.056 | 0.887 | 16.8834
100 | 0.796 | 0.056 | 0.74 | 13.7102
102 | 0.695 | 0.056 | 0.639 | 11.6588
104 | 0.816 | 0.056 | 0.76 | 14.1288
105 | 0.914 | 0.056 | 0.858 | 16.2398
106 | 0.641 | 0.056 | 0.585 | 10.6051
108 | 0.085 | 0.056 | 0.029 | 1.502
109 | 0.456 | 0.056 | 0.4 | 7.2229
110 | 0.822 | 0.056 | 0.766 | 14.2552
111 | 1.155 | 0.056 | 1.099 | 21.8516
112 | 1.182 | 0.056 | 1.126 | 22.5176
113 | 1.563 | 0.056 | 1.507 | 32.7152
114 | 0.833 | 0.056 | 0.777 | 14.4879
115 | 0.935 | 0.056 | 0.879 | 16.705
116 | 1.106 | 0.056 | 1.05 | 20.6622
117 | 1.292 | 0.056 | 1.236 | 25.3083
118 | 1.186 | 0.056 | 1.13 | 22.6169
119 | 1.253 | 0.056 | 1.197 | 24.3046
120 | 0.973 | 0.056 | 0.917 | 17.5584

## TAS-TOS
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI | NOT
1 | 1.65 | 3.66 | 0.22182
2 | 1.64 | 9 | 0.54878
4 | 1.51 | 8.51 | 0.56358
5 | 1.43 | 6.17 | 0.43147
6 | 1.67 | 6.83 | 0.40898
8 | 2.2 | 10.85 | 0.49318 | hemolizli
9 | 1.99 | 4.72 | 0.23719
10 | 2.04 | 11.23 | 0.55049 | hemolizli
11 | 1.87 | 7.61 | 0.40695
13 | 2.28 | 5.78 | 0.25351
14 | 1.81 | 8.69 | 0.48011
15 | 1.68 | 8.71 | 0.51845
17 | 1.77 | 8.71 | 0.49209
18 | 1.71 | 7.68 | 0.44912
19 | 1.46 | 8.67 | 0.59384
21 | 1.66 | 10.87 | 0.65482 | hemolizli
23 | 1.87 | 7.12 | 0.38075
24 | 1.45 | 11.19 | 0.77172 | hemolizli
27 | 1.41 | 6.3 | 0.44681
28 | 1.7 | 5.15 | 0.30294
29 | 1.68 | 12 | 0.71429 | hemolizli
30 | 1.44 | 5.49 | 0.38125
32 | 1.47 | 7.7 | 0.52381
33 | 1.95 | 6.2 | 0.31795
35 | 1.61 | 4.06 | 0.25217
37 | 1.37 | 6.55 | 0.4781
38 | 1.71 | 5.6 | 0.32749
41 | 1.67 | 7.22 | 0.43234
42 | 1.72 | 9.48 | 0.55116 | hemolizli
44 | 1.77 | 6.92 | 0.39096
45 | 1.82 | 18.6 | 1.022 | hemolizli
46 | 1.57 | 7.49 | 0.47707
47 | 1.62 | 14.7 | 0.90741 | hemolizli
48 | 1.73 | 6.57 | 0.37977
50 | 1.62 | 5.8 | 0.35802
51 | 1.69 | 8 | 0.47337
54 | 1.66 | 7.06 | 0.4253
56 | 1.92 | 4.73 | 0.24635
62 | 1.77 | 2.69 | 0.15198
63 | 1.78 | 3.87 | 0.21742
65 | 1.9 | 10.34 | 0.54421 | hemolizli
66 | 1.52 | 5.54 | 0.36447
67 | 1.88 | 3.9 | 0.20745
68 | 1.47 | 9.57 | 0.65102
69 | 1.63 | 10.9 | 0.66871
70 | 1.8 | 7.31 | 0.40611
71 | 1.77 | 13.2 | 0.74576
72 | 1.83 | 7.38 | 0.40328
73 | 1.38 | 3.37 | 0.2442
74 | 1.92 | 6.09 | 0.31719
75 | 1.73 | 4.63 | 0.26763
77 | 1.69 | 4.06 | 0.24024
78 | 2.67 | 8.9 | 0.33333 | hemolizli
79 | 2.37 | 6.14 | 0.25907
80 | 1.54 | 6.47 | 0.42013
81 | 1.41 | 5.23 | 0.37092
82 | 1.5 | 8.66 | 0.57733
83 | 1.68 | 5.34 | 0.31786
84 | 1.78 | 5.9 | 0.33146
85 | 2.05 | 4.67 | 0.2278
86 | 2.16 | 9.56 | 0.44259
88 | 2.33 | 2.82 | 0.12103
89 | 2.41 | 2.46 | 0.10207
90 | 1.68 | 6.42 | 0.38214
91 | 1.69 | 7 | 0.4142
92 | 1.55 | 8.03 | 0.51806
93 | 1.68 | 7.39 | 0.43988
94 | 1.52 | 6.05 | 0.39803
95 | 1.5 | 9.19 | 0.61267
96 | 1.83 | 6.63 | 0.3623
98 | 1.48 | 16.19 | 1.0939 | hemolizli
99 | 1.6 | 6.89 | 0.43063
100 | 1.64 | 5.36 | 0.32683
102 | 1.9 | 20.44 | 1.0758 | hemolizli
104 | 1.58 | 3.11 | 0.19684
105 | 1.29 | 3.61 | 0.27984
106 | 1.22 | 13.3 | 1.0902 | lipemi
108 | 1.5 | 6.27 | 0.418
109 | 1.64 | 12.6 | 0.76829
110 | 1.39 | 5.36 | 0.38561
111 | 1.67 | 4.51 | 0.27006
112 | 1.8 | 6.12 | 0.34
113 | 1.51 | 10.22 | 0.67682 | hemolizli
114 | 1.92 | 8.83 | 0.4599 | hemolizli
115 | 1.45 | 6.01 | 0.41448
116 | 1.71 | 3.61 | 0.21111
117 | 1.82 | 10.31 | 0.56648 | hemolizli
118 | 1.39 | 6.65 | 0.47842
119 | 1.81 | 8.41 | 0.46464
120 | 1.95 | 7.04 | 0.36103

## Materyal-metod
KİT ADI | TÜR | MARKA | LOT | CAT. NO | Yöntem | Kullanılan Cihaz
TAS(Total Antioxidant Status) | Universal | REL ASSAY |  | RL0017 | Kolorimetrik | MINDRAY-BS400
TOS(Total Oxidant Status) | Universal | REL ASSAY |  | RL0024 | Kolorimetrik | MINDRAY-BS400
8-Hydroxy-desoxyguanosine | Human | BT | 202102008 | E0048Hu | ELİSA | Mıcroplate reader: BIO-TEK EL X 800-Aotu strıp washer:BIO TEK EL X 50
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Human 8-Hydroxy-desoxyguanosine Assay Principle
This kit is an enzyme -linked ımmunosorbent assay.(elisa). The plate has been pre-coated with Human 8-OHDG antibody.8-OHDG present in the sample is added and binds to antibodies coated on the wells.
And then biotinylated Human 8-0HDG antibody is added and binds to 8-OHDG in the sample. Then Streptavidin-HRP is added and binds to the Biotinylated 8-OHDG antibody.
After incubation unbound HRP is washed away during a washing step.Subsrate solution is then added and color develops in proportion to the amount of Human 8-OHDG.
The reaction is terminated by addition of acidic stop solution and absorbance is measured at 450 nm.