## Sayfa1
YÖNTEMLER
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).
Malondialdehyde (MDA) nmol/L
The tissue MDA level was determined by a method based
on the reaction with thiobarbituric acid (TBA) at 90–100_C
. In the TBA test reaction, MDA or MDA-like
substances and TBA react with the production of a pink
pigment with a maximum absorption at 532 nm. The
reaction was performed at pH 2–3 at 90_C for 15 min. The
sample was mixed with two volumes of cold 10% (w/v)
trichloroacetic acid for the precipitation of protein. The
precipitate was pelleted by centrifugation, and an aliquot of
the supernatant was reacted with an equal volume of 0.67%
(w/v) TBA in a boiling water bath for 10 min. After
cooling, the absorbance was read at 532 nm. The results
were expressed as nmol/g wet tissue.
(Relassay, Turkey)
Thiol/Disulfide Homeostasis (µmol/L)
Tests were measured using a novel automatic and spectrophotometric method developed by Erel and Neselioglu*
which is avaliable commercially (Rel Assay Diagnostics, Turkey) In this method, dynamic and reducible disulfide bonds
in the samples were reduced to free functional thiol groups by using sodium borohydride. In order to prevent the reduction
of unused reduced sodium borohydride to dithionite-2 nitrobenzoic (DTNB), NaBH4 was removed with formaldehyde. Native thiol (NT) and total thiol (TT)
levels were determined after reaction with DTNB and their levels were measured ultimately. Half of the difference of the result obtained
by the subtraction of native thiol amount from total thiol content indicated the disulfide (DS) level.
(Relassay, Turkey)
Paraoxonase-1 PON-1) U/L
Measurement of paraoxonase activity;
Paraoxonase activity was measured using
commercially available kits (Relassay, Turkey).
The rate of paraoxon hydrolysis (diethylpnitrophenylphosphate)
was measured by monitoring the increase of
absorption at 412 nm at 37 °C. The amount of generated p-nitrophenol
was calculated from the molar absorption coefficient at pH 8.5, which
was 18.290 M−1 cm−1 Paraoxonase activity was expressed as U/L serum
(Relassay, Turkey)
Albumin g/dl
Colorimetric assay, endpoint method
• Sample and addition of R1
• Start of the reaction:
At a pH value of 4.1 albumin displays a sufficiently cationic character to be able to bind with bromocresol green (BCG), any anionic dyestuff, to form a blue-green complex.
pH 4.1 albumin + BCG albumin BCG- complex
The color intensity of the blue-green color is directly proportional to the albumin concentration and can be determined photometrical
(Otto Scientific)
Alkaline Phosphatase (ALP) U/L
Colorimetric assay in accordance with a standardized method.
ALP, Mg2
p - Nitrophenylphosphate+ H2O Phosphate + p - Nitrophenol
In the presence of magnesium and zinc ions, p-nitrophenyl phosphate is hydrolyzed by phosphatases to form phosphate and p-nitrophenol.
In this process AMP serves as transient phosphate acceptor. The release of coloured p-nitrophenol is proportional to the ALP activity and can be measured photometrically.
(Otto Scientific)
AST U/L
UV test according to a standarrized method
Sample and addition of R1 (buffer)
Addition of R2 and start of reaction: AST
α-ketoglutarate + L-aspartate L- glutamate + oxaloasetate
AST is the enzyme which catalyzes this equilibrium reaction. The oxaloacetate in- crease is measured in a subsequent indicator reaction which is catalyzed by malate dehydrogenase.
MDH
oxalacetate + NADH + H+ L-Malate + NAD+
In the second reaction, NADH is oxidized to NAD. The rate of decrease in NADH
(Measured photometrically) is directly proportional to the rate of formation of
oxaloasetate, and thus the AST activity.
(Otto Scientific)
ALT U/L
UV test according to the IFCC method.
ALT
L-Alanin + 2-Oxoglutarate ⎯⎯ L-Glutamate + Pyruvat
(Otto Scientific)
Total Protein g/dl
Colorimetric assay, Sample and addition of Reagent start of the reaction:
Divalent copper reacts in alkaline solution with protein peptide bonds to form the characteristic purple-colored biuret complex.
Sodium potassium tartrate prevents the precipitation of copper hydroxide and potassium iodide prevents auto reduction of copper. alkaline protein + Cu2+ solution Cu-protein complex
The color intensity is directly proportional to the protein concentration which can be determined photometrically.
(Otto Scientific)