## TAS-TOS-OSI
Numune Adı | TAS(mmol/L) | TOS (µmol/L) | OSI
Ö1 | 1.27 | 3.21 | 0.25276
Ö2 | 1.29 | 3.11 | 0.24109
Ö3 | 0.98 | 2.8 | 0.28571
Ö4 | 1.21 | 3.51 | 0.29008
Ö5 | 1.9 | 11.86 | 0.62421
Ö6 | 1.41 | 8.23 | 0.58369
Ö7 | 1.61 | 3.82 | 0.23727
Ö8 | 0.91 | 3.74 | 0.41099
Ö9 | 1.16 | 4.57 | 0.39397
Ö10 | 1.05 | 3.96 | 0.37714
Ö11 | 0.99 | 2.62 | 0.26465
Ö12 | 0.93 | 3.53 | 0.37957
Ö13 | 0.96 | 6 | 0.625
Ö14 | 1.15 | 3.31 | 0.28783
Ö15 | 1.44 | 4.42 | 0.30694
Ö16 | 1.76 | 3.65 | 0.20739
Ö17 | 1.39 | 3.49 | 0.25108
Ö18 | 1.2 | 3.79 | 0.31583
Ö19 | 1.15 | 3.44 | 0.29913
Ö20 | 1.12 | 3.78 | 0.3375
Ö21 | 1.26 | 4.51 | 0.35794
Ö22 | 1.35 | 3.78 | 0.28
S1 | 1.1 | 10.44 | 0.94909
S2 | 1.62 | 5.27 | 0.32531
S3 | 1.06 | 3.71 | 0.35
S4 | 1.54 | 15.8 | 1.026
S5 | 1.07 | 3.92 | 0.36636
S6 | 1.52 | 5.34 | 0.35132
S7 | 0.87 | 3.07 | 0.35287
S8 | 1.24 | 3.36 | 0.27097
S9 | 1.46 | 4.78 | 0.3274
S10 | 1.53 | 9.34 | 0.61046
S11 | 1 | 2.87 | 0.287
S12 | 1.25 | 4.89 | 0.3912
S13 | 1.61 | 3.31 | 0.20559
S14 | 1.53 | 4.37 | 0.28562
S15 | 1.06 | 3.76 | 0.35472
S16 | 1.31 | 2.86 | 0.21832
S17 | 1.19 | 3.47 | 0.2916
S18 | 1.16 | 3.66 | 0.31552
S19 | 3.15 | 6.03 | 0.19143
S20 | 0.87 | 3.41 | 0.39195
S21 | 1.78 | 17.23 | 0.96798
S22 | 1.02 | 2.88 | 0.28235

## Materyal-metod
KİT ADI | TÜR | MARKA | CAT. NO | Yöntem
TAS(Total Antioxidant Status) | Universal | REL ASSAY | RL0017 | Kolorimetrik
TOS(Total Oxidant Status) | Universal | REL ASSAY | RL0024 | Kolorimetrik
Centrifuge: HETTICH Mıcro 200-R
MINDRAY BS-300 Tam Otomatik Analizör
TOTAL ANTIOXDANT STATUS (TAS) (mmol/L)
TAS levels were measured using commercially available kits (Relassay, Turkey). The novel
automated method is based on the bleaching of characteristic color of a more stable ABTS
(2,2 ′ - Azino-bis(3-ethylbenzothiazoline-6-sulfonic acid)) radical cation by antioxidants. The
assay has excellent precision values, which are lower than 3%. The results were expressed as
mmol Trolox equivalent/L (Erel O. A novel automated direct measurement method for total
antioxidant capacity using a new generation, more stable ABTS radicalcation. Clin Biochem
2004;37:277-85.)
(Relassay,Turkey)
TOTAL OXIDANT STATUS (TOS) (µmol/L)
TOS levels were measured using commercially available kits (Relassay, Turkey. In the new
method, oxidants present in the sample oxidized the ferrous ion-o-dianisidine complex to
ferric ion. The oxidation reaction was enhanced by glycerol molecules abundantly present in
the reaction medium. The ferric ion produced a colored complex with xylenol orange in an
acidic medium. The color intensity, which could be measured spectrophotometrically, was
related to the total amount of oxidant molecules present in the sample. The assay was
calibrated with hydrogen peroxide and the results were expressed in terms of
micromolar hydrogen peroxide equivalent per liter (μmol H2O2 equivalent/L). ( Erel O. A
new automated colorimetric method for measuringtotal oxidant status. Clin Biochem
2005;38:1103-11. ).
(Relassay,Turkey)
OXIDATIVE STRESS INDEX (OSI)
The ratio of TOS to TAS was accepted as the oxidative stress index (OSI). For calculation, the
resulting unit of TAS was converted to μmol/L, and the OSI value was calculated according to
the following Formula : OSI (arbitrary unit) =
TOS (μmol H2O2 equivalent/L) / TAC (μmol Trolox equivalent/L). (1-3).
1. Yumru M, Savas HA, Kalenderoglu A, Bulut M, Celik H, Erel O. Oxidative imbalance in
bipolar disorder subtypes: a comparative study. Prog Neuropsychopharmacol Biol Psychiatry.
2009 Aug 31;33(6):1070-4.
2. Kosecik M, Erel O, Sevinc E, Selek S. Increased oxidative stress in children exposed to
passive smoking. Int J Cardiol 2005;100:61–4.
3. (Harma M, Harma M, Erel O (2003) Increased oxidative stress in patients with
hydatidiform mole. Swiss Med Wkly 133:563-536).