YÖNTEM

Measurement of paraoxonase activity;

Paraoxonase activity was measured using

commercially available kits (Relassay, Turkey).

The rate of paraoxon hydrolysis (diethylpnitrophenylphosphate)

was measured by monitoring the increase of

absorption at 412 nm at 37 °C. The amount of generated p-nitrophenol

was calculated from the molar absorption coefficient at pH 8.5, which

was 18.290 M−1 cm−1 Paraoxonase activity was expressed as U/L

serum